## Offeror Instruction
NCDOT-DMV Liability Insurance Unit
<Enter Offeror's Name>
NCDOT/DMV Liability Insurance Unit Business Requirements in DR terminology
Disaster Recovery Assessment - Instruction |  | Business Requirements in DR terminology
Project Name | Electronic Insurance Verification (EIV)
The Disaster Recovery (DR) Assessment has been used by the Project Team, includes Architectural Design, Business Analyst, Project Technical Coordinator (PTC) if exists, and as required a DR Analyst to facilitate Disaster Recovery requirements gathering. These requirements will be supporting User Requirements and Architecture Specifications. The DR Assessment is organized in tabs dealing with: - Cover page - Outage Example (explaining the Recovery Time Objective (RTO) and Recovery Point Objective (RPO)) - CP 2 - Contingency Plan - CP 3 & 4 TT&E (Training and Awareness, Testing, Exercising) - CP 6 Contingency Plan Alternate Storage Site - CP 7 Contingency Plan Alternate Processing Site - CP 8 - Telecommunications Services - CP 9.1 Testing for Reliability/Integrity, and CP-10 Information System Recovery and Reconstitution - DR Checklist Sections 1,2, 3 & Checklist are required as business requirements per the following statute, policy & related controls; G.S. §143B-1331. Business Continuity Planning Contingency Planning Policy Document No. SCIO-SEC-306-00 SISM Controls - CP1, CP2, CP3, CP4, CP5, CP9, CP10 (Disaster: unplanned entire data center outage, or another outage impacting given application/ suite of apps) Offerors, after reading the 1st 2 tabs, begin entering responses on tab CP2 in appropriate column, support the business requirements you are to meet, and continue in subsequent CP tabs. The DR Checklist is informational for your help in answering all other items as may be needed.SISM Controls is purely fyi describing the contingency planning control points. |  | Application / System Criticality level = Statewide Critical Recovery Point Objective (RPO) = Not Applicable Maximum tolerable downtime = 4 hours

## Outage example & definitions
NCDOT
Official State definition
Disaster Recovery Planning Considerations - Outage Example |  |  | RTO - Recovery Time Objective = The duration of time and a service level within which systems, applications, or functions must be restored after an outage to the predetermined Recovery Point Objective (RPO), for example, one business day.
● Recovery Time Objective (RTO): Time it takes to recover a system
● Recovery Point Objective (RPO): Age of data once the system is recovered |  |  | Clarification
● Total Outage Duration: Maximum tolerable downtime, includes recovery time |  |  | RTO - Recovery Time Objective = The contiguous duration of time (clock time) within which systems, applications, & or services in support of a specific agency business function, must be restored after an outage within the stated time, and to the predetermined state as specified as per the most current "production" version
Official State definition
RPO - Recovery Point Objective = The point in time to which systems and data must be recovered following an adverse event, e.g., the last completed transaction or the point immediately before the last backup commences. Also known as the Critical Data Point.
Execution of Disaster Management Plan,
|  | Playbook & TRPs AKA ISCP | Clarification
RPO - Recovery Point Objective = Age of the data to be restored to, once the function /application is recovered in the DR environment & made available to the business. For example, 8 hours, means the data is "8 hours older than the time the incident ocurr
Official State definition
Maximum Tolerable Downtime (MTD) – The maximum number of hours for which it is acceptable that a function can be interrupted following a continuity event. (FEMA) See, Recovery Time Objective; Maximum Acceptable Outage.
Clarification
While RTO - Recovery Time Objective is required to recover the IT Application / system, MTD includes RTO and if any business work arounds exist (which would apply during the Pre Disaster declaration).
Recovery hosting datacenter
Essential Functions
A subset of government functions that are determined to be critical activities. These Essential Functions are then used to identify supporting tasks and resources that must be included in the organization’s Continuity planning process. In this FCD, the term “Essential Functions” refers to those functions an organization must continue in a Continuity situation, whether the functions are MEFs, PMEFs, or Essential Supporting
Clarification
Business specific function, which is the highest level deliverable (summarized in a few words) a given agency business team delivers to it's customer
3
Crisis Time Line
Last available
data back-up
Unplanned datacenter outage
Incident assessment
Major Incident AKA Crisis Management:
Disaster declared
(start of recovery)
Incident escalation
Application released to users
RPO
1 hr.
Production hosting datacenter
RTO
45 minutes
OLA / SLA
15 minutes
Total outage duration 60 minutes
impact

## CP2
Control
| CP-2 - Contingency Plan \ Vendor Disaster Recovery plans must include the following: | NCDOT Business-Provided Requirements
| Application Criticality Level | Statewide Critical
From an information technology perspective, in the agency’s opinion, the loss of this application will have a direct impact defined as; Statewide Critical = the loss of this application will have a direct impact to statewide core functions, processes and/or activities. The applications loss may also impact a large portion of the State’s population.
| Maximum Tolerable Downtime (MTD) | 4 hours
| Recovery Point Objective (RPO) | Not Applicable
Control CP-2 - Contingency Plan \ Vendor Disaster Recovery plans must include the following: Business requirements per G.S. §143B-1331. Business Continuity Planning Contingency Planning Policy Document No. SCIO-SEC-306-00 SISM Controls - CP2 The vendor must provide disaster recoverability including the following control items items as listed in items a through r below. For items a through r, provide your responses in column C, whether a date, statement, explanation, or a filename which is appended. Additionally, items s, t & u must be satisifed by providing response, providing responses into the column C field and beyond as needed. Vendor will participate in, and/or lead, the execution of given DR Plan for use upon a declared disaster, and or other application / system outage, as determined by the business requirements in terms of RTO RPO, at the sole discretion of the State for real events, and or other potential impacts to given application / system. (Disaster: Unplanned entire data center outage, or another outage impacting given application/ suite of apps)
| CP-2 - Contingency Plan Vendor Disaster Recovery plans must include the following: | Offeror Response
a | Be developed prior to implementation as part of the development life cycle for technology development or deployment by agency / vendor to address all production processing environments and assets.
b | Acknowledge essential missions and business functions and associated contingency requirements provided by the State.
c | Provide a detailed & specific IT recovery solution clearly articulating ’how’ to meet or exceeding provided business objectives for the following 4 distinct recovery elements; recovery time objective, recovery point objective, maximum tolerable downtime, and restoration priorities (where applicable as determined by the State). Must demonstrate an order of precedence (to be refined upon contract awarding).
d | Identify contingency roles by SME technical (& non technical) discipline, responsibilities, assigned roles using a RACI is required, individuals with contact information will become required post award.
e | Address eventual, full information asset restoration without deterioration of the security measures originally planned and implemented.
f | For each Real Event and or Exercise, provide metrics, in the form of an AAR After Action Report (template provided by the State), 30 days post event or sooner.
g | Initial and annually be reviewed and approved by designated officials within the agency.
h | Be distributed to relevant system owners and stakeholders.
i | Coordinate contingency planning activities with incident handling activities.
j | Be revised to address changes to the organization, information asset, or environment of operation and problems encountered during contingency plan implementation, execution, system testing, and or exercising with post improvement actions and lessons learned.
k | Protect the contingency plan from unauthorized disclosure and modification.
l | Address the protection of the health and safety of the employees of the State of North Carolina.
m | Address the protection of assets of the State and minimize financial, reputational, legal and/or regulatory exposure.
n | Create crisis teams and response plans for threats and incidents.
o | Require that employees are made aware of their roles and responsibilities in the BC/DR Plan and in plan execution through training and awareness programs in conjunction with NCDIT Continuity program office.
p | Coordination with NCDIT Contingency Plan Administrators and the Operations Team must occur for all potential outages that may result in a failover or recovery situation.
q | Support the resumption of essential missions and business functions within the agency-defined time period of contingency plan activation.
r | Define the time period for resumption of essential mission/business functions dependent on the severity/extent of disruptions to the information system and its supporting infrastructure, acceptable to the State.
s | Information System Description/Purpose
This Sub-Section provides a general description of the information system and the purpose of the information system, identifying the:
Information system as a General Support System (GSS) or a Major Application (MA);
| Functions and services which the information system provides; | May be provided by Business Team previously
Data/information which the information consumes, generates, &/or stores;
Sub-systems composing the information system;
Any minor application rolled into the information system’s authorization boundary and authority to operate authority;
The authorization boundary of the information system, i.e., the dividing line between the information system and the external systems which interact with &/or support the information system; and
User/customer base for the information system, e.g., agency personnel, personnel from other agencies, private businesses, state citizens, federal personnel.
t | System Environment
This Sub-Section describes technical aspects of the information system, including:
Facility or facilities where the information system and its components reside;
Security zones within the information system;
Technical factors raising special security concerns, e.g., personal digital assistants, tablet devices, smart phones, wireless technology;
An overview of server hardware, network devices, operating system, application, middleware, DBMS, etc. technology in use within the information system.
Typically this Sub-Section includes relevant network diagrams.
u | System Interconnection/Information Sharing
Name of system
Organization
Type of interconnection
Name and title of authorizing official(s)

## CP 3 & 4
| Control CP-3 - Contingency Plan Training, and CP-4 - Contingency Plan Testing and Exercises Business requirements per G.S. §143B-1331. Business Continuity Planning Contingency Planning Policy Document No. SCIO-SEC-306-00 SISM Controls - CP3, & CP4 The vendor must provide a training and awareness, testing and exercising program including the following items as listed a through d below. For each control item make your entry comment in column D, whether a date, statement, explanation, or a filename which is appended. Vendor will produce, lead, participate in the delivery and execution such TT&E program, in preparation for real events, and or other potential impacts to given application / system. (Disaster: Unplanned entire data center outage or another outage impacting given application / suite of apps) | Additional Info Requested from Offeror | Offeror Response
Control
CP-3 - Contingency Plan Training
Vendor must train personnel in their contingency roles and responsibilities with respect to the information assets. Training and awareness programs shall ensure that the agency understands the roles each individual within given comapany in a disaster/or adverse situation. The vendor must provide contingency training to information system users for the following conditions:
i. Prior to assuming a contingency role or responsibility,
ii. When required by information system changes,
iii. Annually thereafter.
CP-4 - Contingency Plan Testing and Exercises
Vendor must coordinate contingency plan testing with agency divisions and groups responsible for related plans. Vendor must provide the following:
a | Test and/or exercise the contingency plan for the critical information assets annually, at a minimum, in order to determine the plan’s effectiveness and the organization’s readiness to execute the plan. Explicit test objectives and success criteria must be defined by the business to enable an adequate assessment of the Disaster Recovery and/or Restoration. | Provide a sample contingency plan your firm has executed in the past two (2) years
b | Review the contingency plan test/exercise results. | Describe how the contingency plan results are reviewed.
c | Initiate corrective actions to ensure the procedures are adequate to restore/recover critical application processes. | Provide a sample
d | Produce an After Action Report (AAR) for each exercise 30 days post execution date. An AAR template will be provided, plus an approval process, performed by NCDIT, are required. | Provide a sample AAR based on the AAR template provided.

## CP6
| Control CP-6 Contingency Plan Alternate Storage Site Business requirements per G.S. §143B-1331. Business Continuity Planning Contingency Planning Policy Document No. SCIO-SEC-306-00 SISM Controls - CP6 The vendor must establish an alternate storage site for systems that are defined as critical including necessary agreements to permit the storage and recovery of information asset backup information. For each control item, a through c, make your entry comment in column D, whether a date, statement, explanation, or a filename which is appended. Vendors must provide an alternate storage site including the following items as listed a through c below. (Disaster: Unplanned entire data center outage or another outage impacting given application / suite of apps) | Additional Info Requested from Offeror | Offeror Response
Control
CP-6 Contingency Plan Alternate Storage Site
a | Ensure that the alternate storage site provides information security safeguards that meets the comparable protection standards of the primary site. | Provide a sample (SLA, etc.)
b | Establish a site in a location that is separate from the primary facility to ensure that the risk of any disruption (e.g., natural disasters, structural failures, hostile cyber attacks) affecting both the primary and alternate site is low or otherwise is at an acceptable level, based on an assessment of risk.
c | Identify potential accessibility problems to the alternate storage site in the event of an area- wide disruption or disaster and outlines explicit mitigation actions. Area-wide disruptions refer to those types of disruptions that are broad in geographic scope (e.g., hurricane, regional power outage) with such determinations made by agencies based on agency assessments of risk. Explicit mitigation actions include, for example:
Duplicating backup information at other alternate storage sites if access problems occur at originally designated alternate sites;
Planning for physical access to retrieve backup information if electronic accessibility to the alternate site is disrupted.

## CP7
| Control CP-7 Contingency Plan Alternate Processing Site Business requirements per G.S. §143B-1331. Business Continuity Planning Contingency Planning Policy Document No. SCIO-SEC-306-00 SISM Controls - CP7 The vendor CP-7 - Contingency Plan Alternate Processing Site Vendors must provide an alternate storage site including the following items as listed a through h below. For each control item, a through h, make your entry comment in column D, whether a date, statement, explanation, or a filename which is appended. (Disaster: Unplanned entire data center outage or another outage impacting given application / suite of apps) | Additional Info Requested from Offeror | Offeror Response
Control
CP-7 Contingency Plan Alternate Processing Site
a | Establish an alternate processing site including necessary agreements to permit the resumption of information asset operations for essential missions and business functions within defined recovery times and recovery points when the primary processing capabilities are unavailable. Alternate processing sites shall provide a Service Level Agreement (SLA) that contains priority- of-service provisions in accordance with the information system’s requirements in the event of a disruption or disaster. This may be in the form of a priority-of-service provision or through a provider with a sufficient network of facilities to ensure available capacity. | Documentation sample (SLA, etc.)
b | Ensure that equipment and supplies required to resume operations are available at the alternate site or contracts are in place to support delivery to the site in time to support the agency-defined time period for transfer/resumption. | Give examples, paper types, workstations, other
c | Ensure that the alternate processing site provides information security safeguards that meet the comparable protection standards of the primary site.
d | Identify an alternate processing site that is separated from the primary processing site to reduce susceptibility to the same threats.
e | Determine what is considered a sufficient degree of separation between primary and alternate processing sites based on the types of threats that are of concern. | Miles
f | Identify potential accessibility problems to the alternate processing site in the event of an area- wide disruption or disaster. | Provide an example
g | Outline and document explicit mitigation actions within the contingency plan.
h | Develop alternate processing site agreements that contain priority-of-service provisions in accordance with agency availability requirements (including recovery time objectives). Priority- of-service agreements refer to negotiated agreements with service providers that ensure that agencies receive priority treatment consistent with their availability requirements including defined RTO and RPO objectives as defined by the business and clearly defined in given contingency plan. | Provide sample

## CP8
| Control CP-8 - Telecommunications Services Business requirements per G.S. §143B-1331. Business Continuity Planning Contingency Planning Policy Document No. SCIO-SEC-306-00 SISM Controls - CP8 CP-8 - Telecommunications Services Vendors must provide the following items as listed a through f below. For each control item, a through f, make your entry comment in column D, whether a date, statement, explanation, or a filename which is appended. (Disaster: Unplanned entire data center outage or another outage impacting given application / suite of apps) | Additional Info Requested from Offeror | Offeror Response
Control
CP-8 - Telecommunications Services
a | Establish alternate telecommunications services with telecommunication service providers that provide communications transmission services to maintain a state of readiness or to respond to and manage any event or crisis. | Provide a sample (SLA, etc)
b | Communications transmission services must include necessary agreements to permit the resumption of information asset operations for essential missions and business functions within defined recovery time and recovery points when the primary telecommunications capabilities are unavailable. | Provide a sample (SLA, etc)
c | Develop primary and alternate telecommunications service agreements that contain priority-of- service provisions in accordance with agency availability requirements (including recovery time objectives). | Provide a sample (SLA, etc)
d | Request Telecommunications Service Priority for all telecommunications services used for national security emergency preparedness in the event that the primary and/or alternate telecommunications services are provided by a common carrier. | Provide a sample (SLA, etc)
e | Consider the potential mission/business impact in situations where telecommunications service providers are servicing other organizations with similar priority-of-service provisions. | Provide a sample (SLA, etc)
f | Obtain alternate telecommunications services to reduce the likelihood of sharing a single point-of-failure with primary telecommunications services.

## CP 9 & 10
| Control CP-9.1 Testing Information System Backup for Reliability/Integrity and CP-10 Information System Recovery and Reconstitution Business requirements per G.S. §143B-1331. Business Continuity Planning Contingency Planning Policy Document No. SCIO-SEC-306-00 SISM Controls - CP9 & CP10 CP-9.1 Testing Information System Backup for Reliability/Integrity Vendors must conduct backups of system-level information, such as operating system files and application software from agency managed laptops, workstations, servers, and user level information, such as user level files stored on a shared network drive, at a frequency that is consistent with agency defined recovery time objectives (RTO), and Recovery Point (RPO) objectives. In addition, Vendor must protect the confidentiality and integrity of backup information at storage location(s). must provide the following items as listed below CP-10 Information System Recovery and Reconstitution Vendor must provide the following items as listed a through c below in column D (Disaster: Unplanned entire data center outage, or another outage impacting given application / suite of apps) | Additional Info Requested from Offeror | Offeror Response
Control
CP-9.1 Testing Information System Backup for Reliability/Integrity
a | Vendor must test backup information quarterly to verify media reliability and information integrity, and report results within five business days. | How will your firm ensure results are reported within five (5) business days?
CP-10 Information System Recovery and Reconstitution
a | Provide for the recovery and reconstitution of the agency’s mission essential function(s)/processes and/or critical business services, including transaction-based information systems, to a known state after a disruption, compromise, or failure within defined RTO and RPO objectives. | Following a disruption, compromise or failure, describe how you will ensure recovery and reconstitution of mission essential functions or processes, critical business services.
b | Ensure plan activations are documented and recorded and post-activation reviews are conducted to evaluate the effectiveness of the plan(s). | Provide a sample of a previous plan (may be for Real Event or Exercise)
c | Update the plan(s) where necessary and provide a written report to State's Project Manager and Continuity Program office within 30 days of post-activation review. | Describe your process for delivering the post-activation report.

## DR checklist
Disaster Recovery Checklist
Contingency Planning Best practices Below are complementary consideration points that need to be taken into account when the Disaster Recovery (DR) architecture is designed. The Department of Transportation & Application Support teams have completed this section. This section is provided as additional information, to help you as an offeror to better understand this requirements response.
Consideration Point | Description | PMO Comments
Critical times | What are the critical times (e.g., end of month, letting periods, so on…) for the business function(s) which require(s) this system/application? | Batch submissions will occur in the evening seven days a week.
At Business Sites / Business process AKA Essential Functions and Users | Is this a statewide, agencywide, or program wide application system? What essential functions are dependent on or use this system/application? What is the total number of business users that use this system? | Statewide critical
System Dependencies | What other system(s) send or receive data from this system/application? Can this system/application stand alone or are other systems required for this application to function? | LITES, Insurance Company systems
System Components in Scope | List all functional system components that make up the production environment which need to be recovered. If additional complimentary & or external system components are needed, list those components with their RTO or priority order of recovery. | All components supporting the two business essential functions; Verify vehicle insurance coverage in real time, and or in batch mode.
High Availability | If operational requirement is for High Availability (HA) architecture of the production environment, and a dedicated DR environment is needed, does that require a GHA (geographically dispersed HA) architecture as well?
DR Performance | Does the DR environment need the same performance as the production environment? If performance can be near-equal or less of the production environment, how long can the process continue at a reduced performance before there is an adverse impact on the business process? A bare minimum is DR must be able to run production for 30 days.
Failback | Is there a business requirement to failback to the original Datacenter/location of the production environment after recovery? If so, why.
Environments Required | By default, only the production environment will be recovered after a Datacenter outage. Meaning UAT, TEST, QC etc. are not normally included in recovery of real event. Are there any additional environment(s) which need to be recovered after a Datacenter outage event? Answer should be justified. | No
DR Environment sustainability | If the DR strategy is to recover on an existing non-production environment (e.g., Development, Staging, Test etc.), how long can this configuration be maintained, before there is a negative impact on the business process? | N/A
External system interfaces | External interfaces have to be provisioned in advance to be available to the DR environment after a Datacenter outage. What is the list of external interfaces that require a dedicated circuit between this system/application and a required business partner or vendor (i.e., a clearing house, collaboratives, specific banks, etc.)? | N/A
Assumptions at time of recovery | What are the pre-requisites for the recovery? e.g., The required network infrastructure and services, such as Active Directory, are operational and functioning. | Only applies for Internal On-Premise solutions.
Other