## OVERALL
NCDOT FACILITY MAINTENANCE TEMPLATE SCHEDULE
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
MAINTENANCE COMPLETE
PMI | Description | Month
|  | 2016-07-01 | 2016-08-02 | 2016-09-03 | 2016-10-04 | 2016-11-05 | 2016-12-06 | 2016-01-07 | 2016-02-08 | 2016-03-09 | 2016-04-10 | 2016-05-11 | 2016-06-12
2.1 | Fence, chainlink | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
2.2 | Fire Protection, Site Mechanical | S | M | M | Q | M | M | A | M | M | Q | M | M
2.3 | Paving, asphalt | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
2.4 | Paving, concrete | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
2.5 | Sidewalk, concrete | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
3.1 | Concrete, epoxy coated | bar: S to M
3.2 | Concrete, unfinished | bar: S to M
3.3 | Safety bollard, metal | bar: S to M
3.4 | Stairs, concrete unfinished | bar: S to M
4.1 | CMU, painted | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
4.2 | CMU, unfinished | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
5.1 | Structure, exposed | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
5.2 | Structure, painted | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
6.1 | Railing, metal painted | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
6.2 | Railing, metal unfinished | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
6.3 | Railing, vinyl | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
6.4 | Stairs, wood | bar: S to M
7.1 | Gutter with downspout | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
7.2 | Roof system, metal standing | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
7.3 | Roof system, permeable membrane | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
7.4 | Skylight | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
7.5 | Solar Tube | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
8.1 | Door, hollow, plastic laminate | M | M | Q | M | M | A | M | M | Q | M | M | S
8.2 | Door, hollow, wooden | S | M | M | Q | M | M | A | M | M | Q | M | M
8.3 | Door, solid core, metal | M | M | Q | M | M | A | M | M | Q | M | M | S
8.4 | Door, storefront | S | M | M | Q | M | M | A | M | M | Q | M | M
8.5 | Overhead door, coiling | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
8.6 | Overhead door, rolling, steel | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
8.7 | Overhead door, sectional | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
8.8 | Roll-top door operator | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
8.9 | Window, aluminum, inoperable | bar: NA S NA S M S M S to S NA S NA S M S M
8.1 | Window, aluminum, operable | bar: NA S NA S M S M S to S NA S NA S M S M
8.11 | Window, vinyl, operable | bar: NA S NA S M S M S to S NA S NA S M S M
8.12 | Window, vinyl, inoperable | bar: NA S NA S M S M S to S NA S NA S M S M
9.1 | Acoustic tiles | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
9.2 | Baseboard, vinyl | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
9.3 | Baseboard, wood | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
9.4 | Brick interior, painted | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
9.5 | Brick, exterior | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
9.6 | Brick, interior, unfinished | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
9.7 | Cabinet, plastic laminate, wall mounted | bar: NA to S
9.8 | Cabinet, wall mounted | bar: NA to S
9.9 | Cabinets, under counter | bar: NA to S
9.1 | Carpet | bar: NA to S
9.11 | Counter, solid surface | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
9.12 | Counter, wood top | bar: NA to S
9.13 | FRP, ceiling | bar: NA to S
9.14 | FRP, wall | bar: NA to S
9.15 | Metal ceiling, panelized | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
9.16 | Sheetrock, painted | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
9.17 | Stairs, VCT | bar: NA to S
9.18 | Tile, ceramic | bar: NA to S
9.19 | Tile, VCT | bar: NA to S
10.1 | Locker, half, vented | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
10.2 | Locker, public use | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
10.3 | Partition, plastic | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
12.1 | Audio/visual equipment | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
12.2 | Furniture, office | bar: NA to S
12.3 | Chair, office | bar: NA to S
12.4 | Coffee pot | M | M | Q | M | M | A | M | M | Q | M | M | S
12.5 | Computer | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
12.6 | Dispenser, soap, wall mounted | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
12.7 | Dispenser, towel | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
12.8 | File cabinets | bar: M S NA S to S NA S NA
12.9 | Flag pole | bar: M S NA S to S NA S NA
12.1 | Microwave | bar: M S NA S to S NA S NA
12.11 | Refrigerator | bar: M S NA S to S NA S NA
12.12 | Table, break/lunch | bar: M S NA S to S NA S NA
12.13 | Table, conference | bar: M S NA S to S NA S NA
14.1 | AC Motor, 20 HP | bar: M S NA S to S NA S NA
14.2 | Elevator | S | M | M | Q | M | M | A | M | M | Q | M | M
14.3 | Forklift | M | M | Q | M | M | A | M | M | Q | M | M | S
14.4 | Hydraulic Lift | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.2 | Air Conditioning Unit, Packaged, Thru-wall | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.3 | Air Conditioning Unit, Packaged, Wall Mount | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
15.4 | Air Conditioning Unit, Portable | S | M | M | Q | M | M | A | M | M | Q | M | M
15.5 | Air Conditioning Unit, Split | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
15.6 | Air Conditioning Unit, Window | S | M | M | Q | M | M | A | M | M | Q | M | M
15.8 | Air handler | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.9 | Boiler, Hot Water, Propane | M | M | Q | M | M | A | M | M | Q | M | M | S
15.11 | Compressor, Receiver Mounted | M | M | Q | M | M | A | M | M | Q | M | M | S
15.12 | Compressor, Reciprocating | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.13 | Condenser Unit, Split System | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
15.14 | Condensing Unit | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | M | M | Q | M | M | A | M | M | Q | M | M | S
15.16 | Condensing Unit; Split System Outdoor Unit | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.17 | Controller, Submersible Motor | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
15.18 | Damper, Motorized Control | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
15.19 | Dryer, Compressed air | M | M | Q | M | M | A | M | M | Q | M | M | S
15.2 | Energy Recovery Ventilator | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.21 | Exhaust Fan, Ceiling | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
15.22 | Exhaust Fan, Kitchen Hood | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.23 | Exhaust Fan, Propeller, Wall, 42" | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
15.25 | Exhaust Fan, Wall | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
15.26 | Fan, exhaust | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.27 | Filter, Rainwater | M | M | Q | M | M | A | M | M | Q | M | M | S
15.29 | Heat Pump, Elect. Heat | M | M | Q | M | M | A | M | M | Q | M | M | S
15.3 | Heat pump, Packaged | S | M | M | Q | M | M | A | M | M | Q | M | M
15.32 | Heater, Unit | bar: M S NA S NA NA S M M S to S NA S NA S S NA S S M
15.33 | Inline Exhaust Fan | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
15.34 | Interceptor, Grease | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
15.36 | Modular Unit HVAC | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.37 | Oil / water separator | M | M | Q | M | M | A | M | M | Q | M | M | S
15.38 | Plumbing Fixtures | S | M | M | Q | M | M | A | M | M | Q | M | M
15.39 | Pressure Tank, Well | bar: NA S NA S M S to S NA S NA S M
15.46 | Pump, In-line centrifugal | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.47 | Pump, Submersible, Well | M | M | Q | M | M | A | M | M | Q | M | M | S
15.49 | Reduced Pressure Backflow Preventer | bar: S M to NA S
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
15.56 | Safety shower / eyewash | S | M | M | Q | M | M | A | M | M | Q | M | M
15.57 | Septic system | bar: NA S to S M
15.58 | Shower unit, fiberglass | S | M | M | Q | M | M | A | M | M | Q | M | M
15.59 | Split Heat Pump, Indoor Unit | M | M | Q | M | M | A | M | M | Q | M | M | S
15.6 | Storage Tank, Rainwater | bar: S M to M S
15.62 | Tank, Propane | bar: S M to M S
15.67 | Water Heater, Domestic, Instantaneous, Electric | M | M | Q | M | M | A | M | M | Q | M | M | S
15.68 | Water Heater, Domestic, Tank, electric | S | M | M | Q | M | M | A | M | M | Q | M | M
15.69 | Water Heater, Domestic, Tank, Nat. Gas | M | M | Q | M | M | A | M | M | Q | M | M | S
15.7 | Water Heater, Indirect Fired Heat Exchanger | S | M | M | Q | M | M | A | M | M | Q | M | M
15.71 | Water Purifier, Ultraviolet | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
16.1 | Automatic Transfer Switch | S | M | M | Q | M | M | A | M | M | W | M | M
16.2 | Tank, above ground, diesel | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
16.3 | Building Automation System | S | M | M | Q | M | M | A | M | M | Q | M | M
16.4 | CCTV System | M | M | Q | M | M | A | M | M | Q | M | M | S
16.5 | Circuit Breaker | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M | M | Q | M | M | A | M | M | Q | M | M | S
16.7 | Electrical Panels | S | M | M | Q | M | M | A | M | M | Q | M | M
16.8 | Exterior building lighting | M | M | Q | M | M | A | M | M | Q | M | M | S
16.9 | Fire Alarm Control Panel | S | M | M | Q | M | M | A | M | M | Q | M | M
16.1 | Fire Alarm Panel | M | M | Q | M | M | A | M | M | Q | M | M | S
16.11 | Fluorescent light, ceiling mounted | S | M | M | Q | M | M | A | M | M | Q | M | M
16.12 | Fluorescent light, recessed fixture | M | M | Q | M | M | A | M | M | Q | M | M | S
16.13 | Generator, emergency, diesel | S | M | M | Q | M | M | A | M | M | Q | M | M
16.14 | Generator, emergency, propane | M | M | Q | M | M | A | M | M | Q | M | M | S
16.15 | Lighting, egress and exits signs | S | M | M | Q | M | M | A | M | M | Q | M | M
16.16 | Radio System | M | M | Q | M | M | A | M | M | Q | M | M | S
16.17 | Remote Annunciator | S | M | M | Q | M | M | A | M | M | Q | M | M
16.18 | Security System | M | M | Q | M | M | A | M | M | Q | M | M | S
16.19 | Shop light, high bay | S | M | M | Q | M | M | A | M | M | Q | M | M
16.2 | Site lighting | M | M | Q | M | M | A | M | M | Q | M | M | S
16.21 | Solar Collectors, Water | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
16.22 | Solar panels | M | M | Q | M | M | A | M | M | Q | M | M | S
16.23 | Surge Protective Device | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
16.24 | Switchgear | M | M | Q | M | M | A | M | M | Q | M | M | S
16.25 | Time Clock System | S | M | M | Q | M | M | A | M | M | Q | M | M
16.26 | Transformer | M | M | Q | M | M | A | M | M | Q | M | M | S
16.27 | Transformer, dry type | S | M | M | Q | M | M | A | M | M | Q | M | M
16.28 | Utility Transformer | M | M | Q | M | M | A | M | M | Q | M | M | S
I certify that information presented in this schedule is true and correct to the best of my knowledge.
[9 empty] | Sign |  |  | Date
2.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.11 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.11 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.14 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.16 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.17 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.18 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.19 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.11 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.11 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.14 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.16 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.17 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.18 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.19 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.22 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.23 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.25 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.26 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.27 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.29 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.32 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.34 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.35 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.36 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.37 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.38 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.39 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.46 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.47 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.49 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.56 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.57 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.58 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.59 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.62 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.67 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.68 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.69 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.71 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.11 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.14 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.16 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.17 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.18 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.19 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.22 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.23 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.24 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.25 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.26 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.27 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.28 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## JULY
MONTH: | JULY
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | NA
2.2 | Fire Protection, Site Mechanical | S
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | S
2.5 | Sidewalk, concrete | NA
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | S
4.2 | CMU, unfinished | NA
5.1 | Structure, exposed | S
5.2 | Structure, painted | NA
6.1 | Railing, metal painted | S
6.2 | Railing, metal unfinished | NA
6.3 | Railing, vinyl | S
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | S
7.2 | Roof system, metal standing | NA
7.3 | Roof system, permeable membrane | S
7.4 | Skylight | NA
7.5 | Solar Tube | S
8.1 | Door, hollow, plastic laminate | M
8.2 | Door, hollow, wooden | S
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | S
8.5 | Overhead door, coiling | NA
8.6 | Overhead door, rolling, steel | S
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | S
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | NA
9.2 | Baseboard, vinyl | S
9.3 | Baseboard, wood | NA
9.4 | Brick interior, painted | S
9.5 | Brick, exterior | NA
9.6 | Brick, interior, unfinished | S
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.1 | Carpet | NA
9.11 | Counter, solid surface | NA
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | NA
9.16 | Sheetrock, painted | S
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | S
10.2 | Locker, public use | NA
10.3 | Partition, plastic | S
12.1 | Audio/visual equipment | S
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | S
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | S
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | S
14.3 | Forklift | M
14.4 | Hydraulic Lift | S
15.2 | Air Conditioning Unit, Packaged, Thru-wall | S
15.3 | Air Conditioning Unit, Packaged, Wall Mount | NA
15.4 | Air Conditioning Unit, Portable | S
15.5 | Air Conditioning Unit, Split | NA
15.6 | Air Conditioning Unit, Window | S
15.8 | Air handler | S
15.9 | Boiler, Hot Water, Propane | M
15.11 | Compressor, Receiver Mounted | M
15.12 | Compressor, Reciprocating | S
15.13 | Condenser Unit, Split System | NA
15.14 | Condensing Unit | S
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | M
15.16 | Condensing Unit; Split System Outdoor Unit | S
15.17 | Controller, Submersible Motor | NA
15.18 | Damper, Motorized Control | S
15.19 | Dryer, Compressed air | M
15.2 | Energy Recovery Ventilator | S
15.21 | Exhaust Fan, Ceiling | NA
15.22 | Exhaust Fan, Kitchen Hood | S
15.23 | Exhaust Fan, Propeller, Wall, 42" | NA
15.25 | Exhaust Fan, Wall | NA
15.26 | Fan, exhaust | S
15.27 | Filter, Rainwater | M
15.29 | Heat Pump, Elect. Heat | M
15.3 | Heat pump, Packaged | S
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | NA
15.34 | Interceptor, Grease | S
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | NA
15.36 | Modular Unit HVAC | S
15.37 | Oil / water separator | M
15.38 | Plumbing Fixtures | S
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | S
15.47 | Pump, Submersible, Well | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.56 | Safety shower / eyewash | S
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | S
15.59 | Split Heat Pump, Indoor Unit | M
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | M
15.68 | Water Heater, Domestic, Tank, electric | S
15.69 | Water Heater, Domestic, Tank, Nat. Gas | M
15.7 | Water Heater, Indirect Fired Heat Exchanger | S
15.71 | Water Purifier, Ultraviolet | NA
16.1 | Automatic Transfer Switch | S
16.2 | Tank, above ground, diesel | NA
16.3 | Building Automation System | S
16.4 | CCTV System | M
16.5 | Circuit Breaker | S
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | S
16.8 | Exterior building lighting | M
16.9 | Fire Alarm Control Panel | S
16.1 | Fire Alarm Panel | M
16.11 | Fluorescent light, ceiling mounted | S
16.12 | Fluorescent light, recessed fixture | M
16.13 | Generator, emergency, diesel | S
16.14 | Generator, emergency, propane | M
16.15 | Lighting, egress and exits signs | S
16.16 | Radio System | M
16.17 | Remote Annunciator | S
16.18 | Security System | M
16.19 | Shop light, high bay | S
16.2 | Site lighting | M
16.21 | Solar Collectors, Water | S
16.22 | Solar panels | M
16.23 | Surge Protective Device | S
16.24 | Switchgear | M
16.25 | Time Clock System | S
16.26 | Transformer | M
16.27 | Transformer, dry type | S
16.28 | Utility Transformer | M

## AUGUST
MONTH: | AUGUST
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | NA
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
2.5 | Sidewalk, concrete | NA
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | NA
4.2 | CMU, unfinished | NA
5.1 | Structure, exposed | NA
5.2 | Structure, painted | NA
6.1 | Railing, metal painted | NA
6.2 | Railing, metal unfinished | NA
6.3 | Railing, vinyl | NA
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | NA
7.2 | Roof system, metal standing | NA
7.3 | Roof system, permeable membrane | NA
7.4 | Skylight | NA
7.5 | Solar Tube | NA
8.1 | Door, hollow, plastic laminate | M
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | M
8.5 | Overhead door, coiling | NA
8.6 | Overhead door, rolling, steel | NA
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | NA
9.2 | Baseboard, vinyl | NA
9.3 | Baseboard, wood | NA
9.4 | Brick interior, painted | NA
9.5 | Brick, exterior | NA
9.6 | Brick, interior, unfinished | NA
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.1 | Carpet | NA
9.11 | Counter, solid surface | NA
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | NA
9.16 | Sheetrock, painted | NA
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | NA
10.2 | Locker, public use | NA
10.3 | Partition, plastic | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | M
14.3 | Forklift | M
14.4 | Hydraulic Lift | NA
15.2 | Air Conditioning Unit, Packaged, Thru-wall | NA
15.3 | Air Conditioning Unit, Packaged, Wall Mount | NA
15.4 | Air Conditioning Unit, Portable | M
15.5 | Air Conditioning Unit, Split | NA
15.6 | Air Conditioning Unit, Window | M
15.8 | Air handler | NA
15.9 | Boiler, Hot Water, Propane | M
15.11 | Compressor, Receiver Mounted | M
15.12 | Compressor, Reciprocating | NA
15.13 | Condenser Unit, Split System | NA
15.14 | Condensing Unit | NA
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | M
15.16 | Condensing Unit; Split System Outdoor Unit | NA
15.17 | Controller, Submersible Motor | NA
15.18 | Damper, Motorized Control | NA
15.19 | Dryer, Compressed air | M
15.2 | Energy Recovery Ventilator | NA
15.21 | Exhaust Fan, Ceiling | NA
15.22 | Exhaust Fan, Kitchen Hood | NA
15.23 | Exhaust Fan, Propeller, Wall, 42" | NA
15.25 | Exhaust Fan, Wall | NA
15.26 | Fan, exhaust | NA
15.27 | Filter, Rainwater | M
15.29 | Heat Pump, Elect. Heat | M
15.3 | Heat pump, Packaged | M
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | NA
15.34 | Interceptor, Grease | NA
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | NA
15.36 | Modular Unit HVAC | NA
15.37 | Oil / water separator | M
15.38 | Plumbing Fixtures | M
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | NA
15.47 | Pump, Submersible, Well | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.56 | Safety shower / eyewash | M
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | M
15.59 | Split Heat Pump, Indoor Unit | M
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | M
15.68 | Water Heater, Domestic, Tank, electric | M
15.69 | Water Heater, Domestic, Tank, Nat. Gas | M
15.7 | Water Heater, Indirect Fired Heat Exchanger | M
15.71 | Water Purifier, Ultraviolet | NA
16.1 | Automatic Transfer Switch | M
16.2 | Tank, above ground, diesel | NA
16.3 | Building Automation System | M
16.4 | CCTV System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | M
16.9 | Fire Alarm Control Panel | M
16.1 | Fire Alarm Panel | M
16.11 | Fluorescent light, ceiling mounted | M
16.12 | Fluorescent light, recessed fixture | M
16.13 | Generator, emergency, diesel | M
16.14 | Generator, emergency, propane | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | M
16.17 | Remote Annunciator | M
16.18 | Security System | M
16.19 | Shop light, high bay | M
16.2 | Site lighting | M
16.21 | Solar Collectors, Water | NA
16.22 | Solar panels | M
16.23 | Surge Protective Device | NA
16.24 | Switchgear | M
16.25 | Time Clock System | M
16.26 | Transformer | M
16.27 | Transformer, dry type | M
16.28 | Utility Transformer | M

## SEPTEMBER
MONTH: | SEPTEMBER
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | NA
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
2.5 | Sidewalk, concrete | NA
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | NA
4.2 | CMU, unfinished | NA
5.1 | Structure, exposed | NA
5.2 | Structure, painted | NA
6.1 | Railing, metal painted | NA
6.2 | Railing, metal unfinished | NA
6.3 | Railing, vinyl | NA
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | NA
7.2 | Roof system, metal standing | Q
7.3 | Roof system, permeable membrane | NA
7.4 | Skylight | Q
7.5 | Solar Tube | NA
8.1 | Door, hollow, plastic laminate | Q
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | Q
8.4 | Door, storefront | M
8.5 | Overhead door, coiling | NA
8.6 | Overhead door, rolling, steel | NA
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | Q
9.2 | Baseboard, vinyl | NA
9.3 | Baseboard, wood | NA
9.4 | Brick interior, painted | NA
9.5 | Brick, exterior | NA
9.6 | Brick, interior, unfinished | NA
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.1 | Carpet | NA
9.11 | Counter, solid surface | NA
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | Q
9.16 | Sheetrock, painted | NA
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | NA
10.2 | Locker, public use | NA
10.3 | Partition, plastic | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | Q
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | Q
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | M
14.3 | Forklift | Q
14.4 | Hydraulic Lift | NA
15.2 | Air Conditioning Unit, Packaged, Thru-wall | NA
15.3 | Air Conditioning Unit, Packaged, Wall Mount | Q
15.4 | Air Conditioning Unit, Portable | M
15.5 | Air Conditioning Unit, Split | Q
15.6 | Air Conditioning Unit, Window | M
15.8 | Air handler | NA
15.9 | Boiler, Hot Water, Propane | Q
15.11 | Compressor, Receiver Mounted | Q
15.12 | Compressor, Reciprocating | NA
15.13 | Condenser Unit, Split System | Q
15.14 | Condensing Unit | NA
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | Q
15.16 | Condensing Unit; Split System Outdoor Unit | NA
15.17 | Controller, Submersible Motor | NA
15.18 | Damper, Motorized Control | NA
15.19 | Dryer, Compressed air | Q
15.2 | Energy Recovery Ventilator | NA
15.21 | Exhaust Fan, Ceiling | Q
15.22 | Exhaust Fan, Kitchen Hood | NA
15.23 | Exhaust Fan, Propeller, Wall, 42" | Q
15.25 | Exhaust Fan, Wall | Q
15.26 | Fan, exhaust | NA
15.27 | Filter, Rainwater | Q
15.29 | Heat Pump, Elect. Heat | Q
15.3 | Heat pump, Packaged | M
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | Q
15.34 | Interceptor, Grease | NA
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | Q
15.36 | Modular Unit HVAC | NA
15.37 | Oil / water separator | Q
15.38 | Plumbing Fixtures | M
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | NA
15.47 | Pump, Submersible, Well | Q
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | Q
15.56 | Safety shower / eyewash | M
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | M
15.59 | Split Heat Pump, Indoor Unit | Q
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | Q
15.68 | Water Heater, Domestic, Tank, electric | M
15.69 | Water Heater, Domestic, Tank, Nat. Gas | Q
15.7 | Water Heater, Indirect Fired Heat Exchanger | M
15.71 | Water Purifier, Ultraviolet | Q
16.1 | Automatic Transfer Switch | M
16.2 | Tank, above ground, diesel | Q
16.3 | Building Automation System | M
16.4 | CCTV System | Q
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | Q
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | Q
16.9 | Fire Alarm Control Panel | M
16.1 | Fire Alarm Panel | Q
16.11 | Fluorescent light, ceiling mounted | M
16.12 | Fluorescent light, recessed fixture | Q
16.13 | Generator, emergency, diesel | M
16.14 | Generator, emergency, propane | Q
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | Q
16.17 | Remote Annunciator | M
16.18 | Security System | Q
16.19 | Shop light, high bay | M
16.2 | Site lighting | Q
16.21 | Solar Collectors, Water | NA
16.22 | Solar panels | Q
16.23 | Surge Protective Device | NA
16.24 | Switchgear | Q
16.25 | Time Clock System | M
16.26 | Transformer | Q
16.27 | Transformer, dry type | M
16.28 | Utility Transformer | Q

## OCTOBER
MONTH: | OCTOBER
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | NA
2.2 | Fire Protection, Site Mechanical | Q
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
2.5 | Sidewalk, concrete | NA
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | NA
4.2 | CMU, unfinished | NA
5.1 | Structure, exposed | NA
5.2 | Structure, painted | NA
6.1 | Railing, metal painted | NA
6.2 | Railing, metal unfinished | NA
6.3 | Railing, vinyl | NA
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | NA
7.2 | Roof system, metal standing | NA
7.3 | Roof system, permeable membrane | Q
7.4 | Skylight | NA
7.5 | Solar Tube | Q
8.1 | Door, hollow, plastic laminate | M
8.2 | Door, hollow, wooden | Q
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | Q
8.5 | Overhead door, coiling | NA
8.6 | Overhead door, rolling, steel | NA
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | NA
9.2 | Baseboard, vinyl | NA
9.3 | Baseboard, wood | NA
9.4 | Brick interior, painted | NA
9.5 | Brick, exterior | NA
9.6 | Brick, interior, unfinished | NA
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.1 | Carpet | NA
9.11 | Counter, solid surface | NA
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | NA
9.16 | Sheetrock, painted | NA
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | NA
10.2 | Locker, public use | NA
10.3 | Partition, plastic | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | Q
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | Q
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | Q
14.3 | Forklift | M
14.4 | Hydraulic Lift | Q
15.2 | Air Conditioning Unit, Packaged, Thru-wall | Q
15.3 | Air Conditioning Unit, Packaged, Wall Mount | NA
15.4 | Air Conditioning Unit, Portable | Q
15.5 | Air Conditioning Unit, Split | NA
15.6 | Air Conditioning Unit, Window | Q
15.8 | Air handler | Q
15.9 | Boiler, Hot Water, Propane | M
15.11 | Compressor, Receiver Mounted | M
15.12 | Compressor, Reciprocating | Q
15.13 | Condenser Unit, Split System | NA
15.14 | Condensing Unit | Q
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | M
15.16 | Condensing Unit; Split System Outdoor Unit | Q
15.17 | Controller, Submersible Motor | NA
15.18 | Damper, Motorized Control | NA
15.19 | Dryer, Compressed air | M
15.2 | Energy Recovery Ventilator | Q
15.21 | Exhaust Fan, Ceiling | NA
15.22 | Exhaust Fan, Kitchen Hood | Q
15.23 | Exhaust Fan, Propeller, Wall, 42" | NA
15.25 | Exhaust Fan, Wall | NA
15.26 | Fan, exhaust | Q
15.27 | Filter, Rainwater | M
15.29 | Heat Pump, Elect. Heat | M
15.3 | Heat pump, Packaged | Q
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | NA
15.34 | Interceptor, Grease | Q
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | NA
15.36 | Modular Unit HVAC | Q
15.37 | Oil / water separator | M
15.38 | Plumbing Fixtures | Q
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | Q
15.47 | Pump, Submersible, Well | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.56 | Safety shower / eyewash | Q
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | Q
15.59 | Split Heat Pump, Indoor Unit | M
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | M
15.68 | Water Heater, Domestic, Tank, electric | Q
15.69 | Water Heater, Domestic, Tank, Nat. Gas | M
15.7 | Water Heater, Indirect Fired Heat Exchanger | Q
15.71 | Water Purifier, Ultraviolet | NA
16.1 | Automatic Transfer Switch | Q
16.2 | Tank, above ground, diesel | NA
16.3 | Building Automation System | Q
16.4 | CCTV System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | Q
16.8 | Exterior building lighting | M
16.9 | Fire Alarm Control Panel | Q
16.1 | Fire Alarm Panel | M
16.11 | Fluorescent light, ceiling mounted | Q
16.12 | Fluorescent light, recessed fixture | M
16.13 | Generator, emergency, diesel | Q
16.14 | Generator, emergency, propane | M
16.15 | Lighting, egress and exits signs | Q
16.16 | Radio System | M
16.17 | Remote Annunciator | Q
16.18 | Security System | M
16.19 | Shop light, high bay | Q
16.2 | Site lighting | M
16.21 | Solar Collectors, Water | NA
16.22 | Solar panels | M
16.23 | Surge Protective Device | NA
16.24 | Switchgear | M
16.25 | Time Clock System | Q
16.26 | Transformer | M
16.27 | Transformer, dry type | Q
16.28 | Utility Transformer | M

## NOVEMBER
MONTH: | NOVEMBER
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | NA
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
2.5 | Sidewalk, concrete | NA
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | NA
4.2 | CMU, unfinished | NA
5.1 | Structure, exposed | NA
5.2 | Structure, painted | NA
6.1 | Railing, metal painted | NA
6.2 | Railing, metal unfinished | NA
6.3 | Railing, vinyl | NA
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | NA
7.2 | Roof system, metal standing | NA
7.3 | Roof system, permeable membrane | NA
7.4 | Skylight | NA
7.5 | Solar Tube | NA
8.1 | Door, hollow, plastic laminate | M
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | M
8.5 | Overhead door, coiling | NA
8.6 | Overhead door, rolling, steel | NA
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | NA
9.2 | Baseboard, vinyl | NA
9.3 | Baseboard, wood | NA
9.4 | Brick interior, painted | NA
9.5 | Brick, exterior | NA
9.6 | Brick, interior, unfinished | NA
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.1 | Carpet | NA
9.11 | Counter, solid surface | NA
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | NA
9.16 | Sheetrock, painted | NA
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | NA
10.2 | Locker, public use | NA
10.3 | Partition, plastic | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | M
14.3 | Forklift | M
14.4 | Hydraulic Lift | NA
15.2 | Air Conditioning Unit, Packaged, Thru-wall | NA
15.3 | Air Conditioning Unit, Packaged, Wall Mount | NA
15.4 | Air Conditioning Unit, Portable | M
15.5 | Air Conditioning Unit, Split | NA
15.6 | Air Conditioning Unit, Window | M
15.8 | Air handler | NA
15.9 | Boiler, Hot Water, Propane | M
15.11 | Compressor, Receiver Mounted | M
15.12 | Compressor, Reciprocating | NA
15.13 | Condenser Unit, Split System | NA
15.14 | Condensing Unit | NA
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | M
15.16 | Condensing Unit; Split System Outdoor Unit | NA
15.17 | Controller, Submersible Motor | NA
15.18 | Damper, Motorized Control | NA
15.19 | Dryer, Compressed air | M
15.2 | Energy Recovery Ventilator | NA
15.21 | Exhaust Fan, Ceiling | NA
15.22 | Exhaust Fan, Kitchen Hood | NA
15.23 | Exhaust Fan, Propeller, Wall, 42" | NA
15.25 | Exhaust Fan, Wall | NA
15.26 | Fan, exhaust | NA
15.27 | Filter, Rainwater | M
15.29 | Heat Pump, Elect. Heat | M
15.3 | Heat pump, Packaged | M
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | NA
15.34 | Interceptor, Grease | NA
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | NA
15.36 | Modular Unit HVAC | NA
15.37 | Oil / water separator | M
15.38 | Plumbing Fixtures | M
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | NA
15.47 | Pump, Submersible, Well | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.56 | Safety shower / eyewash | M
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | M
15.59 | Split Heat Pump, Indoor Unit | M
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | M
15.68 | Water Heater, Domestic, Tank, electric | M
15.69 | Water Heater, Domestic, Tank, Nat. Gas | M
15.7 | Water Heater, Indirect Fired Heat Exchanger | M
15.71 | Water Purifier, Ultraviolet | NA
16.1 | Automatic Transfer Switch | M
16.2 | Tank, above ground, diesel | NA
16.3 | Building Automation System | M
16.4 | CCTV System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | M
16.9 | Fire Alarm Control Panel | M
16.1 | Fire Alarm Panel | M
16.11 | Fluorescent light, ceiling mounted | M
16.12 | Fluorescent light, recessed fixture | M
16.13 | Generator, emergency, diesel | M
16.14 | Generator, emergency, propane | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | M
16.17 | Remote Annunciator | M
16.18 | Security System | M
16.19 | Shop light, high bay | M
16.2 | Site lighting | M
16.21 | Solar Collectors, Water | NA
16.22 | Solar panels | M
16.23 | Surge Protective Device | NA
16.24 | Switchgear | M
16.25 | Time Clock System | M
16.26 | Transformer | M
16.27 | Transformer, dry type | M
16.28 | Utility Transformer | M

## DECEMBER
MONTH: | DECEMBER
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | A
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | A
2.4 | Paving, concrete | NA
2.5 | Sidewalk, concrete | A
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | A
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | A
4.1 | CMU, painted | NA
4.2 | CMU, unfinished | A
5.1 | Structure, exposed | NA
5.2 | Structure, painted | A
6.1 | Railing, metal painted | NA
6.2 | Railing, metal unfinished | A
6.3 | Railing, vinyl | NA
6.4 | Stairs, wood | A
7.1 | Gutter with downspout | NA
7.2 | Roof system, metal standing | A
7.3 | Roof system, permeable membrane | NA
7.4 | Skylight | A
7.5 | Solar Tube | NA
8.1 | Door, hollow, plastic laminate | A
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | A
8.4 | Door, storefront | M
8.5 | Overhead door, coiling | A
8.6 | Overhead door, rolling, steel | NA
8.7 | Overhead door, sectional | A
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | A
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | A
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | A
9.2 | Baseboard, vinyl | NA
9.3 | Baseboard, wood | A
9.4 | Brick interior, painted | NA
9.5 | Brick, exterior | A
9.6 | Brick, interior, unfinished | NA
9.7 | Cabinet, plastic laminate, wall mounted | A
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | A
9.1 | Carpet | NA
9.11 | Counter, solid surface | A
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | A
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | A
9.16 | Sheetrock, painted | NA
9.17 | Stairs, VCT | A
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | A
10.1 | Locker, half, vented | NA
10.2 | Locker, public use | A
10.3 | Partition, plastic | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | A
12.3 | Chair, office | NA
12.4 | Coffee pot | A
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | A
12.7 | Dispenser, towel | NA
12.8 | File cabinets | A
12.9 | Flag pole | NA
12.1 | Microwave | A
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | A
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | A
14.2 | Elevator | M
14.3 | Forklift | A
14.4 | Hydraulic Lift | NA
15.2 | Air Conditioning Unit, Packaged, Thru-wall | NA
15.3 | Air Conditioning Unit, Packaged, Wall Mount | A
15.4 | Air Conditioning Unit, Portable | M
15.5 | Air Conditioning Unit, Split | A
15.6 | Air Conditioning Unit, Window | M
15.8 | Air handler | NA
15.9 | Boiler, Hot Water, Propane | A
15.11 | Compressor, Receiver Mounted | A
15.12 | Compressor, Reciprocating | NA
15.13 | Condenser Unit, Split System | A
15.14 | Condensing Unit | NA
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | A
15.16 | Condensing Unit; Split System Outdoor Unit | NA
15.17 | Controller, Submersible Motor | A
15.18 | Damper, Motorized Control | NA
15.19 | Dryer, Compressed air | A
15.2 | Energy Recovery Ventilator | NA
15.21 | Exhaust Fan, Ceiling | A
15.22 | Exhaust Fan, Kitchen Hood | NA
15.23 | Exhaust Fan, Propeller, Wall, 42" | A
15.25 | Exhaust Fan, Wall | A
15.26 | Fan, exhaust | NA
15.27 | Filter, Rainwater | A
15.29 | Heat Pump, Elect. Heat | A
15.3 | Heat pump, Packaged | M
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | A
15.34 | Interceptor, Grease | NA
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | A
15.36 | Modular Unit HVAC | NA
15.37 | Oil / water separator | A
15.38 | Plumbing Fixtures | M
15.39 | Pressure Tank, Well | A
15.46 | Pump, In-line centrifugal | NA
15.47 | Pump, Submersible, Well | A
15.49 | Reduced Pressure Backflow Preventer | A
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | A
15.56 | Safety shower / eyewash | M
15.57 | Septic system | A
15.58 | Shower unit, fiberglass | M
15.59 | Split Heat Pump, Indoor Unit | A
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | A
15.68 | Water Heater, Domestic, Tank, electric | M
15.69 | Water Heater, Domestic, Tank, Nat. Gas | A
15.7 | Water Heater, Indirect Fired Heat Exchanger | M
15.71 | Water Purifier, Ultraviolet | A
16.1 | Automatic Transfer Switch | M
16.2 | Tank, above ground, diesel | A
16.3 | Building Automation System | M
16.4 | CCTV System | A
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | A
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | A
16.9 | Fire Alarm Control Panel | M
16.1 | Fire Alarm Panel | A
16.11 | Fluorescent light, ceiling mounted | M
16.12 | Fluorescent light, recessed fixture | A
16.13 | Generator, emergency, diesel | M
16.14 | Generator, emergency, propane | A
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | A
16.17 | Remote Annunciator | M
16.18 | Security System | A
16.19 | Shop light, high bay | M
16.2 | Site lighting | A
16.21 | Solar Collectors, Water | NA
16.22 | Solar panels | A
16.23 | Surge Protective Device | NA
16.24 | Switchgear | A
16.25 | Time Clock System | M
16.26 | Transformer | A
16.27 | Transformer, dry type | M
16.28 | Utility Transformer | A

## JANUARY
MONTH: | JANUARY
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | NA
2.2 | Fire Protection, Site Mechanical | A
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | A
2.5 | Sidewalk, concrete | NA
3.1 | Concrete, epoxy coated | A
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | A
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | A
4.2 | CMU, unfinished | NA
5.1 | Structure, exposed | A
5.2 | Structure, painted | NA
6.1 | Railing, metal painted | A
6.2 | Railing, metal unfinished | NA
6.3 | Railing, vinyl | A
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | A
7.2 | Roof system, metal standing | NA
7.3 | Roof system, permeable membrane | A
7.4 | Skylight | NA
7.5 | Solar Tube | A
8.1 | Door, hollow, plastic laminate | M
8.2 | Door, hollow, wooden | A
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | A
8.5 | Overhead door, coiling | NA
8.6 | Overhead door, rolling, steel | A
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | A
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | A
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | A
9.1 | Acoustic tiles | NA
9.2 | Baseboard, vinyl | A
9.3 | Baseboard, wood | NA
9.4 | Brick interior, painted | A
9.5 | Brick, exterior | NA
9.6 | Brick, interior, unfinished | A
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | A
9.9 | Cabinets, under counter | NA
9.1 | Carpet | A
9.11 | Counter, solid surface | NA
9.12 | Counter, wood top | A
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | A
9.15 | Metal ceiling, panelized | NA
9.16 | Sheetrock, painted | A
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | A
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | A
10.2 | Locker, public use | NA
10.3 | Partition, plastic | A
12.1 | Audio/visual equipment | A
12.2 | Furniture, office | NA
12.3 | Chair, office | A
12.4 | Coffee pot | M
12.5 | Computer | A
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | A
12.8 | File cabinets | NA
12.9 | Flag pole | A
12.1 | Microwave | NA
12.11 | Refrigerator | A
12.12 | Table, break/lunch | NA
12.13 | Table, conference | A
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | A
14.3 | Forklift | M
14.4 | Hydraulic Lift | A
15.2 | Air Conditioning Unit, Packaged, Thru-wall | A
15.3 | Air Conditioning Unit, Packaged, Wall Mount | NA
15.4 | Air Conditioning Unit, Portable | A
15.5 | Air Conditioning Unit, Split | NA
15.6 | Air Conditioning Unit, Window | A
15.8 | Air handler | A
15.9 | Boiler, Hot Water, Propane | M
15.11 | Compressor, Receiver Mounted | M
15.12 | Compressor, Reciprocating | A
15.13 | Condenser Unit, Split System | NA
15.14 | Condensing Unit | A
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | M
15.16 | Condensing Unit; Split System Outdoor Unit | A
15.17 | Controller, Submersible Motor | NA
15.18 | Damper, Motorized Control | A
15.19 | Dryer, Compressed air | M
15.2 | Energy Recovery Ventilator | A
15.21 | Exhaust Fan, Ceiling | NA
15.22 | Exhaust Fan, Kitchen Hood | A
15.23 | Exhaust Fan, Propeller, Wall, 42" | NA
15.25 | Exhaust Fan, Wall | NA
15.26 | Fan, exhaust | A
15.27 | Filter, Rainwater | M
15.29 | Heat Pump, Elect. Heat | M
15.3 | Heat pump, Packaged | A
15.32 | Heater, Unit | A
15.33 | Inline Exhaust Fan | NA
15.34 | Interceptor, Grease | A
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | NA
15.36 | Modular Unit HVAC | A
15.37 | Oil / water separator | M
15.38 | Plumbing Fixtures | A
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | A
15.47 | Pump, Submersible, Well | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.56 | Safety shower / eyewash | A
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | A
15.59 | Split Heat Pump, Indoor Unit | M
15.6 | Storage Tank, Rainwater | A
15.62 | Tank, Propane | A
15.67 | Water Heater, Domestic, Instantaneous, Electric | M
15.68 | Water Heater, Domestic, Tank, electric | A
15.69 | Water Heater, Domestic, Tank, Nat. Gas | M
15.7 | Water Heater, Indirect Fired Heat Exchanger | A
15.71 | Water Purifier, Ultraviolet | NA
16.1 | Automatic Transfer Switch | A
16.2 | Tank, above ground, diesel | NA
16.3 | Building Automation System | A
16.4 | CCTV System | M
16.5 | Circuit Breaker | A
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | A
16.8 | Exterior building lighting | M
16.9 | Fire Alarm Control Panel | A
16.1 | Fire Alarm Panel | M
16.11 | Fluorescent light, ceiling mounted | A
16.12 | Fluorescent light, recessed fixture | M
16.13 | Generator, emergency, diesel | A
16.14 | Generator, emergency, propane | M
16.15 | Lighting, egress and exits signs | A
16.16 | Radio System | M
16.17 | Remote Annunciator | A
16.18 | Security System | M
16.19 | Shop light, high bay | A
16.2 | Site lighting | M
16.21 | Solar Collectors, Water | A
16.22 | Solar panels | M
16.23 | Surge Protective Device | A
16.24 | Switchgear | M
16.25 | Time Clock System | A
16.26 | Transformer | M
16.27 | Transformer, dry type | A
16.28 | Utility Transformer | M

## FEBRUARY
MONTH: | FEBRUARY
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | NA
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
2.5 | Sidewalk, concrete | NA
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | NA
4.2 | CMU, unfinished | NA
5.1 | Structure, exposed | NA
5.2 | Structure, painted | NA
6.1 | Railing, metal painted | NA
6.2 | Railing, metal unfinished | NA
6.3 | Railing, vinyl | NA
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | NA
7.2 | Roof system, metal standing | NA
7.3 | Roof system, permeable membrane | NA
7.4 | Skylight | NA
7.5 | Solar Tube | NA
8.1 | Door, hollow, plastic laminate | M
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | M
8.5 | Overhead door, coiling | NA
8.6 | Overhead door, rolling, steel | NA
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | NA
9.2 | Baseboard, vinyl | NA
9.3 | Baseboard, wood | NA
9.4 | Brick interior, painted | NA
9.5 | Brick, exterior | NA
9.6 | Brick, interior, unfinished | NA
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.1 | Carpet | NA
9.11 | Counter, solid surface | NA
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | NA
9.16 | Sheetrock, painted | NA
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | NA
10.2 | Locker, public use | NA
10.3 | Partition, plastic | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | M
14.3 | Forklift | M
14.4 | Hydraulic Lift | NA
15.2 | Air Conditioning Unit, Packaged, Thru-wall | NA
15.3 | Air Conditioning Unit, Packaged, Wall Mount | NA
15.4 | Air Conditioning Unit, Portable | M
15.5 | Air Conditioning Unit, Split | NA
15.6 | Air Conditioning Unit, Window | M
15.8 | Air handler | NA
15.9 | Boiler, Hot Water, Propane | M
15.11 | Compressor, Receiver Mounted | M
15.12 | Compressor, Reciprocating | NA
15.13 | Condenser Unit, Split System | NA
15.14 | Condensing Unit | NA
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | M
15.16 | Condensing Unit; Split System Outdoor Unit | NA
15.17 | Controller, Submersible Motor | NA
15.18 | Damper, Motorized Control | NA
15.19 | Dryer, Compressed air | M
15.2 | Energy Recovery Ventilator | NA
15.21 | Exhaust Fan, Ceiling | NA
15.22 | Exhaust Fan, Kitchen Hood | NA
15.23 | Exhaust Fan, Propeller, Wall, 42" | NA
15.25 | Exhaust Fan, Wall | NA
15.26 | Fan, exhaust | NA
15.27 | Filter, Rainwater | M
15.29 | Heat Pump, Elect. Heat | M
15.3 | Heat pump, Packaged | M
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | NA
15.34 | Interceptor, Grease | NA
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | NA
15.36 | Modular Unit HVAC | NA
15.37 | Oil / water separator | M
15.38 | Plumbing Fixtures | M
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | NA
15.47 | Pump, Submersible, Well | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.56 | Safety shower / eyewash | M
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | M
15.59 | Split Heat Pump, Indoor Unit | M
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | M
15.68 | Water Heater, Domestic, Tank, electric | M
15.69 | Water Heater, Domestic, Tank, Nat. Gas | M
15.7 | Water Heater, Indirect Fired Heat Exchanger | M
15.71 | Water Purifier, Ultraviolet | NA
16.1 | Automatic Transfer Switch | M
16.2 | Tank, above ground, diesel | NA
16.3 | Building Automation System | M
16.4 | CCTV System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | M
16.9 | Fire Alarm Control Panel | M
16.1 | Fire Alarm Panel | M
16.11 | Fluorescent light, ceiling mounted | M
16.12 | Fluorescent light, recessed fixture | M
16.13 | Generator, emergency, diesel | M
16.14 | Generator, emergency, propane | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | M
16.17 | Remote Annunciator | M
16.18 | Security System | M
16.19 | Shop light, high bay | M
16.2 | Site lighting | M
16.21 | Solar Collectors, Water | NA
16.22 | Solar panels | M
16.23 | Surge Protective Device | NA
16.24 | Switchgear | M
16.25 | Time Clock System | M
16.26 | Transformer | M
16.27 | Transformer, dry type | M
16.28 | Utility Transformer | M

## MARCH
MONTH: | MARCH
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | NA
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
2.5 | Sidewalk, concrete | NA
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | NA
4.2 | CMU, unfinished | NA
5.1 | Structure, exposed | NA
5.2 | Structure, painted | NA
6.1 | Railing, metal painted | NA
6.2 | Railing, metal unfinished | NA
6.3 | Railing, vinyl | NA
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | NA
7.2 | Roof system, metal standing | Q
7.3 | Roof system, permeable membrane | NA
7.4 | Skylight | Q
7.5 | Solar Tube | NA
8.1 | Door, hollow, plastic laminate | Q
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | Q
8.4 | Door, storefront | M
8.5 | Overhead door, coiling | NA
8.6 | Overhead door, rolling, steel | NA
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | Q
9.2 | Baseboard, vinyl | NA
9.3 | Baseboard, wood | NA
9.4 | Brick interior, painted | NA
9.5 | Brick, exterior | NA
9.6 | Brick, interior, unfinished | NA
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.1 | Carpet | NA
9.11 | Counter, solid surface | NA
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | Q
9.16 | Sheetrock, painted | NA
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | NA
10.2 | Locker, public use | NA
10.3 | Partition, plastic | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | Q
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | Q
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | M
14.3 | Forklift | Q
14.4 | Hydraulic Lift | NA
15.2 | Air Conditioning Unit, Packaged, Thru-wall | NA
15.3 | Air Conditioning Unit, Packaged, Wall Mount | Q
15.4 | Air Conditioning Unit, Portable | M
15.5 | Air Conditioning Unit, Split | Q
15.6 | Air Conditioning Unit, Window | M
15.8 | Air handler | NA
15.9 | Boiler, Hot Water, Propane | Q
15.11 | Compressor, Receiver Mounted | Q
15.12 | Compressor, Reciprocating | NA
15.13 | Condenser Unit, Split System | Q
15.14 | Condensing Unit | NA
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | Q
15.16 | Condensing Unit; Split System Outdoor Unit | NA
15.17 | Controller, Submersible Motor | NA
15.18 | Damper, Motorized Control | NA
15.19 | Dryer, Compressed air | Q
15.2 | Energy Recovery Ventilator | NA
15.21 | Exhaust Fan, Ceiling | Q
15.22 | Exhaust Fan, Kitchen Hood | NA
15.23 | Exhaust Fan, Propeller, Wall, 42" | Q
15.25 | Exhaust Fan, Wall | Q
15.26 | Fan, exhaust | NA
15.27 | Filter, Rainwater | Q
15.29 | Heat Pump, Elect. Heat | Q
15.3 | Heat pump, Packaged | M
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | Q
15.34 | Interceptor, Grease | NA
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | Q
15.36 | Modular Unit HVAC | NA
15.37 | Oil / water separator | Q
15.38 | Plumbing Fixtures | M
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | NA
15.47 | Pump, Submersible, Well | Q
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | Q
15.56 | Safety shower / eyewash | M
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | M
15.59 | Split Heat Pump, Indoor Unit | Q
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | Q
15.68 | Water Heater, Domestic, Tank, electric | M
15.69 | Water Heater, Domestic, Tank, Nat. Gas | Q
15.7 | Water Heater, Indirect Fired Heat Exchanger | M
15.71 | Water Purifier, Ultraviolet | Q
16.1 | Automatic Transfer Switch | M
16.2 | Tank, above ground, diesel | Q
16.3 | Building Automation System | M
16.4 | CCTV System | Q
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | Q
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | Q
16.9 | Fire Alarm Control Panel | M
16.1 | Fire Alarm Panel | Q
16.11 | Fluorescent light, ceiling mounted | M
16.12 | Fluorescent light, recessed fixture | Q
16.13 | Generator, emergency, diesel | M
16.14 | Generator, emergency, propane | Q
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | Q
16.17 | Remote Annunciator | M
16.18 | Security System | Q
16.19 | Shop light, high bay | M
16.2 | Site lighting | Q
16.21 | Solar Collectors, Water | NA
16.22 | Solar panels | Q
16.23 | Surge Protective Device | NA
16.24 | Switchgear | Q
16.25 | Time Clock System | M
16.26 | Transformer | Q
16.27 | Transformer, dry type | M
16.28 | Utility Transformer | Q

## APRIL
MONTH: | APRIL
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | NA
2.2 | Fire Protection, Site Mechanical | Q
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
2.5 | Sidewalk, concrete | NA
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | NA
4.2 | CMU, unfinished | NA
5.1 | Structure, exposed | NA
5.2 | Structure, painted | NA
6.1 | Railing, metal painted | NA
6.2 | Railing, metal unfinished | NA
6.3 | Railing, vinyl | NA
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | NA
7.2 | Roof system, metal standing | NA
7.3 | Roof system, permeable membrane | Q
7.4 | Skylight | NA
7.5 | Solar Tube | Q
8.1 | Door, hollow, plastic laminate | M
8.2 | Door, hollow, wooden | Q
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | Q
8.5 | Overhead door, coiling | NA
8.6 | Overhead door, rolling, steel | NA
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | NA
9.2 | Baseboard, vinyl | NA
9.3 | Baseboard, wood | NA
9.4 | Brick interior, painted | NA
9.5 | Brick, exterior | NA
9.6 | Brick, interior, unfinished | NA
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.1 | Carpet | NA
9.11 | Counter, solid surface | NA
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | NA
9.16 | Sheetrock, painted | NA
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | NA
10.2 | Locker, public use | NA
10.3 | Partition, plastic | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | Q
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | Q
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | Q
14.3 | Forklift | M
14.4 | Hydraulic Lift | Q
15.2 | Air Conditioning Unit, Packaged, Thru-wall | Q
15.3 | Air Conditioning Unit, Packaged, Wall Mount | NA
15.4 | Air Conditioning Unit, Portable | Q
15.5 | Air Conditioning Unit, Split | NA
15.6 | Air Conditioning Unit, Window | Q
15.8 | Air handler | Q
15.9 | Boiler, Hot Water, Propane | M
15.11 | Compressor, Receiver Mounted | M
15.12 | Compressor, Reciprocating | Q
15.13 | Condenser Unit, Split System | NA
15.14 | Condensing Unit | Q
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | M
15.16 | Condensing Unit; Split System Outdoor Unit | Q
15.17 | Controller, Submersible Motor | NA
15.18 | Damper, Motorized Control | NA
15.19 | Dryer, Compressed air | M
15.2 | Energy Recovery Ventilator | Q
15.21 | Exhaust Fan, Ceiling | NA
15.22 | Exhaust Fan, Kitchen Hood | Q
15.23 | Exhaust Fan, Propeller, Wall, 42" | NA
15.25 | Exhaust Fan, Wall | NA
15.26 | Fan, exhaust | Q
15.27 | Filter, Rainwater | M
15.29 | Heat Pump, Elect. Heat | M
15.3 | Heat pump, Packaged | Q
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | NA
15.34 | Interceptor, Grease | Q
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | NA
15.36 | Modular Unit HVAC | Q
15.37 | Oil / water separator | M
15.38 | Plumbing Fixtures | Q
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | Q
15.47 | Pump, Submersible, Well | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.56 | Safety shower / eyewash | Q
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | Q
15.59 | Split Heat Pump, Indoor Unit | M
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | M
15.68 | Water Heater, Domestic, Tank, electric | Q
15.69 | Water Heater, Domestic, Tank, Nat. Gas | M
15.7 | Water Heater, Indirect Fired Heat Exchanger | Q
15.71 | Water Purifier, Ultraviolet | NA
16.1 | Automatic Transfer Switch | W
16.2 | Tank, above ground, diesel | NA
16.3 | Building Automation System | Q
16.4 | CCTV System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | Q
16.8 | Exterior building lighting | M
16.9 | Fire Alarm Control Panel | Q
16.1 | Fire Alarm Panel | M
16.11 | Fluorescent light, ceiling mounted | Q
16.12 | Fluorescent light, recessed fixture | M
16.13 | Generator, emergency, diesel | Q
16.14 | Generator, emergency, propane | M
16.15 | Lighting, egress and exits signs | Q
16.16 | Radio System | M
16.17 | Remote Annunciator | Q
16.18 | Security System | M
16.19 | Shop light, high bay | Q
16.2 | Site lighting | M
16.21 | Solar Collectors, Water | NA
16.22 | Solar panels | M
16.23 | Surge Protective Device | NA
16.24 | Switchgear | M
16.25 | Time Clock System | Q
16.26 | Transformer | M
16.27 | Transformer, dry type | Q
16.28 | Utility Transformer | M

## MAY
MONTH: | MAY
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | NA
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
2.5 | Sidewalk, concrete | NA
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | NA
4.2 | CMU, unfinished | NA
5.1 | Structure, exposed | NA
5.2 | Structure, painted | NA
6.1 | Railing, metal painted | NA
6.2 | Railing, metal unfinished | NA
6.3 | Railing, vinyl | NA
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | NA
7.2 | Roof system, metal standing | NA
7.3 | Roof system, permeable membrane | NA
7.4 | Skylight | NA
7.5 | Solar Tube | NA
8.1 | Door, hollow, plastic laminate | M
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | M
8.5 | Overhead door, coiling | NA
8.6 | Overhead door, rolling, steel | NA
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | NA
9.2 | Baseboard, vinyl | NA
9.3 | Baseboard, wood | NA
9.4 | Brick interior, painted | NA
9.5 | Brick, exterior | NA
9.6 | Brick, interior, unfinished | NA
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.1 | Carpet | NA
9.11 | Counter, solid surface | NA
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | NA
9.16 | Sheetrock, painted | NA
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | NA
10.2 | Locker, public use | NA
10.3 | Partition, plastic | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | M
14.3 | Forklift | M
14.4 | Hydraulic Lift | NA
15.2 | Air Conditioning Unit, Packaged, Thru-wall | NA
15.3 | Air Conditioning Unit, Packaged, Wall Mount | NA
15.4 | Air Conditioning Unit, Portable | M
15.5 | Air Conditioning Unit, Split | NA
15.6 | Air Conditioning Unit, Window | M
15.8 | Air handler | NA
15.9 | Boiler, Hot Water, Propane | M
15.11 | Compressor, Receiver Mounted | M
15.12 | Compressor, Reciprocating | NA
15.13 | Condenser Unit, Split System | NA
15.14 | Condensing Unit | NA
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | M
15.16 | Condensing Unit; Split System Outdoor Unit | NA
15.17 | Controller, Submersible Motor | NA
15.18 | Damper, Motorized Control | NA
15.19 | Dryer, Compressed air | M
15.2 | Energy Recovery Ventilator | NA
15.21 | Exhaust Fan, Ceiling | NA
15.22 | Exhaust Fan, Kitchen Hood | NA
15.23 | Exhaust Fan, Propeller, Wall, 42" | NA
15.25 | Exhaust Fan, Wall | NA
15.26 | Fan, exhaust | NA
15.27 | Filter, Rainwater | M
15.29 | Heat Pump, Elect. Heat | M
15.3 | Heat pump, Packaged | M
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | NA
15.34 | Interceptor, Grease | NA
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | NA
15.36 | Modular Unit HVAC | NA
15.37 | Oil / water separator | M
15.38 | Plumbing Fixtures | M
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | NA
15.47 | Pump, Submersible, Well | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.56 | Safety shower / eyewash | M
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | M
15.59 | Split Heat Pump, Indoor Unit | M
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | M
15.68 | Water Heater, Domestic, Tank, electric | M
15.69 | Water Heater, Domestic, Tank, Nat. Gas | M
15.7 | Water Heater, Indirect Fired Heat Exchanger | M
15.71 | Water Purifier, Ultraviolet | NA
16.1 | Automatic Transfer Switch | M
16.2 | Tank, above ground, diesel | NA
16.3 | Building Automation System | M
16.4 | CCTV System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | M
16.9 | Fire Alarm Control Panel | M
16.1 | Fire Alarm Panel | M
16.11 | Fluorescent light, ceiling mounted | M
16.12 | Fluorescent light, recessed fixture | M
16.13 | Generator, emergency, diesel | M
16.14 | Generator, emergency, propane | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | M
16.17 | Remote Annunciator | M
16.18 | Security System | M
16.19 | Shop light, high bay | M
16.2 | Site lighting | M
16.21 | Solar Collectors, Water | NA
16.22 | Solar panels | M
16.23 | Surge Protective Device | NA
16.24 | Switchgear | M
16.25 | Time Clock System | M
16.26 | Transformer | M
16.27 | Transformer, dry type | M
16.28 | Utility Transformer | M

## JUNE
MONTH: | JUNE
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.1 | Fence, chainlink | S
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | S
2.4 | Paving, concrete | NA
2.5 | Sidewalk, concrete | S
3.1 | Concrete, epoxy coated | NA
3.2 | Concrete, unfinished | NA
3.3 | Safety bollard, metal | NA
3.4 | Stairs, concrete unfinished | NA
4.1 | CMU, painted | NA
4.2 | CMU, unfinished | S
5.1 | Structure, exposed | NA
5.2 | Structure, painted | S
6.1 | Railing, metal painted | NA
6.2 | Railing, metal unfinished | S
6.3 | Railing, vinyl | NA
6.4 | Stairs, wood | NA
7.1 | Gutter with downspout | NA
7.2 | Roof system, metal standing | S
7.3 | Roof system, permeable membrane | NA
7.4 | Skylight | S
7.5 | Solar Tube | NA
8.1 | Door, hollow, plastic laminate | S
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | S
8.4 | Door, storefront | M
8.5 | Overhead door, coiling | S
8.6 | Overhead door, rolling, steel | NA
8.7 | Overhead door, sectional | S
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
8.1 | Window, aluminum, operable | NA
8.11 | Window, vinyl, operable | NA
8.12 | Window, vinyl, inoperable | NA
9.1 | Acoustic tiles | S
9.2 | Baseboard, vinyl | NA
9.3 | Baseboard, wood | S
9.4 | Brick interior, painted | NA
9.5 | Brick, exterior | S
9.6 | Brick, interior, unfinished | NA
9.7 | Cabinet, plastic laminate, wall mounted | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.1 | Carpet | NA
9.11 | Counter, solid surface | S
9.12 | Counter, wood top | NA
9.13 | FRP, ceiling | NA
9.14 | FRP, wall | NA
9.15 | Metal ceiling, panelized | S
9.16 | Sheetrock, painted | NA
9.17 | Stairs, VCT | NA
9.18 | Tile, ceramic | NA
9.19 | Tile, VCT | NA
10.1 | Locker, half, vented | NA
10.2 | Locker, public use | S
10.3 | Partition, plastic | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | S
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | S
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.1 | AC Motor, 20 HP | NA
14.2 | Elevator | M
14.3 | Forklift | S
14.4 | Hydraulic Lift | NA
15.2 | Air Conditioning Unit, Packaged, Thru-wall | NA
15.3 | Air Conditioning Unit, Packaged, Wall Mount | S
15.4 | Air Conditioning Unit, Portable | M
15.5 | Air Conditioning Unit, Split | S
15.6 | Air Conditioning Unit, Window | M
15.8 | Air handler | NA
15.9 | Boiler, Hot Water, Propane | S
15.11 | Compressor, Receiver Mounted | S
15.12 | Compressor, Reciprocating | NA
15.13 | Condenser Unit, Split System | S
15.14 | Condensing Unit | NA
15.15 | Condensing Unit; Split Heat Pump Outdoor Unit | S
15.16 | Condensing Unit; Split System Outdoor Unit | NA
15.17 | Controller, Submersible Motor | S
15.18 | Damper, Motorized Control | NA
15.19 | Dryer, Compressed air | S
15.2 | Energy Recovery Ventilator | NA
15.21 | Exhaust Fan, Ceiling | S
15.22 | Exhaust Fan, Kitchen Hood | NA
15.23 | Exhaust Fan, Propeller, Wall, 42" | S
15.25 | Exhaust Fan, Wall | S
15.26 | Fan, exhaust | NA
15.27 | Filter, Rainwater | S
15.29 | Heat Pump, Elect. Heat | S
15.3 | Heat pump, Packaged | M
15.32 | Heater, Unit | NA
15.33 | Inline Exhaust Fan | S
15.34 | Interceptor, Grease | NA
15.35 | Make-up Air Unit & Exhaust Fan, up-blast, Range Hood | S
15.36 | Modular Unit HVAC | NA
15.37 | Oil / water separator | S
15.38 | Plumbing Fixtures | M
15.39 | Pressure Tank, Well | NA
15.46 | Pump, In-line centrifugal | NA
15.47 | Pump, Submersible, Well | S
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | S
15.56 | Safety shower / eyewash | M
15.57 | Septic system | NA
15.58 | Shower unit, fiberglass | M
15.59 | Split Heat Pump, Indoor Unit | S
15.6 | Storage Tank, Rainwater | NA
15.62 | Tank, Propane | NA
15.67 | Water Heater, Domestic, Instantaneous, Electric | S
15.68 | Water Heater, Domestic, Tank, electric | M
15.69 | Water Heater, Domestic, Tank, Nat. Gas | S
15.7 | Water Heater, Indirect Fired Heat Exchanger | M
15.71 | Water Purifier, Ultraviolet | S
16.1 | Automatic Transfer Switch | M
16.2 | Tank, above ground, diesel | S
16.3 | Building Automation System | M
16.4 | CCTV System | S
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | S
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | S
16.9 | Fire Alarm Control Panel | M
16.1 | Fire Alarm Panel | S
16.11 | Fluorescent light, ceiling mounted | M
16.12 | Fluorescent light, recessed fixture | S
16.13 | Generator, emergency, diesel | M
16.14 | Generator, emergency, propane | S
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | S
16.17 | Remote Annunciator | M
16.18 | Security System | S
16.19 | Shop light, high bay | M
16.2 | Site lighting | S
16.21 | Solar Collectors, Water | NA
16.22 | Solar panels | S
16.23 | Surge Protective Device | NA
16.24 | Switchgear | S
16.25 | Time Clock System | M
16.26 | Transformer | S
16.27 | Transformer, dry type | M
16.28 | Utility Transformer | S