## OVERALL FY 21
NCDOT FACILITY MAINTENANCE TEMPLATE SCHEDULE
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
MAINTENANCE COMPLETE
PMI | Description | Month
|  | 2016-07-01 | 2016-08-02 | 2016-09-03 | 2016-10-04 | 2016-11-05 | 2016-12-06 | 2016-01-07 | 2016-02-08 | 2016-03-09 | 2016-04-10 | 2016-05-11 | 2016-06-12
2.2 | Fire Protection, Site Mechanical | S | M | M | Q | M | M | A | M | M | Q | M | M
2.3 | Paving, asphalt | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
2.4 | Paving, concrete | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
3.2 | Concrete, unfinished | bar: S to M
5.1 | Structure, exposed | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
7.1 | Gutter with downspout | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
7.3 | Roof system, permeable membrane | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
8.2 | Door, hollow, wooden | S | M | M | Q | M | M | A | M | M | Q | M | M
8.3 | Door, solid core, metal | M | M | Q | M | M | A | M | M | Q | M | M | S
8.4 | Door, storefront | S | M | M | Q | M | M | A | M | M | Q | M | M
8.7 | Overhead door, sectional | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
8.8 | Roll-top door operator | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
8.9 | Window, aluminum, inoperable | bar: S S M S to NA M S M
9.2 | Baseboard, vinyl | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
9.5 | Brick, exterior | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
9.8 | Cabinet, wall mounted | bar: S S M S to NA M S M
9.9 | Cabinets, under counter | bar: S S M S to NA M S M
9.11 | Counter, solid surface | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA | S
9.16 | Sheetrock, painted | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
9.19 | Tile, VCT | bar: S S M S to NA M S M
12.1 | Audio/visual equipment | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
12.2 | Furniture, office | bar: S S M S to NA M S M
12.3 | Chair, office | bar: S S M S to NA M S M
12.4 | Coffee pot | M | M | Q | M | M | A | M | M | Q | M | M | S
12.5 | Computer | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
12.6 | Dispenser, soap, wall mounted | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
12.7 | Dispenser, towel | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
12.8 | File cabinets | bar: M S NA S to S NA S NA
12.9 | Flag pole | bar: M S NA S to S NA S NA
12.1 | Microwave | bar: M S NA S to S NA S NA
12.11 | Refrigerator | bar: M S NA S to S NA S NA
12.12 | Table, break/lunch | bar: M S NA S to S NA S NA
12.13 | Table, conference | bar: M S NA S to S NA S NA
14.3 | Forklift | M | M | Q | M | M | A | M | M | Q | M | M | S
14.4 | Hydraulic Lift | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.8 | Air handler | S | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA
15.38 | Plumbing Fixtures | S | M | M | Q | M | M | A | M | M | Q | M | M
15.49 | Reduced Pressure Backflow Preventer | bar: M S S S to S NA NA M
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA | NA | Q | NA | NA | A | NA | NA | Q | NA | NA | S
15.68 | Water Heater, Domestic, Tank, electric | S | M | M | Q | M | M | A | M | M | Q | M | M
16.3 | Building Automation System | S | M | M | Q | M | M | A | M | M | Q | M | M
16.5 | Circuit Breaker | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M | M | Q | M | M | A | M | M | Q | M | M | S
16.7 | Electrical Panels | S | M | M | Q | M | M | A | M | M | Q | M | M
16.8 | Exterior building lighting | M | M | Q | M | M | A | M | M | Q | M | M | S
16.11 | Fluorescent light, ceiling mounted | S | M | M | Q | M | M | A | M | M | Q | M | M
16.15 | Lighting, egress and exits signs | S | M | M | Q | M | M | A | M | M | Q | M | M
16.16 | Radio System | M | M | Q | M | M | A | M | M | Q | M | M | S
16.18 | Security System | M | M | Q | M | M | A | M | M | Q | M | M | S
16.19 | Shop light, high bay | S | M | M | Q | M | M | A | M | M | Q | M | M
16.2 | Site lighting | M | M | Q | M | M | A | M | M | Q | M | M | S
16.23 | Surge Protective Device | S | NA | NA | NA | NA | NA | A | NA | NA | NA | NA | NA
16.25 | Time Clock System | S | M | M | Q | M | M | A | M | M | Q | M | M
16.26 | Transformer | M | M | Q | M | M | A | M | M | Q | M | M | S
I certify that information presented in this schedule is true and correct to the best of my knowledge.
[9 empty] | Sign |  |  | Date
|  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9.11 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9.16 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9.19 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.11 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12.13 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15.38 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15.49 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15.68 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16.11 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16.15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.16 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16.18 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.19 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16.23 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16.25 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16.26 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## JULY
MONTH: | JULY
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | S
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | S
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | S
7.1 | Gutter with downspout | S
7.3 | Roof system, permeable membrane | S
8.2 | Door, hollow, wooden | S
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | S
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | S
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | S
9.5 | Brick, exterior | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | NA
9.16 | Sheetrock, painted | S
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | S
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | S
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | S
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.3 | Forklift | M
14.4 | Hydraulic Lift | S
15.8 | Air handler | S
15.38 | Plumbing Fixtures | S
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.68 | Water Heater, Domestic, Tank, electric | S
16.3 | Building Automation System | S
16.5 | Circuit Breaker | S
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | S
16.8 | Exterior building lighting | M
16.11 | Fluorescent light, ceiling mounted | S
16.15 | Lighting, egress and exits signs | S
16.16 | Radio System | M
16.18 | Security System | M
16.19 | Shop light, high bay | S
16.2 | Site lighting | M
16.23 | Surge Protective Device | S
16.25 | Time Clock System | S
16.26 | Transformer | M

## AUGUST
MONTH: | AUGUST
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | NA
7.1 | Gutter with downspout | NA
7.3 | Roof system, permeable membrane | NA
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | M
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | NA
9.5 | Brick, exterior | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | NA
9.16 | Sheetrock, painted | NA
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.3 | Forklift | M
14.4 | Hydraulic Lift | NA
15.8 | Air handler | NA
15.38 | Plumbing Fixtures | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.68 | Water Heater, Domestic, Tank, electric | M
16.3 | Building Automation System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | M
16.11 | Fluorescent light, ceiling mounted | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | M
16.18 | Security System | M
16.19 | Shop light, high bay | M
16.2 | Site lighting | M
16.23 | Surge Protective Device | NA
16.25 | Time Clock System | M
16.26 | Transformer | M

## SEPTEMBER
MONTH: | SEPTEMBER
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | NA
7.1 | Gutter with downspout | NA
7.3 | Roof system, permeable membrane | NA
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | Q
8.4 | Door, storefront | M
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | NA
9.5 | Brick, exterior | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | NA
9.16 | Sheetrock, painted | NA
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | Q
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | Q
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.3 | Forklift | Q
14.4 | Hydraulic Lift | NA
15.8 | Air handler | NA
15.38 | Plumbing Fixtures | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | Q
15.68 | Water Heater, Domestic, Tank, electric | M
16.3 | Building Automation System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | Q
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | Q
16.11 | Fluorescent light, ceiling mounted | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | Q
16.18 | Security System | Q
16.19 | Shop light, high bay | M
16.2 | Site lighting | Q
16.23 | Surge Protective Device | NA
16.25 | Time Clock System | M
16.26 | Transformer | Q

## OCTOBER
MONTH: | OCTOBER
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | Q
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | NA
7.1 | Gutter with downspout | NA
7.3 | Roof system, permeable membrane | Q
8.2 | Door, hollow, wooden | Q
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | Q
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | NA
9.5 | Brick, exterior | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | NA
9.16 | Sheetrock, painted | NA
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | Q
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | Q
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.3 | Forklift | M
14.4 | Hydraulic Lift | Q
15.8 | Air handler | Q
15.38 | Plumbing Fixtures | Q
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.68 | Water Heater, Domestic, Tank, electric | Q
16.3 | Building Automation System | Q
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | Q
16.8 | Exterior building lighting | M
16.11 | Fluorescent light, ceiling mounted | Q
16.15 | Lighting, egress and exits signs | Q
16.16 | Radio System | M
16.18 | Security System | M
16.19 | Shop light, high bay | Q
16.2 | Site lighting | M
16.23 | Surge Protective Device | NA
16.25 | Time Clock System | Q
16.26 | Transformer | M

## NOVEMBER
MONTH: | NOVEMBER
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | NA
7.1 | Gutter with downspout | NA
7.3 | Roof system, permeable membrane | NA
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | M
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | NA
9.5 | Brick, exterior | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | NA
9.16 | Sheetrock, painted | NA
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
14.3 | Forklift | M
14.4 | Hydraulic Lift | NA
15.8 | Air handler | NA
15.38 | Plumbing Fixtures | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.68 | Water Heater, Domestic, Tank, electric | M
16.3 | Building Automation System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | M
16.11 | Fluorescent light, ceiling mounted | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | M
16.18 | Security System | M
16.19 | Shop light, high bay | M
16.2 | Site lighting | M
16.23 | Surge Protective Device | NA
16.25 | Time Clock System | M
16.26 | Transformer | M

## DECEMBER
MONTH: | DECEMBER
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | A
2.4 | Paving, concrete | NA
3.2 | Concrete, unfinished | A
5.1 | Structure, exposed | NA
7.1 | Gutter with downspout | NA
7.3 | Roof system, permeable membrane | NA
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | A
8.4 | Door, storefront | M
8.7 | Overhead door, sectional | A
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | A
9.2 | Baseboard, vinyl | NA
9.5 | Brick, exterior | A
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | A
9.11 | Counter, solid surface | A
9.16 | Sheetrock, painted | NA
9.19 | Tile, VCT | A
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | A
12.3 | Chair, office | NA
12.4 | Coffee pot | A
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | A
12.7 | Dispenser, towel | NA
12.8 | File cabinets | A
12.9 | Flag pole | NA
12.1 | Microwave | A
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | A
12.13 | Table, conference | NA
14.3 | Forklift | A
14.4 | Hydraulic Lift | NA
15.8 | Air handler | NA
15.38 | Plumbing Fixtures | M
15.49 | Reduced Pressure Backflow Preventer | A
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | A
15.68 | Water Heater, Domestic, Tank, electric | M
16.3 | Building Automation System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | A
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | A
16.11 | Fluorescent light, ceiling mounted | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | A
16.18 | Security System | A
16.19 | Shop light, high bay | M
16.2 | Site lighting | A
16.23 | Surge Protective Device | NA
16.25 | Time Clock System | M
16.26 | Transformer | A

## JANUARY
MONTH: | JANUARY
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | A
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | A
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | A
7.1 | Gutter with downspout | A
7.3 | Roof system, permeable membrane | A
8.2 | Door, hollow, wooden | A
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | A
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | A
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | A
9.5 | Brick, exterior | NA
9.8 | Cabinet, wall mounted | A
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | NA
9.16 | Sheetrock, painted | A
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | A
12.2 | Furniture, office | NA
12.3 | Chair, office | A
12.4 | Coffee pot | M
12.5 | Computer | A
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | A
12.8 | File cabinets | NA
12.9 | Flag pole | A
12.1 | Microwave | NA
12.11 | Refrigerator | A
12.12 | Table, break/lunch | NA
12.13 | Table, conference | A
15.8 | Air handler | A
15.38 | Plumbing Fixtures | A
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.68 | Water Heater, Domestic, Tank, electric | A
16.3 | Building Automation System | A
16.5 | Circuit Breaker | A
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | A
16.8 | Exterior building lighting | M
16.11 | Fluorescent light, ceiling mounted | A
16.15 | Lighting, egress and exits signs | A
16.16 | Radio System | M
16.18 | Security System | M
16.19 | Shop light, high bay | A
16.2 | Site lighting | M
16.23 | Surge Protective Device | A
16.25 | Time Clock System | A
16.26 | Transformer | M

## FEBRUARY
MONTH: | FEBRUARY
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | NA
7.1 | Gutter with downspout | NA
7.3 | Roof system, permeable membrane | NA
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | M
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | NA
9.5 | Brick, exterior | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | NA
9.16 | Sheetrock, painted | NA
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
15.8 | Air handler | NA
15.38 | Plumbing Fixtures | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.68 | Water Heater, Domestic, Tank, electric | M
16.3 | Building Automation System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | M
16.11 | Fluorescent light, ceiling mounted | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | M
16.18 | Security System | M
16.19 | Shop light, high bay | M
16.2 | Site lighting | M
16.23 | Surge Protective Device | NA
16.25 | Time Clock System | M
16.26 | Transformer | M

## MARCH
MONTH: | MARCH
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | NA
7.1 | Gutter with downspout | NA
7.3 | Roof system, permeable membrane | NA
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | Q
8.4 | Door, storefront | M
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | NA
9.5 | Brick, exterior | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | NA
9.16 | Sheetrock, painted | NA
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | Q
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | Q
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
15.8 | Air handler | NA
15.38 | Plumbing Fixtures | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | Q
15.68 | Water Heater, Domestic, Tank, electric | M
16.3 | Building Automation System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | Q
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | Q
16.11 | Fluorescent light, ceiling mounted | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | Q
16.18 | Security System | Q
16.19 | Shop light, high bay | M
16.2 | Site lighting | Q
16.23 | Surge Protective Device | NA
16.25 | Time Clock System | M
16.26 | Transformer | Q

## APRIL
MONTH: | APRIL
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | Q
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | NA
7.1 | Gutter with downspout | NA
7.3 | Roof system, permeable membrane | Q
8.2 | Door, hollow, wooden | Q
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | Q
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | NA
9.5 | Brick, exterior | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | NA
9.16 | Sheetrock, painted | NA
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | Q
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | Q
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
15.8 | Air handler | Q
15.38 | Plumbing Fixtures | Q
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.68 | Water Heater, Domestic, Tank, electric | Q
16.3 | Building Automation System | Q
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | Q
16.8 | Exterior building lighting | M
16.11 | Fluorescent light, ceiling mounted | Q
16.15 | Lighting, egress and exits signs | Q
16.16 | Radio System | M
16.18 | Security System | M
16.19 | Shop light, high bay | Q
16.2 | Site lighting | M
16.23 | Surge Protective Device | NA
16.25 | Time Clock System | Q
16.26 | Transformer | M

## MAY
MONTH: | MAY
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | NA
2.4 | Paving, concrete | NA
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | NA
7.1 | Gutter with downspout | NA
7.3 | Roof system, permeable membrane | NA
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | M
8.4 | Door, storefront | M
8.7 | Overhead door, sectional | NA
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | NA
9.5 | Brick, exterior | NA
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | NA
9.16 | Sheetrock, painted | NA
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | M
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | NA
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
15.8 | Air handler | NA
15.38 | Plumbing Fixtures | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | NA
15.68 | Water Heater, Domestic, Tank, electric | M
16.3 | Building Automation System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | M
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | M
16.11 | Fluorescent light, ceiling mounted | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | M
16.18 | Security System | M
16.19 | Shop light, high bay | M
16.2 | Site lighting | M
16.23 | Surge Protective Device | NA
16.25 | Time Clock System | M
16.26 | Transformer | M

## JUNE
MONTH: | JUNE
A=ANNUAL / S=SEMIANNUAL / Q=QUARTERLY / M=MONTHLY
X = MAINTENANCE COMPLETE
PMI | Description | TYPE | COMPLETE | NOTES | #REF!
2.2 | Fire Protection, Site Mechanical | M
2.3 | Paving, asphalt | S
2.4 | Paving, concrete | NA
3.2 | Concrete, unfinished | NA
5.1 | Structure, exposed | NA
7.1 | Gutter with downspout | NA
7.3 | Roof system, permeable membrane | NA
8.2 | Door, hollow, wooden | M
8.3 | Door, solid core, metal | S
8.4 | Door, storefront | M
8.7 | Overhead door, sectional | S
8.8 | Roll-top door operator | NA
8.9 | Window, aluminum, inoperable | NA
9.2 | Baseboard, vinyl | NA
9.5 | Brick, exterior | S
9.8 | Cabinet, wall mounted | NA
9.9 | Cabinets, under counter | NA
9.11 | Counter, solid surface | S
9.16 | Sheetrock, painted | NA
9.19 | Tile, VCT | NA
12.1 | Audio/visual equipment | NA
12.2 | Furniture, office | NA
12.3 | Chair, office | NA
12.4 | Coffee pot | S
12.5 | Computer | NA
12.6 | Dispenser, soap, wall mounted | S
12.7 | Dispenser, towel | NA
12.8 | File cabinets | NA
12.9 | Flag pole | NA
12.1 | Microwave | NA
12.11 | Refrigerator | NA
12.12 | Table, break/lunch | NA
12.13 | Table, conference | NA
15.8 | Air handler | NA
15.38 | Plumbing Fixtures | M
15.49 | Reduced Pressure Backflow Preventer | NA
15.55 | Rooftop Unit, Packaged, heating & cooling , gas-fired | S
15.68 | Water Heater, Domestic, Tank, electric | M
16.3 | Building Automation System | M
16.5 | Circuit Breaker | NA
16.6 | Digital Video Recorder, Vehicle CCTV | S
16.7 | Electrical Panels | M
16.8 | Exterior building lighting | S
16.11 | Fluorescent light, ceiling mounted | M
16.15 | Lighting, egress and exits signs | M
16.16 | Radio System | S
16.18 | Security System | S
16.19 | Shop light, high bay | M
16.2 | Site lighting | S
16.23 | Surge Protective Device | NA
16.25 | Time Clock System | M
16.26 | Transformer | S