Week 6: 100 Days of Summer Fire Safety Email

Team,

Welcome to Week 6 of our “100 Days of Summer” safety campaign. As temperatures rise and construction activities peak, it’s crucial to remain vigilant about fire safety on our job sites. Summer conditions can elevate fire risks, but with proactive measures, we can ensure a safe working environment for everyone.

Key Fire Safety Practices for Construction Sites

1. Hot Work Precautions

- Obtain Permits: Always secure the necessary hot work permits before initiating tasks like welding or cutting.

- Fire Watch: Assign a dedicated fire watch during and after hot work operations to monitor for potential flare-ups.

- Clear the Area: Remove flammable materials within a 35-foot radius of hot work zones.

2. Safe Storage of Flammable Materials

- Proper Containers: Store flammable liquids in approved, clearly labeled containers.

- Designated Areas: Keep these materials in well-ventilated, designated storage areas away from ignition sources.

- Regular Inspections: Inspect storage areas routinely for leaks or signs of deterioration.

3. Electrical Safety

- Equipment Checks: Regularly inspect electrical tools and cords for damage.

- Avoid Overloading: Do not overload circuits or use inappropriate extension cords.

- Qualified Personnel: Ensure only trained electricians handle electrical installations and repairs.

4. Housekeeping and Site Maintenance

- Debris Removal: Promptly dispose of combustible waste materials.

- Clear Access: Maintain unobstructed access to fire extinguishers and emergency exits.

- Tool Storage: Store tools and equipment properly to prevent accidental ignition.

5. Emergency Preparedness

- Fire Extinguishers: Ensure fire extinguishers are accessible, charged, and appropriate for the types of fires that may occur.

- Evacuation Plans: Review and practice evacuation procedures regularly.

- First Aid: Keep first aid kits stocked and ensure personnel are trained in basic first aid and CPR.

Resources and Materials:

A collection of flyers, posters, Safety Operating Procedures and training materials is available on our 100 Days of Summer Safety webpage. Supervisors may choose from these resources to tailor activities to their teams.

Recognition Opportunity:

As a reminder, the division or county with the highest participation throughout the 100 Days of Summer will receive special recognition at the conclusion of the campaign!

For additional materials or support, please contact David Harp. Let’s work together to ensure everyone stays safe and healthy this summer.

Safety is top priority. Let’s work together to ensure a safe and healthy summer season. Thank you for your commitment to worker health and safety.

Regards,