100 Days of Winter: Flood Conditions Tailgate Talks

Key Hazards During Flood Conditions

Electrical Dangers:

- Floodwaters can hide energized power lines, which can electrocute anyone who comes in contact with them. Only qualified utility workers should handle downed or damaged electrical lines.

  - Treat all downed power lines as if they are live.

  - Shut off power at the main breaker before entering a flooded area, and do not turn it back on until a qualified electrician has inspected electrical equipment.

  - Use ground fault circuit interrupters (GFCIs) and check that all cords are in good condition.

Contaminated Floodwater:

- Floodwaters often contain raw sewage, hazardous chemicals, and other contaminants that can cause infection.

  - Wear waterproof gloves and boots to minimize skin contact.

  - Practice good hygiene, including washing hands with soap and clean water after contact with floodwater.

Structural instability:

- Floodwaters can damage the foundation and structural integrity of buildings, leading to potential collapse.

  - Do not enter a flood-damaged building until a qualified professional has inspected and certified it as safe.

  - Use caution around debris and unstable surfaces.

Hidden Dangers:

- Floodwaters can hide sharp objects, manholes, and other submerged debris. Use a wooden stick or pole to probe the ground before stepping.

Portable generators:

- Using gasoline or diesel-powered generators indoors or in confined spaces can lead to carbon monoxide poisoning.

  - Always use generators outdoors and away from windows, doors, and air intakes.

Mold:

- Mold growth can begin in as little as 48 hours after a flood.

  - Use a NIOSH-approved N95 respirator, goggles, and gloves when handling moldy materials.

  - Ventilate the work area and avoid mixing bleach with ammonia.

Heat Stress and Fatigue:

- Workers in hot, humid conditions may suffer from heat exhaustion or stroke.

  - Ensure workers have plenty of water and take frequent breaks in shaded or air-conditioned areas.

- Drowning: Working in or around floodwater poses a risk of drowning.

  - Wear a Coast Guard-approved life jacket when working over or near water where there is a drowning risk.

  - Never drive or walk through moving water.