## CCTV
CCTV PM Checklist Record detailed information related to the work completed at each site
Device Name:
Date of PM:
Technician(s):
Checklist Item | Completed? Yes/No/NA | Notes
Identify and label photographs for the entire site; including but not limited to device, cabinet, power source, raceways. Upload photographs to the inSIGHT AM System and tie to correct device location.
Inspect cabinet, pole, and site for graffiti. Remove or cover as necessary.
Trim vegetation; including trees less than 6"dbh, shrubs, and grass as needed to provide for safe access to the device site and power service point. Apply weed killer as needed to control vegetation. Note: Coordinate any tree trimming with the Division for roadside environmental guidelines prior to any tree trimming activites.
Visually inspect CCTV pole structure (wood or metal) for any signs of stress; including but not limited to, cracks, dents, chipped or missing galvanization, loose or missing lock nuts, signs of rust, cracks in the concrete base/foundation, or damage to anchor bolts. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Inspect and verify that camera lowering device is in working condition. Lubricate mechanical components per manufacturers specification. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually inspect camera housing and document any observed defects. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Inspect junction boxes that lead to cabinet/device (electrical/fiber). Check for signs of rodent activity and apply abatement methods to prevent rodent access to conduits and cabling. Seal any open conduits. Ensure lids are sealed, secure, and bolted down. Neatly organize cabling as needed. Notify Division of any deficiencies in the collar or the box itself.
Visually inspect cabinet foundation for cracks or deterioration. Document results of inspection. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually check grounding system. Verify copper is in place. Test and record grounding impedance, note any difference from previous reading and submit readings to the Division for review. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Inspect and clean the interior of cabinet(s), remove any debris and wipe surfaces. Check for the presence or evidence of insects and rodents. Bait and/or provide pesticide as needed. Check for water intrusion, identify the source, seal and take necessary steps to prevent further condensation within the cabinet interior. Inspect and renew duct sealants, and filters as needed. Clean any metal filter(s) and replace any paper filter(s).
Service door locks, hinges, seals and grommets for proper operation. Lubricate locks and hinges as needed per manufacturers specifications. Replace inoperable or defective parts.
Inspect and test lighting and cooling fan(s). Ensure proper operations and settngs of door activation switches and thermostats. Adjust and/or replace any inoperable or defective components. Check for loose or missing finger guards or other hardware and install as needed.
Check battery backup system for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures.
Verify status of UPS batteries: if battery status is listed as “weak” via UPS controller, replace as necessary. Note: Contract requires battery replacement in year 2. At all other PM cycles, check batteries for weakness, damage, or corrosion and replace as needed.
Perform GFCI test to ensure electrical outlet is functioning properly. Repair or replace as necessary.
Verify that all hardware is securely mounted. Repair or correct as necessary.
Remove any unused cabling, conductors, and equipment found in cabinets and return to inventory. Remove any obsolete or damaged equipment found in cabinets and process for disposal.
Check integrity of cables and connectors, noting any sheath damage or unusual wear and tear. Clean, repair, and/or replace any damaged and/or inoperable cables. Clean, repair, and/or replace all cable terminations to avoid damage or corrosion.
Visually Inspect Fiber Distribution Panel for damage or corrosion. Replace damaged and/or inoperable fiber jumpers.
Verify electrical service and power meter is operational. Confirm meter number and power service provider information is up to date in the inSIGHT AM System.
Check power cables and terminations for damage or loose connections. Make any necessary repairs and re-tighten. Inspect surge protection devices and replace any failed or damaged.
Check integrity of surge protector(s). Replace any defective or inoperable items.
Verify existing barcoding on each device and confirm the accuracy of the inSIGHT AM System record for all systems and equipment at the PM site. Update the inSIGHT AM System records as needed.
Check ethernet switch for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check wireless modem for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check wireless radio for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check solar assembly for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Clean solar panels if applicable. Ensure make, model and serial number are updated in the inSIGHT AM System. Note: Contract requires battery replacement in year 2. At all other PM cycles, check batteries for weakness, damage, or corrosion and replace as needed. Locations where batteries are housed in a separate cabinet, ensure cabinet is locked. If no lock is present, install a #2 keyed lock.
Visually inspect camera dome and document any observed defects; including damaged, fading, broken glass. Clean or replace a dirty or obscured dome.
Note any bird nests around camera housing and take photos. For environmental compliance, schedule work order removal ONLY with NCDOT engineer's approval.
Upgrade the camera to the latest firmware version approved by NCDOT/NCDIT. Document the camera and encoder firmware versions. If an upgrade is needed, provide details in the inSIGHT AM System.
Verify camera titles are correct, including logo and time stamp where applicable. Call TMC to conduct public facing snapshot and preset check.
Check all local functions (Pan, Tilt, Zoom-in, Zoom-out, Focus Far, Focus Near, IRIS Open/Close). Check to ensure clear and best available quality streaming video. Verify remote PTZ functions can be performed. Note any failures or inconsistent behavior.
General Observations and/or Actions Required:
Canceled - July 14, 2025

## DMS-DTB
DMS/DTB PM Checklist Record detailed information related to the work completed at each site
Device Name:
Date of PM:
Technician(s):
Checklist Item | Completed? Yes/No/NA | Notes
Identify and label photographs for the entire site; including but not limited to device, cabinet, power source, raceways. Upload photographs to the inSIGHT AM System and tie to correct device location.
Inspect cabinet, structure, sign and site for graffiti. Remove or cover as necessary.
Trim vegetation; including trees less than 6"dbh, shrubs, and grass as needed to provide for safe access to the device site and power service point. Apply weed killer as needed to control vegetation. Note: Coordinate any tree trimming with the Division for roadside environmental guidelines prior to any tree trimming activites.
Visually inspect DMS/DTB pole structure for any signs of stress; including but not limited to, cracks, dents, chipped or missing galvanization, loose or missing lock nuts, signs of rust, cracks in the concrete base/foundation, or damage to anchor bolts. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects. Verify both nuts are fastened on U-bolts. Note visible damage to anchor bolts and notify Division. Report to the TMC if missing.
Inspect junction boxes that lead to cabinet/device (electrical/fiber). Check for signs of rodent activity and apply abatement methods to prevent rodent access to conduits and cabling. Seal any open conduits. Ensure lids are sealed, secure, and bolted down. Neatly organize cabling as needed. Notify Division of any deficiencies in the collar or the box itself.
Visually inspect cabinet foundation for cracks or deterioration. Document results of inspection. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually check grounding system. Verify copper is in place. Test and record grounding impedance, note any difference from previous reading and submit readings to the Division for review. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Inspect and clean the interior of cabinet(s), remove any debris and wipe surfaces. Check for the presence or evidence of insects and rodents. Bait and/or provide pesticide as needed. Check for water intrusion, identify the source, seal and take necessary steps to prevent further condensation within the cabinet interior. Inspect and renew duct sealants, and filters as needed. Clean any metal filter(s) and replace any paper filter(s).
Service door locks, hinges, seals and grommets for proper operation. Lubricate locks and hinges as needed per manufacturers specifications. Replace inoperable or defective parts.
Inspect and test lighting and cooling fan(s). Ensure proper operations and settngs of door activation switches and thermostats. Adjust and/or replace any inoperable or defective components. Check for loose or missing finger guards or other hardware and install as needed.
Check battery backup system for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures.
Verify status of UPS batteries: if battery status is listed as “weak” via UPS controller, replace as necessary. Note: Contract requires battery replacement in year 2. At all other PM cycles, check batteries for weakness, damage, or corrosion and replace as needed.
Perform GFCI test to ensure electrical outlet is functioning properly. Repair or replace as necessary.
Verify that all hardware is securely mounted. Repair or correct as necessary.
Remove any unused cabling, conductors, and equipment found in cabinets and return to inventory. Remove any obsolete or damaged equipment found in cabinets and process for disposal.
Check integrity of cables and connectors, noting any sheath damage or unusual wear and tear. Clean, repair, and/or replace any damaged and/or inoperable cables. Clean, repair, and/or replace all cable terminations to avoid damage or corrosion.
Visually Inspect Fiber Distribution Panel for damage or corrosion. Replace damaged and/or inoperable fiber jumpers.
Verify electrical service and power meter is operational. Confirm meter number and power service provider information is up to date in the inSIGHT AM System.
Check power cables and terminations for damage or loose connections. Make any necessary repairs and re-tighten. Inspect surge protection devices and replace any failed or damaged.
Check integrity of surge protector(s). Replace any defective or inoperable items.
Record Cabinet Number and Daktronics Number. Verify existing barcoding on each device and confirm the accuracy of the inSIGHT AM System record for all systems and equipment at the PM site. Update the inSIGHT AM System records as needed.
Check ethernet switch for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check wireless modem for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check wireless radio for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Clean photocell aperture. Verify correct operation of photocell and resulting sign brightness. Replace any inoperable or defective components.
Inspect Lexan glass for dirt and debris. Clean as necessary.
Clean or replace all ventilation filters as necessary. Clean metal filter(s) and replace any paper filter(s).
Ensure ladder gate is locked. If no lock is present, install a #2 keyed lock. Leave spare key or code in device cabinet.
Clean interior of sign housing.
Check for the presence of fire extinguisher(s). Document number of fire extinguishers and expiration dates. Notify the Division of missing or expired fire extinguishers.
Upgrade controller to the latest version of firmware approved by NCDOT/NCDIT. Perform diagnostic test using vendor software and replace inoperable or defective sign modules. Check controller error list, download controller configurations and update as necessary. Document controller firmware. Update the inSIGHT AM System records as needed.
Perform a row and column test of all sign indicators, both in All On and Pixel Test using vendor software.
Replace column, row, or processor boards, power supplies or controller when necessary to restore functionality. Document all repairs and replacements. Ensure the inSIGHT AM system is updated with the information.
General Observations and/or Actions Required:
Canceled - July 14, 2025

## Hub
Hub PM Checklist Record detailed information related to the work completed at each site
Device Name:
Date of PM:
Technician(s):
Checklist Item | Completed? Yes/No/NA | Notes
Identify and label photographs for the entire site; including but not limited to device, cabinet/building, power source, raceways. Upload photographs to the inSIGHT AM System and tie to correct device location.
Inspect cabinet/building and site for graffiti, posters, or signs. Remove or cover as necessary.
Trim vegetation; including trees less than 6"dbh, shrubs, and grass as needed to provide for safe access to the device site and power service point. Apply weed killer as needed to control vegetation. Note: Coordinate any tree trimming with the Division for roadside environmental guidelines prior to any tree trimming activites.
Inspect and clean the exterior of cabinet/building(s), remove any debris. Check for the presence or evidence of insects and rodents. Bait and/or provide pesticide as needed.
Visually inspect structure for any signs of stress; including but not limited to, cracks, dents, chipped or missing galvanization, loose or missing lock nuts, signs of rust, cracks in the concrete base/foundation, or damage to anchor bolts. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually inspect concrete foundation for cracks or deterioration. Document results of inspection. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually check grounding system. Verify copper is in place. Test and record grounding impedance, note any difference from previous reading and submit readings to the Division for review. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Inspect fence and gate and lock for damage. Perform minor repairs or document corrective action needed and enter in the inSIGHT AM System. Notify the Division of any noted corrective action needed.
Visually inspect and clean or replace the Heating Ventilation and Air Conditioning (HVAC) system filters. Document any corrective action needed and enter in the inSIGHT AM System. Notify the Division of any noted corrective action needed.
Visually inspect the Inlet Hood. Document any corrective action needed and enter in the inSIGHT AM System. Notify the Division of any noted corrective action needed.
Visually inspect and clean the HVAC system coils. Document any corrective action needed and enter in the inSIGHT AM System. Notify the Division of any noted corrective action needed.
Visually inspect for refrigerant leaks. Document any corrective action needed and enter in the inSIGHT AM System. Notify the Division of any noted corrective action needed.
Verify the HVAC systems thermostat is working and set to 65F during APR-OCT and 70F during NOV-MAR.
Inspect both interior and exterior lights. Replace defective bulbs as required. Document any corrective action needed and enter in the inSIGHT AM System. Notify the Division of any noted corrective action needed.
Test smoke, fire, high temp, low temp, power and door alarm systems for proper operation. Document any corrective action needed and enter in the inSIGHT AM System. Notify the Division of any noted corrective action needed.
Inspect junction boxes that lead to cabinet/building (electrical/fiber). Check for signs of rodent activity and apply abatement methods to prevent rodent access to conduits and cabling. Seal any open conduits. Ensure lids are sealed, secure, and bolted down. Neatly organize cabling as needed. Notify Division of any deficiencies.
Verify communication conduit/inner ducts have duct plugs including conduits equipped with cables. Replace if necessary.
Inspect equipment access points to ensure they are closed and sealed.
Inspect and clean the interior of cabinet/building(s), remove any debris and vacuum. Check for the presence or evidence of insects and rodents. Bait and/or provide pesticide as needed. Check for water intrusion, identify the source, seal and take necessary steps to prevent further condensation within the cabinet/building interior. Inspect and renew duct sealants, and filters as needed. Clean any metal filter(s) and replace any paper filter(s).
Inspect cabinet/building for any indications of moisture entry or sealant deterioration around access points and wall joints. Inspect all gaskets and wall feed thru areas for indications of leakage. Repair/replace as necessary.
Dust inside of the building/cabinet including all installed components with appropriate solution.
Service door hinges for proper operation. Lubricate as needed per manufacturers specifications. Replace inoperable or defective parts.
Inspect door and weather strip for damage and examine threshold area. Repair or replace as necessary
Clean the lock and service internal components with dry lubricant. Test card access, cyber key and gate key locks to ensure easy access with all keys. Document any corrective action needed and enter in the inSIGHT AM System. Notify the Division of any noted corrective action needed.
Examine ceiling of building for signs of leaks. Document any corrective action needed and enter in the inSIGHT AM System. Promptly notify the Division of any noted corrective action needed.
Inspect floor tiles. Document any corrective action needed and enter in the inSIGHT AM System. Promptly notify the Division of any noted corrective action needed.
Provide or renew pest deterrent system.
Inspect and test lighting and cooling fan(s). Ensure proper operations and settngs of door activation switches and thermostats. Adjust and/or replace any inoperable or defective components. Check for loose or missing finger guards or other hardware and install as needed.
Check battery backup system for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures.
Verify status of UPS batteries: if battery status is listed as “weak” via UPS controller, replace as necessary. Note: Contract requires battery replacement in year 2. At all other PM cycles, check batteries for weakness, damage, or corrosion and replace as needed.
Inspect, maintain, and test the UPS and Generator backup systems per the manufacturer's recommendations and requirements. Visually inspect and test functional systems . Check fuel levels to ensure readiness for emergency operation.
Visually inspect the power distribution panel for damage or corrosion. Service, repair, and/or replace as needed.
Perform GFCI test to ensure electrical outlet is functioning properly. Repair or replace as necessary.
Verify that all hardware is securely mounted. Inspect equipment mounts and tighten or replace screws. Repair or correct as necessary.
Inspect ladder racks, cable trays, and equipment racks for loose bolts. Tighten and repair as needed. Ensure neat and organized stowage of cables and conductors.
Check integrity of cables and connectors, noting any sheath damage or unusual wear and tear. Clean, repair, and/or replace any damaged and/or inoperable cables. Clean, repair, and/or replace all cable terminations to avoid damage or corrosion.
Visually inspect all cable label condition and legibility. Replace as needed. Apply labels to any unmarked. Document unknown for further analysis.
Verify communication cable runs are properly bundled and secured to cable racks. Secure loose cables as needed.
Inspect conduit entrances to ensure proper seal. Seal or reseal as necessary.
Report and return all defective parts to Division for inspection and repair or disposal as necessary.
Visually Inspect Fiber Distribution Panel for damage or corrosion. Replace damaged and/or inoperable fiber jumpers.
Verify electrical service and power meter is operational. Visually inspect the inside and outside of the power disconnect for damage or corrosion. Confirm meter number and power service provider information is up to date in the inSIGHT AM System. Service, repair, and/or replace as needed.
Check power cables and terminations for damage or loose connections. Make any necessary repairs and re-tighten. Inspect surge protection devices and replace any failed or damaged.
Check integrity of surge protection system(s), note any damage or corrosion. Replace any defective or inoperable items.
Verify existing barcoding on each device and confirm the accuracy of the inSIGHT AM System record for all systems and equipment at the PM site. Update the inSIGHT AM System records as needed.
General Observations and/or Actions Required:
Canceled - July 14, 2025

## RMS
RMS PM Checklist Record detailed information related to the work completed at each site
Device Name:
Date of PM:
Technician(s):
Checklist Item | Completed? Yes/No/NA | Notes
Identify and label photographs for the entire site; including but not limited to device, cabinet, power source, raceways. Upload photographs to the inSIGHT AM System and tie to correct device location.
Inspect cabinet, pole, and site for graffiti. Remove or cover as necessary.
Trim vegetation; including trees less than 6"dbh, shrubs, and grass as needed to provide for safe access to the device site and power service point. Apply weed killer as needed to control vegetation. Note: Coordinate any tree trimming with the Division for roadside environmental guidelines prior to any tree trimming activites.
Visually inspect pole structure(s) (wood or metal) for any signs of stress; including but not limited to, cracks, dents, chipped or missing galvanization, loose or missing lock nuts, signs of rust, cracks in the concrete base/foundation, or damage to anchor bolts. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Verify all detectors (demand, passage, queue) quality. Document results of inspection.
Verify operations of all detectors (demand, passage, queue). Make minor repairs to inductive loops (splices), if applicable.
Inspect condition of stop bar striping. Document results of inspection. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Check alignment and operation of signal heads. Assure proper orientation of signal heads.
Check alignment and proper operation of advanced warning signs. Assure proper orientation of advanced warning signs
Assure that all poles have hand-hole covers and replace
Replace inoperative lamps
Check for missing pole number decals and report to NCDOT
Wash all signs, signal heads, and beacon lenses as needed.
Check communications system
Check controller clock
Inspect junction boxes that lead to cabinet/device (electrical/fiber). Check for signs of rodent activity and apply abatement methods to prevent rodent access to conduits and cabling. Seal any open conduits. Ensure lids are sealed, secure, and bolted down. Neatly organize cabling as needed. Notify Division of any deficiencies in the collar or the box itself.
Visually inspect cabinet foundation for cracks or deterioration. Document results of inspection. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually check grounding system. Verify copper is in place. Test and record grounding impedance, note any difference from previous reading and submit readings to the Division for review. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Inspect and clean the interior of cabinet(s), remove any debris and wipe surfaces. Check for the presence or evidence of insects and rodents. Bait and/or provide pesticide as needed. Check for water intrusion, identify the source, seal and take necessary steps to prevent further condensation within the cabinet interior. Inspect and renew duct sealants, and filters as needed. Clean any metal filter(s) and replace any paper filter(s).
Service door locks, hinges, seals and grommets for proper operation. Lubricate locks and hinges as needed per manufacturers specifications. Replace inoperable or defective parts.
Inspect and test lighting and cooling fan(s). Ensure proper operations and settngs of door activation switches and thermostats. Adjust and/or replace any inoperable or defective components. Check for loose or missing finger guards or other hardware and install as needed.
Check battery backup system and IP addressable equipment for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures.
Verify status of UPS batteries: if battery status is listed as “weak” via UPS controller, replace as necessary. Note: Contract requires battery replacement in year 2. At all other PM cycles, check batteries for weakness, damage, or corrosion and replace as needed.
Perform GFCI test to ensure electrical outlet is functioning properly. Repair or replace as necessary.
Verify that all hardware is securely mounted. Tighten and secure all mounting hardware and terminal connection screws. Repair or correct as necessary.
Clean and Fix components and wiring harness
Remove any unused cabling, conductors, and equipment found in cabinets and return to inventory. Remove any obsolete or damaged equipment found in cabinets and process for disposal.
Check integrity of cables and connectors, noting any sheath damage or unusual wear and tear. Clean, repair, and/or replace any damaged and/or inoperable cables. Clean, repair, and/or replace all cable terminations to avoid damage or corrosion.
Visually Inspect Fiber Distribution Panel for damage or corrosion. Replace damaged and/or inoperable fiber jumpers.
Verify electrical service and power meter is operational. Confirm meter number and power service provider information is up to date in the inSIGHT AM System.
Check power cables and terminations for damage or loose connections. Make any necessary repairs and re-tighten. Inspect surge protection devices and replace any failed or damaged.
Check integrity of surge protector(s). Replace any defective or inoperable items.
Verify existing barcoding on each device and confirm the accuracy of the inSIGHT AM System record for all systems and equipment at the PM site. Update the inSIGHT AM System records as needed.
Check ethernet switch for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check wireless modem for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check wireless radio for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check wireless transmitter/receivers for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Provide or renew pest deterrent system.
General Observations and/or Actions Required:
Canceled - July 14, 2025

## PCCTV
PCCTV PM Checklist Record detailed information related to the work completed at each site
Device Name:
Date of PM:
Technician(s):
Checklist Item | Completed? Yes/No/NA | Notes
Identify and label photographs for the device and trailer showing full operability (upright and laid down); including but not limited to device, cabinet, power source, raceways, trailer, axles, lighting, mechanical features. Upload photographs to the inSIGHT AM System and tie to correct device location.
Inspect equipment for graffiti. Remove or cover as necessary.
Visually inspect PCCTV elements for any signs of stress. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually inspect camera housing and document any observed defects. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Inspect and clean the interior of cabinet(s), remove any debris and wipe surfaces. Check for the presence or evidence of insects and rodents. Bait and/or provide pesticide as needed. Check for water intrusion, identify the source, seal and take necessary steps to prevent further condensation within the cabinet interior. Inspect and renew duct sealants, and filters as needed. Clean any metal filter(s) and replace any paper filter(s).
Service door locks, hinges, seals and grommets for proper operation. Lubricate locks and hinges as needed per manufacturers specifications. Replace inoperable or defective parts.
Grease all grease fittings on the the trailer. Test drive the trailer to confirm proper functionality of all components for travel.
Inspect and test lighting and cooling fan(s). Ensure proper operations and settngs of door activation switches and thermostats. Adjust and/or replace any inoperable or defective components. Check for loose or missing finger guards or other hardware and install as needed.
Check integrity of cables and connectors, noting any sheath damage or unusual wear and tear. Clean, repair, and/or replace any damaged and/or inoperable cables. Clean, repair, and/or replace all cable terminations to avoid damage or corrosion. This includes replacing all trailer lighting as needed.
Check power cables and terminations for damage or loose connections. Make any necessary repairs and re-tighten. Inspect surge protection devices and replace any failed or damaged.
Check integrity of surge protector(s). Replace any defective or inoperable items.
Verify existing barcoding on each device and confirm the accuracy of the inSIGHT AM System record for all systems and equipment at the PM site. Update the inSIGHT AM System records as needed.
Check wireless modem for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check solar assembly for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Clean solar panels if applicable. Ensure make, model and serial number are updated in the inSIGHT AM System. Note: Contract requires battery replacement in year 2. At all other PM cycles, check batteries for weakness, damage, or corrosion and replace as needed. Locations where batteries are housed in a separate cabinet, ensure cabinet is locked. If no lock is present, install a #2 keyed lock.
Visually inspect camera dome and document any observed defects; including damaged, fading, broken glass. Clean or replace a dirty or obscured dome.
Upgrade firmware to the latest version approved by NCDOT/NCDIT. Document the camera and encoder firmware versions. If an upgrade is needed, provide details in the inSIGHT AM System.
Verify camera titles are correct, including logo and time stamp where applicable. Call TMC to conduct public facing snapshot and preset check.
Check all local functions (Pan, Tilt, Zoom-in, Zoom-out, Focus Far, Focus Near, IRIS Open/Close). Check to ensure clear and best available quality streaming video. Verify remote PTZ functions can be performed. Note any failures or inconsistent behavior.
General Observations and/or Actions Required:
Canceled - July 14, 2025

## CMS
CMS PM Checklist Record detailed information related to the work completed at each site
Device Name:
Date of PM:
Technician(s):
Checklist Item | Completed? Yes/No/NA | Notes
Identify and label photographs for the device and trailer showing full operability (upright and laid down); including but not limited to device, cabinet, power source, raceways, trailer, axles, lighting, mechanical features. Upload photographs to the inSIGHT AM System and tie to correct device location.
Inspect equipment for graffiti. Remove or cover as necessary.
Visually inspect CMS elements for any signs of stress. Note visible damage to anchor bolts and notify Division. Report to the TMC if missing.
Inspect and clean the interior of cabinet(s), remove any debris and wipe surfaces. Check for the presence or evidence of insects and rodents. Bait and/or provide pesticide as needed. Check for water intrusion, identify the source, seal and take necessary steps to prevent further condensation within the cabinet interior. Inspect and renew duct sealants, and filters as needed. Clean any metal filter(s) and replace any paper filter(s).
Service door locks, hinges, seals and grommets for proper operation. Lubricate locks and hinges as needed per manufacturers specifications. Replace inoperable or defective parts.
Grease all grease fittings on the the trailer. Test drive the trailer to confirm proper functionality of all components for travel.
Inspect and test lighting and cooling fan(s). Ensure proper operations and settngs of door activation switches and thermostats. Adjust and/or replace any inoperable or defective components. Check for loose or missing finger guards or other hardware and install as needed.
Check battery backup system for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures.
Verify status of UPS batteries: if battery status is listed as “weak” via UPS controller, replace as necessary. Note: Contract requires battery replacement in year 2. At all other PM cycles, check batteries for weakness, damage, or corrosion and replace as needed.
Verify that all hardware is securely mounted. Repair or correct as necessary.
Remove any unused cabling, conductors, and equipment found in cabinets and return to inventory. Remove any obsolete or damaged equipment found in cabinets and process for disposal.
Check integrity of cables and connectors, noting any sheath damage or unusual wear and tear. Clean, repair, and/or replace any damaged and/or inoperable cables. Clean, repair, and/or replace all cable terminations to avoid damage or corrosion. This includes replacing all trailer lighting as needed.
Verify electrical service and power meter is operational. Confirm meter number and power service provider information is up to date in the inSIGHT AM System.
Check power cables and terminations for damage or loose connections. Make any necessary repairs and re-tighten. Inspect surge protection devices and replace any failed or damaged.
Check integrity of surge protector(s). Replace any defective or inoperable items.
Record Cabinet Number and Serial Number. Verify existing barcoding on each device and confirm the accuracy of the inSIGHT AM System record for all systems and equipment at the PM site. Update the inSIGHT AM System records as needed.
Check wireless modem for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Clean photocell aperture. Verify correct operation of photocell and resulting sign brightness. Replace any inoperable or defective components.
Inspect Lexan glass for dirt and debris. Clean as necessary.
Clean or replace all ventilation filters as necessary. Clean metal filter(s) and replace any paper filter(s).
Ensure padlocks are installed, preventing authorized access.
Clean interior of sign housing.
Check for the presence of fire extinguisher(s). Document number of fire extinguishers and expiration dates. Notify the Division of missing or expired fire extinguishers.
Upgrade firmware to most recent version approved by NCDOT/NCDIT. Perform diagnostic test using vendor software and replace inoperable or defective sign modules. Check controller error list, download controller configurations and update as necessary. Document controller firmware. Update the inSIGHT AM System records as needed.
Perform a row and column test of all sign indicators, both in All On and Pixel Test using vendor software.
Replace column, row, or processor boards, power supplies or controller when necessary to restore functionality. Document all repairs and replacements. Ensure the inSIGHT AM system is updated with the information.
General Observations and/or Actions Required:
Canceled - July 14, 2025

## WR
Wireless Repeater PM Checklist Record detailed information related to the work completed at each site
Device Name:
Date of PM:
Technician(s):
Checklist Item | Completed? Yes/No/NA | Notes
Identify and label photographs for the entire site; including but not limited to device, cabinet, power source, raceways. Upload photographs to the inSIGHT AM System and tie to correct device location.
Inspect cabinet, pole, and site for graffiti. Remove or cover as necessary.
Trim vegetation; including trees less than 6"dbh, shrubs, and grass as needed to provide for safe access to the device site and power service point. Apply weed killer as needed to control vegetation. Note: Coordinate any tree trimming with the Division for roadside environmental guidelines prior to any tree trimming activites.
Visually inspect wireless repeater pole structure (wood or metal) for any signs of stress; including but not limited to, cracks, dents, chipped or missing galvanization, loose or missing lock nuts, signs of rust, cracks in the concrete base/foundation, or damage to anchor bolts. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually inspect wireless repeater housing and document any observed defects. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects. Ensure propoer alignment of antennas with upstream and downstream antennas for optimal network throughput.
Inspect junction boxes that lead to cabinet/device (electrical/fiber). Check for signs of rodent activity and apply abatement methods to prevent rodent access to conduits and cabling. Seal any open conduits. Ensure lids are sealed, secure, and bolted down. Neatly organize cabling as needed. Notify Division of any deficiencies in the collar or the box itself.
Visually inspect cabinet foundation for cracks or deterioration. Document results of inspection. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually check grounding system. Verify copper is in place. Test and record grounding impedance, note any difference from previous reading and submit readings to the Division for review. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Inspect and clean the interior of cabinet(s), remove any debris and wipe surfaces. Check for the presence or evidence of insects and rodents. Bait and/or provide pesticide as needed. Check for water intrusion, identify the source, seal and take necessary steps to prevent further condensation within the cabinet interior. Inspect and renew duct sealants, and filters as needed. Clean any metal filter(s) and replace any paper filter(s).
Service door locks, hinges, seals and grommets for proper operation. Lubricate locks and hinges as needed per manufacturers specifications. Replace inoperable or defective parts.
Inspect and test lighting and cooling fan(s). Ensure proper operations and settngs of door activation switches and thermostats. Adjust and/or replace any inoperable or defective components. Check for loose or missing finger guards or other hardware and install as needed.
Check battery backup system for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures.
Verify status of UPS batteries: if battery status is listed as “weak” via UPS controller, replace as necessary. Note: Contract requires battery replacement in year 2. At all other PM cycles, check batteries for weakness, damage, or corrosion and replace as needed.
Perform GFCI test to ensure electrical outlet is functioning properly. Repair or replace as necessary.
Verify that all hardware is securely mounted. Repair or correct as necessary.
Remove any unused cabling, conductors, and equipment found in cabinets and return to inventory. Remove any obsolete or damaged equipment found in cabinets and process for disposal.
Check integrity of cables and connectors, noting any sheath damage or unusual wear and tear. Clean, repair, and/or replace any damaged and/or inoperable cables. Clean, repair, and/or replace all cable terminations to avoid damage or corrosion.
Verify electrical service and power meter is operational. Confirm meter number and power service provider information is up to date in the inSIGHT AM System.
Check power cables and terminations for damage or loose connections. Make any necessary repairs and re-tighten. Inspect surge protection devices and replace any failed or damaged.
Check integrity of surge protector(s). Replace any defective or inoperable items.
Verify existing barcoding on each device and confirm the accuracy of the inSIGHT AM System record for all systems and equipment at the PM site. Update the inSIGHT AM System records as needed.
Check ethernet switch for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check wireless radio for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Note any bird nests around wireless repeater housing and take photos. For environmental compliance, schedule work order removal ONLY with NCDOT engineer's approval.
Document the wireless radio firmware and upgrade to the latest version approved by NCDIT/NCDOT.
General Observations and/or Actions Required:
Canceled - July 14, 2025

## RWIS
RWIS PM Checklist Record detailed information related to the work completed at each site
Device Name:
Date of PM:
Technician(s):
Checklist Item | Completed? Yes/No/NA | Notes
Identify and label photographs for the entire site; including but not limited to device, cabinet, power source, raceways. Upload photographs to the inSIGHT AM System and tie to correct device location.
Inspect cabinet, pole, and site for graffiti. Remove or cover as necessary.
Trim vegetation; including trees less than 6"dbh, shrubs, and grass as needed to provide for safe access to the device site and power service point. Apply weed killer as needed to control vegetation. Note: Coordinate any tree trimming with the Division for roadside environmental guidelines prior to any tree trimming activites.
Visually inspect RWIS pole structure (wood or metal) for any signs of stress; including but not limited to, cracks, dents, chipped or missing galvanization, loose or missing lock nuts, signs of rust, cracks in the concrete base/foundation, or damage to anchor bolts. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually inspect RWIS housing and document any observed defects. Repair or replace RWIS components as needed for full functionality.
Inspect junction boxes that lead to cabinet/device (electrical/fiber). Check for signs of rodent activity and apply abatement methods to prevent rodent access to conduits and cabling. Seal any open conduits. Ensure lids are sealed, secure, and bolted down. Neatly organize cabling as needed. Notify Division of any deficiencies in the collar or the box itself.
Visually inspect cabinet foundation for cracks or deterioration. Document results of inspection. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Visually check grounding system. Verify copper is in place. Test and record grounding impedance, note any difference from previous reading and submit readings to the Division for review. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Inspect and clean the interior of cabinet(s), remove any debris and wipe surfaces. Check for the presence or evidence of insects and rodents. Bait and/or provide pesticide as needed. Check for water intrusion, identify the source, seal and take necessary steps to prevent further condensation within the cabinet interior. Inspect and renew duct sealants, and filters as needed. Clean any metal filter(s) and replace any paper filter(s).
Service door locks, hinges, seals and grommets for proper operation. Lubricate locks and hinges as needed per manufacturers specifications. Replace inoperable or defective parts.
Inspect and test lighting and cooling fan(s). Ensure proper operations and settngs of door activation switches and thermostats. Adjust and/or replace any inoperable or defective components. Check for loose or missing finger guards or other hardware and install as needed.
Check battery backup system for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures.
Verify that all hardware is securely mounted. Repair or correct as necessary.
Remove any unused cabling, conductors, and equipment found in cabinets and return to inventory. Remove any obsolete or damaged equipment found in cabinets and process for disposal.
Check integrity of cables and connectors, noting any sheath damage or unusual wear and tear. Clean, repair, and/or replace any damaged and/or inoperable cables. Clean, repair, and/or replace all cable terminations to avoid damage or corrosion.
Check integrity of surge protector(s). Replace any defective or inoperable items.
Inspect multi-weather sensors and document results of inspection. Repair and/or replace multi-weather sensors as needed. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects and steps taken to remedy.
Verify existing barcoding on each device and confirm the accuracy of the inSIGHT AM System record for all systems and equipment at the PM site. Update the inSIGHT AM System records as needed.
Check ethernet switch for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Check wireless radio for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures. Ensure make, model and serial number are updated in the inSIGHT AM System.
Note any bird nests around RWIS housing and take photos. For environmental compliance, schedule work order removal ONLY with NCDOT engineer's approval.
Document the wireless repeater firmware versions. If an upgrade is needed, provide details in the inSIGHT AM System.
For RWIS sites with CCTV cameras, please complete the CCTV checklist as well.
General Observations and/or Actions Required:
Canceled - July 14, 2025

## FMVDS
MVDS and FMVDS PM Checklist Record detailed information related to the work completed at each site
Device Name:
Date of PM:
Technician(s):
Checklist Item | Completed? Yes/No/NA | Notes
Identify and label photographs for the entire site; including but not limited to device, cabinet, power source, raceways. Upload photographs to the inSIGHT AM System and tie to correct device location.
Inspect cabinet, pole, and site for graffiti. Remove or cover as necessary.
Trim vegetation; including trees less than 6"dbh, shrubs, and grass as needed to provide for safe access to the device site and power service point. Apply weed killer as needed to control vegetation. Note: Coordinate any tree trimming with the Division for roadside environmental guidelines prior to any tree trimming activites.
Visually inspect pole structure(s) (wood or metal) for any signs of stress; including but not limited to, cracks, dents, chipped or missing galvanization, loose or missing lock nuts, signs of rust, cracks in the concrete base/foundation, or damage to anchor bolts. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Verify all detectors (demand, passage, queue) quality. Make minor repairs or replacement to microwave detectors, if applicable.
Verify operations of all detectors (demand, passage, queue). Test aiming and calibration of the unit. Verify appropriate aiming/calibration with NCDOT Engineer and adjust if requested.
Inspect junction boxes that lead to cabinet/device (electrical/fiber). Check for signs of rodent activity and apply abatement methods to prevent rodent access to conduits and cabling. Seal any open conduits. Ensure lids are sealed, secure, and bolted down. Neatly organize cabling as needed. Notify Division of any deficiencies in the collar or the box itself.
Visually check grounding system. Verify copper is in place. Test and record grounding impedance, note any difference from previous reading and submit readings to the Division for review. Note any damage or defects in the inSIGHT AM System and notify the Division of any such damage or defects.
Inspect and clean the interior of cabinet(s), remove any debris and wipe surfaces. Check for the presence or evidence of insects and rodents. Bait and/or provide pesticide as needed. Check for water intrusion, identify the source, seal and take necessary steps to prevent further condensation within the cabinet interior. Inspect and renew duct sealants, and filters as needed. Clean any metal filter(s) and replace any paper filter(s).
Service door locks, hinges, seals and grommets for proper operation. Lubricate locks and hinges as needed per manufacturers specifications. Replace inoperable or defective parts.
Inspect and test lighting and cooling fan(s). Ensure proper operations and settngs of door activation switches and thermostats. Adjust and/or replace any inoperable or defective components. Check for loose or missing finger guards or other hardware and install as needed.
Check battery backup system for proper configuration, settings, and operation per the manufacturer's maintenance/operational procedures.
Verify status of UPS batteries: if battery status is listed as “weak” via UPS controller, replace as necessary. Note: Contract requires battery replacement in year 2. At all other PM cycles, check batteries for weakness, damage, or corrosion and replace as needed.
Perform GFCI test to ensure electrical outlet is functioning properly. Repair or replace as necessary.
Verify that all hardware is securely mounted. Tighten and secure all mounting hardware and terminal connection screws. Repair or correct as necessary.
Clean and fix components and wiring harness.
Remove any unused cabling, conductors, and equipment found in cabinets and return to inventory. Remove any obsolete or damaged equipment found in cabinets and process for disposal.
Check integrity of cables and connectors, noting any sheath damage or unusual wear and tear. Clean, repair, and/or replace any damaged and/or inoperable cables. Clean, repair, and/or replace all cable terminations to avoid damage or corrosion.
Verify existing barcoding on each device and confirm the accuracy of the inSIGHT AM System record for all systems and equipment at the PM site. Update the inSIGHT AM System records as needed.
General Observations and/or Actions Required:
Canceled - July 14, 2025