# Utility Relocation Estimate Report

July 17, 2025

H257392 – Upgrade Intersection on NC 98 (Durham Rd.) at SR 1005 (Six Forks Rd.)

Firm:

Completed By:

Date(s) of site visit(s):

Critical Impact Utilities

| ☐ Gas Regulator Station | ☐ Gas Transmission Lines | ☐ Duct Banks |
| --- | --- | --- |
| ☒ Power Transmission Lines | ☐ Power Substations | ☐ SLC Sites |
| ☐ Raw Water Supply Lines | ☐ Water Transmission Lines | ☐ Utility Owned Well |
| ☐ Large Diameter Sewer (Gravity or Force main) | ☒ Water Pump Station | ☐ Sewer Pump Station |
| ☐ Cell Tower | ☐ Railroad Crossing | ☐ Clearing required |
| ☐ Other, List Impact Utilities: |  |  |

## Utility Narrative

Critical Impact Utilities Summary

The facilities checked in this table show up in the project limits.  They can have a significant impact on the highway project.  They may have a high cost or long relocation timeframe.  Any items checked in this section are to be explained in more detail in the sections below.

The following estimate is based on information received from NCDOT (conceptual design PDF and express design request form) regarding project H257392. A site visit was performed on 5-30-25 to verify the existence of utilities found on Google Maps, NC811, and through maps provided by companies listed on NC811.

Change text to black when submitting.

Utilities to be included in the estimate

Construction

Construction - These utilities are expected to be included in the highway contract (UC Plans).  They should only show up in this section regardless of cost responsibility. Include the location of the utility in relation to the road (N/E/W/S).

- City of Raleigh - Water and Sewer

  - Owner contact information:

  - The CoR has an existing 4” PVC force main, 350 ft, along the north side of Choate Road between McCanless Road and Hanford-Dole Elementary School.

  - The CoR has existing 12” DIP waterline, 500 ft, along the west side of McCanless Road between Choate Road and Bringle Ferry Road. Unit prices were high due to material availability. This is a residential area, there are 30 houses along the project corridor with 12 valves and 6 hydrants.

  - The CoR has a sewer pump station located at Parcel 5, 123 Durham Rd. (List parcel number applicable). The sewer pump station has the potential to significantly impact the DOT Highway project schedule.

- Aqua - Water

  - Owner contact information:

  - Aqua has facilities within project limits. Approximately 400 ft west of the Six Forks Rd and NC 98 (Durham Rd) intersection on NC 98 (Durham Rd) there is a water pump station by Aqua (Parcel 1, 123 Lumber St). (List parcel number applicable). The water pump station has the potential to significantly impact the DOT Highway project schedule.

- Old North State Water

  - Owner contact information:

  - Approximately 950 ft east of the Six Forks Rd and NC 98 (Durham Rd) intersection on NC 98 (Durham Rd) there is a well owned by Old North State Water (Parcel 3, 123 Six Forks Rd). (List parcel number applicable). The well has the potential to significantly impact the DOT Highway project schedule.

Relocation

Relocation - Power poles both distribution and transmission are typically included in our cost estimate. These utilities are expected to be relocated as a UBO with NCDOT cost responsibility, pending future approval of prior rights documentation. Include the location of the utility in relation to the road (N/E/W/S).

- Duke Energy Distribution

  - Owner contact information:

  - Duke Energy has electric distribution facilities within project limits. There are 15 distribution poles along the south side of Six Forks Rd. They appear to be outside existing RoW.

- Duke Energy Transmission

  - Owner contact information:

  - There are 2 Transmission towers expected to be in conflict, they are located on the east and west side of Six Forks Rd; to address this conflict we will need 1 additional tower on either side to alleviate conflicts. They appear to have their own transmission easement.

Encroaching Non-Reimbursable Utilities

Telecomm is typically a non-reimbursable utility. These following utilities are expected to be relocated at the facility owner’s expense. These utilities are not included in the cost estimate. All utilities are anticipated to be located within existing DOT Right-of-way. Include the location of the utility in relation to the road (N/E/W/S).

- AT&T – Distribution Communications

  - Owner contact information:

  - Per NC811, AT&T has facilities within the project limits along the north side of Choate Rd. They did not, however, provide a map of their facilities.

Duct Bank

  - There is a duct bank within project limits 300 ft east from McCanless Road. The duct bank has the potential to significantly impact the DOT Highway project schedule.

- Charter – Distribution Communications

  - Owner contact information:

  - Per NC811, Charter has facilities within the project limits along the south side of Six Forks Rd. They did not, however, provide a map of their facilities.

- Conterra Ultra Broadband – Distribution Communications

  - Owner contact information:

  - Appeared on the 811 ticket but did not have any facilities within project limits and confirmed with the Utility owner.

- Hotwire Communications – Distribution Communications

  - Owner contact information:

  - Per NC811, Hotwire has facilities within the project limits along the North side of Choate Rd. They did not, however, provide a map of their facilities.

- Piedmont Natural Gas – Natural Gas Distribution

  - Owner contact information:

  - PNG has an existing 4” Plastic gas line along the north side of Choate Road, between McCanless Road and Old Union Church Road.

  - PNG has an existing 4” MD/Plastic gas line and 8” Plastic gas line along the west side of McCanless Road between Town Creek and Bringle Ferry Road. Per PNG this 8” line is distribution.

811 Utilities Currently Not in Conflict

The following utilities are within the 811-ticket area but are not currently in conflict:

- Duke Energy Fiber

  - Owner contact information:

  - Duke Energy has Fiber in the 811-ticket area, but it is currently not in conflict.

Provide the 811- ticket below and any other important supporting documentation.