
MODIFIED CONCRETE FLUME WITH CONCRETE OUTLET:
	(3-19-96)(Rev. 6-17-08)
	825
	SP8 R10


At locations shown in the plans, construct concrete flumes, concrete curb, and apron in accordance with the details in the plans.  Use materials meeting the requirements of Section 825 of the 2012 Standard Specifications except that the concrete must be Class B or of higher compressive strength.

Each concrete flume, concrete curb, and apron completed and accepted will be paid at the contract unit price per each for Modified Concrete Flume.  Such price and payment will be full compensation for all materials, labor, equipment, tools, removing and disposing of the temporary slope drains, and any other incidentals necessary to complete the work satisfactorily.

The concrete curb and ditch outside the pay limits of the apron will be measured and paid in accordance with Section 846 and 850 of the 2012 Standard Specifications.

Payment will be made under:

	Pay Item
	Pay Unit

	Modified Concrete Flume
	Each


