
TEMPORARY WOVEN WIRE FENCE:
	(7-1-95) (Rev. 7-18-06)
	866
	SP8 R85


Description

Construct a temporary 48" woven wire fence at locations directed by the Engineer.  Use only fabric and posts that have been approved by the Engineer.  Provide post spacing of 12 feet.  Construct the fence and maintain it with the fabric taut and securely fastened to the posts at all times.

After the fence has served its purpose and is no longer needed, as determined by the Engineer, it becomes the property of the Contractor.

Measurement and Payment
Temporary __" Woven Wire Fence, Complete with Posts will be measured and paid as the actual number of linear feet of fence constructed and accepted, measured in place from center of end post to center of end post.  Such price and payment will be full compensation for all materials, labor, fence maintenance, and incidentals necessary to satisfactorily complete the work.
Payment will be made under:

	Pay Item
	Pay Unit

	Temporary __" Woven Wire Fence, Complete with Posts
	Linear Foot


