
ADJUSTMENT TO MANHOLES:
	(7-1-95) (Rev. 8-21-12)
	858
	SP8 R96R


The Contractor's attention is directed to Section 858-3 of the 2012 Standard Specifications.

Make adjustments to manholes on this project by using rings or rapid set (grout, mortar, or concrete) as approved by the Engineer.
