
ADJUSTMENT OF MANHOLES, METER BOXES, AND VALVE BOXES:
	(7-1-95) (Rev. 8-21-12)
	858
	SP8 R97R


The Contractor's attention is directed to Article 858-3 of the 2012 Standard Specifications.  Cast iron or steel fittings will not be permitted for the adjustment of manholes, meter boxes, and valve boxes on this project.
