
HIGH STRENGTH CONCRETE FOR DRIVEWAYS:
	(11-21-00) (Rev. 1-17-12)
	848
	SP10 R02


Use high early strength concrete for all driveways shown in the plans and as directed by the Engineer.  Provide high early strength concrete that meets the requirements of Article 1000-5 of the 2012 Standard Specifications.

Measurement and payment will be in accordance with Section 848 of the 2012 Standard Specifications.

