
COORDINATION OF EXISTING LIGHTING WORK:
	(7-1-95) (Rev. 8-21-12)
	105
	SP14 R02


Maintain operation of the existing lighting systems until such time that it becomes in conflict with the actual construction work, or it becomes a hazard to traffic as determined by the Engineer.
Use care in working around the lights and circuitry and phase operations so that the disruption of existing lighting systems will be minimized.  Make repairs or replacements in conformance with the contract.  Should the Contractor fail to make such repairs within the time allowed, the Department will cause the necessary repairs to be made by others.  The costs of such repairs will be deducted from any monies due the Contractor on the next subsequent monthly or final payment.

