
EROSION AND STORMWATER CONTROL FOR SHOULDER CONSTRUCTION AND RECONSTRUCTION:
	(11-16-10) (Rev. 8-21-12)
	105-16, 225-2, Division 16
	SP16 R03R


Land disturbing operations associated with shoulder construction/reconstruction may require erosion and sediment control/stormwater measure installation.  National Pollutant Discharge Elimination System (NPDES) inspection and reporting may be required.

Erosion control measures shall be installed per the erosion control detail in any area where the vegetated buffer between the disturbed area and surface waters (streams, wetlands, or open waters) or drainage inlet is less than 10 feet.  The Engineer may reduce the vegetated buffer threshold for this requirement to a value between 5 and 10 feet.  Erosion control measures shall be spot checked every 14 days until permanent vegetative establishment.

In areas where shoulder construction/reconstruction includes disturbance or grading on the front slope or to the toe of fill, relocating ditch line or backslope, or removing vegetation from the ditch line or swale, NPDES inspection and monitoring are required every 14 days or within 24 hours of a rainfall event of 0.5" or greater.  Maintain daily rainfall records.  Install erosion control measures per detail.

In areas where the vegetated buffer is less than 10 feet between the disturbed area and waters of the State classified as High Quality Water (HQW), Outstanding Resource Water (ORW), Critical Areas, or Unique Wetlands, NPDES inspection and monitoring are required every 14 days or within 24 hours of a rainfall event of 0.5" or greater.  The Engineer may reduce the vegetated buffer threshold for this requirement to a value between 5 and 10 feet.  The plans or provisions will indicate the presence of these water classifications.  Maintain daily rainfall records.  Install erosion control measures per detail.

Land disturbances hardened with aggregate materials receiving sheet flow are considered 
non-erodible.

Sites that require lengthy sections of silt fence may substitute with rapid permanent seeding and mulching as directed by the Engineer.
NPDES documentation shall be performed by a Level II Erosion and Sediment Control/Stormwater certificate holder.
Materials used for erosion control will be measured and paid as stated in the contract.

