SLUICE GATE:

| (7-1-95) (Rev. 3-17-09) | 838 | SP8 R20 |
| --- | --- | --- |

Description

This work consists of the construction of a sluice gate on an endwall in accordance with the details in the plans, the applicable requirements of Section 838 of the 2012 Standard Specifications, in accordance with the manufacturer's recommendations and as directed by the Engineer.

Materials

Sluice gates shall meet the manufacturer's recommendations for the corresponding pipe size.  Due to variations in individual manufacturer's products, a slight variation from the size specified may be allowed.  Submit the proposed catalog cut to the Engineer for approval prior to use.

Construction Methods

Provide a gate that forms a watertight seal when closed.

Measurement and Payment

____" Sluice Gate will be measured and paid as each for the actual number of sluice gates incorporated into the completed and accepted work.  Such prices and payment will be full compensation for all materials, labor, tools, equipment and incidentals necessary to complete the work.

The endwall will be measured and paid in accordance with Article 838-4 of the 2012 Standard Specifications.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| ____" Sluice Gate | Each |