# DIVISION 2
EARTHWORK

## SECTION 200

CLEARING AND GRUBBING

### 200-1	DESCRIPTION

Perform the work of clearing and grubbing in all wooded areas between the construction limits.  Perform the work of clearing and grubbing in all non-wooded areas between the construction limits and the limits of the project right of way or in easements shown on the project plans where seeding and mulching, sprigging, sodding or other work as indicated.

“Clearing” is defined as the cutting, removal and satisfactory disposal of all wooded vegetation and debris.

“Grubbing” is defined as the complete removal and satisfactory disposal of all grassy vegetative matter, root mat, ball and root, topsoil material high in organic content and surface debris.

### 200-2	MATERIALS

Refer to Division 10.

### 200-3	CONSTRUCTION METHODS

Perform the following as part of the work of clearing and grubbing:

- Remove and dispose of crops, weeds and other annual growth;

- Remove and dispose of surface debris such as fences, steps, walls, chimneys, column footings, other footings, foundation slabs, basements, other foundation components, signs, junked vehicles and other rubble and debris;

- Fill holes and depressions that exist or are created;

- Cut off and plug at the right-of-way or construction limits any private water or sewer line intercepted during the construction of the project;

- Cut off and remove from the right-of-way or construction area any septic tank or portion thereof encountered within the right-of-way or construction area during the construction of the project; and

- Remove materials in wetland areas to a depth of one foot below existing ground to be measured in accordance with Section 225.

Perform clearing and grubbing operations sufficiently before grading operations to prevent any debris from interfering with the excavation or embankment operations.

In environmentally sensitive areas shown on the original plans or permit drawings, perform grubbing operations no more than 7 calendar days before beginning continuous grading operations.

Perform all work under this section to minimize soil erosion and in accordance with Article 107-12.  Coordinate the work with other operations such that no more than 17 acres of exposed, erodible surface area will be accumulated at any one time by the clearing and grubbing operation until erosion control measures are provided.  Install temporary or permanent erosion control measures as soon as clearing and grubbing or land disturbing activities begin.  Perform such erosion control work, temporary or permanent, as needed to minimize erosion resulting from clearing and grubbing operations.

The Contractor may request an increase in the accumulated acres exposed by clearing and grubbing.  If approved, establish and maintain such erosion control measures as needed.

Failure on the part of the Contractor to perform the required erosion control measures will be just cause for the Engineer to direct the suspension of clearing and grubbing operations in accordance with Article 108-7.  The suspension will be in effect until such time as the Contractor has satisfactorily performed the required erosion control work.  If the Contractor fails to perform the directed work within a reasonable length of time, the Engineer may have the work performed in accordance with Article 105-16.

### 200-4	CLEARING

Perform clearing within the limits established by the clearing method required by the plans and as directed.

The Engineer will designate all areas of growth or individual trees that shall be preserved due to their desirability for landscape or erosion control purposes.  When the trees to be preserved are located within the construction limits, they will be shown in the plans or designated by the Engineer.

Trim or cut branches of trees that overhang the roadbed, utility easements or obstruct sight distances and that are less than 16 ft above the elevation of the finished grade so as to not endanger the health of the tree.

In embankment areas where the depth of the embankment measured under the roadbed exceeds 6 ft in height, cut sound trees at a height of not more than 6" above natural ground.  When trees are to be cut outside the construction limits and the Engineer has designated that the area is not to be grubbed, cut the trees reasonably close to the natural ground surface.  Cut trees to approximately 6" above low water level in swamp areas.

At a bridge site, clear the entire width of the right of way beginning at a station 3 ft back of the beginning extremity of the structure and ending at a station 3 ft beyond the ending extremity of the structure.

Prevent limb, bark or root injuries to trees, shrubs or other types of vegetation that are to remain growing and prevent damage to adjacent property.  Repair scarred areas in accordance with generally accepted horticultural practice.  Where plants are damaged by any construction operations to such an extent as to destroy their value for shade or other landscape purposes, cut and dispose of them.

### 200-5	GRUBBING

Perform grubbing on all areas cleared, with the following exceptions:

- In embankment areas, when the depth of embankment measured under the roadbed exceeds 6 ft in height, cut off sound stumps not more than 6" above the existing ground level and do not grub.  Remove unsound or decayed stumps to a depth of approximately 2 ft below the natural ground surface.

- When authorized, leave stumps outside of construction limits in place.  Cut such stumps off reasonably close to the natural ground surface.

- Cut off stumps in swamp areas to approximately 6" above low water level and do not grub.

- Do not grub in areas where waste or unsuitable material is to be deposited unless such areas are to become a part of a future roadway.

- Grub all areas where piles are to be driven regardless of fill height.

- Fill all holes and other depressions within the areas between the construction limits and the limits of clearing and grubbing.  Bring all areas to a uniform contour where later mowing operations will take place.

### 200-6	DISPOSITION OF TIMBER, STUMPS AND DEBRIS

The property owner will have no right to use or reserve for their use any timber on the project.  All timber cut during the clearing operations shall become the property of the Contractor and shall be removed from the project or shall be satisfactorily disposed of as provided hereinafter.

Do not cut any trees and vegetation beyond the clearing limits established.  Do not cut any trees and vegetation that is to be preserved for landscape or erosion control purposes as shown in the plans and permit drawings.

Remove from the project and properly dispose of all vegetation, roots, stumps, tree laps, limbs and timber remaining on the project by a satisfactory method.

When vegetation is disposed of by burning, burn so as to prevent injury to property within or outside of the right of way.  Comply with all Federal, State and local laws, ordinances and regulations when burning.  Secure all necessary burning permits.  Perform all burning under the constant care of a competent watchman.  Do not allow smoldering or dense smoke to occur during burning.

Before trees or vegetation are disposed of in locations off the right of way and out of sight of the project, furnish the Engineer with verification that the site is permitted.  If required, file an approved reclamation plan and furnish a written release from the property owner, or his authorized agent, granting the servitude of his lands.

If it is not burned, dispose of all debris including vegetation in accordance with Section 802.

### 200-7	SELECT TREE REMOVAL

When the contract includes the item of Select Tree Removal and the work of clearing and grubbing has been completed to the original clearing limits, the Engineer may elect to have select trees removed from the project.  Trees removed in this manner shall have an average cross section diameter of at least 4 inches at a point 2 feet above the ground level.

Completely remove the select trees including the root ball and properly backfill unless otherwise directed.

### 200-8	MEASUREMENT AND PAYMENT

Clearing and Grubbing will be paid on a lump-sum basis and no measurement will be made of any clearing and grubbing performed within the limits originally staked and within the right of way or easements shown on the original plans.

Supplementary Clearing and Grubbing that is directed by the Engineer and is performed on areas outside the limits originally staked or beyond the limits of the right of way or easements or within environmentally sensitive areas shown on the original plans will be measured and paid at the contract unit price per acre.  All measurement of clearing and grubbing will be made horizontally.

Once the root mat is removed, material that consists predominately of soils will be measured and paid in accordance with Section 225.

Materials used to fill depressions in accordance with Subarticle 200-5(F) will be measured and paid in accordance with Sections 225 or 230, depending on the source of the material.

When the Contractor is required to furnish borrow sources, material sources or waste areas, or when the Engineer permits the Contractor to obtain borrow or deposit waste on any area within the right of way instead of borrow and waste areas which were to have been furnished by the Contractor, no measurement of clearing and grubbing will be made for such areas.

When an increase in accumulated acres exposed by clearing and grubbing is requested by the Contractor and approved by the Engineer, no payment will be made for the temporary seeding and mulching required by the increase in accumulated exposed acres.

Select Tree Removal will be measured and paid as the actual number of select trees satisfactorily removed from the project.

Work performed in cleaning up non-wooded areas between the construction limits and the limits of the project right of way or easements shown in the plans; work performed in the dressing up of areas between the construction limits and the clearing limits; and the removal of weeds, vines, plant stalks, loose rock and small scattered trees will be incidental to the work of clearing and grubbing.

Where plants are damaged by construction operations, the work to cut and dispose of them will be incidental to the work of clearing and grubbing.

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Clearing and Grubbing |  | Lump Sum |
| Supplementary Clearing and Grubbing |  | Acre |
| Select Tree Removal |  | Each |

## SECTION 205

SEALING ABANDONED WELLS

### 205-1	DESCRIPTION

Seal abandoned wells at locations shown in the contract or as directed.  Perform all work in accordance with NCDENR requirements.

### 205-2	CONSTRUCTION METHODS

Use a well contractor certified by the State of North Carolina to perform abandonment.

Seal each well before clearing and grubbing the well site.  Check the well from land surface to the entire depth of the well before it is sealed to ensure freedom from obstructions that may interfere with sealing operations.  Before sealing, place chlorine in the well in sufficient quantities to produce a chlorine residual of at least 100 milligrams per liter in the well.

All casing and screen materials may be salvaged except casing that is cemented in place.  In the case of gravel-packed wells in which the casing and screens have not been removed, perforate the casing opposite the gravel pack at intervals not exceeding 10 ft.

Completely fill bored wells with cement grout or dry clay compacted in place.  Completely fill wells constructed in unconsolidated formations with cement grout by introducing it through a pipe extending to the bottom and raising it as the well is filled.  Fill wells constructed in consolidated rock formations or that penetrate zones of consolidated rock to at least 5 ft below the top of the consolidated rock with sand, gravel or grout opposite the zones of consolidated rock.  Fill the remainder of the well with cement grout.

Complete a certified well abandonment record (Form GW-30) and submit to the Engineer.

### 205-3	MEASUREMENT AND PAYMENT

Sealing Abandoned Wells will be measured and paid in units of each for the actual number of wells acceptably sealed.  Work includes, but is not limited to, chlorinating the well before sealing; perforating the well casing; filling the well with cement grout, dry clay, sand or gravel; and furnishing all necessary records.

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Sealing Abandoned Wells |  | Each |

## SECTION 210

DEMOLITION OF BUILDINGS AND APPURTENANCES

### 210-1	DESCRIPTION

Demolish, remove and dispose of all buildings, building components and appurtenances indicated in the contract.

### 210-2	CONSTRUCTION METHODS

Do not remove any building or portion of a building intact for any use or purpose.

All material resulting from the demolition work becomes the property of the Contractor.  Dispose of or use all materials resulting from the demolition work, except materials that are the property of utility companies providing service to the building.  Provide all permits and dispose of all contaminated material encountered in connection with the work.

Before demolishing any building, comply with the notification requirements of 40 CFR Part 61, Subpart M that applies to asbestos.  Notify the North Carolina Department of Health and Human Services, Division of Public Health, Health Hazards Control Unit and the appropriate county agency when enforcement of the Federal regulation is performed by the county (Buncombe, Forsyth and Mecklenburg only).  Submit a copy of the notification to the Engineer before the building demolition.

The Department will perform asbestos assessments and abatement for building items identified in the contract.  Copies of this report may be obtained through the Division Right-of-Way Agent.  When directed to perform removal and disposal of asbestos, do so in accordance with 40 CFR Part 61, NCGS §§ 130A-444 to -452 and 10A NCAC 41C .0601 to .0611.

Comply with all Federal, State and local regulations when performing building demolition, asbestos removal and disposal, UST removal and contaminated material disposal.  Any fines resulting from violations of any regulation are the sole responsibility of the Contractor and the Contractor agrees to indemnify and hold harmless the Department against any assessment of such fines.

Known USTs will be removed by the Department before the opening of the bids.  Comply with the notification requirements of the 40 CFR Part 280.71(a) before removal of any UST.  Give notification to the appropriate regional office of NCDENR, Division of Waste Management, UST Section.  Submit a copy of the notification to the Engineer before the removal of the UST.

Permanently close UST systems by removal and disposal of the UST in compliance with the regulations set forth in 40 CFR Part 280.71 and 15A NCAC 2N and any applicable local regulations.  Assess UST sites at closure for the presence of contamination as required in 15A NCAC 2N .0803 and as directed by the appropriate Regional Office of the Division of Waste Management.  Remove and dispose of UST systems and contents in a safe manner in conformance the “Removal and Disposal of Used Underground Petroleum Storage Tanks,” American Petroleum Institute Bulletin 1604, Chapters 3 through 6.  As an exception to these requirements, the filling of the tank with water as a means of expelling vapors from the tank as described in Section 4.2.6.1 of American Petroleum Institute Bulletin 1604 will not be allowed.

Disposition of any contaminated material associated with UST will be in accordance with Article 107-25.

Demolish and clear from the right of way all buildings, including sheds, outbuildings or other obstructions indicated in the contract.  All shelters, porches, roofed areas and other appurtenances that are attached to the building are considered a part of the building.  Remove steps, chimneys, column footings, other footings, foundation slabs, basements or other foundation components.

Do not disturb any fencing, outbuilding or other obstruction that are entirely clear of the right of way unless otherwise indicated in the plans or in the contract.

Conform to all applicable safety codes pertaining to the work, secure all permits that may be required and pay all fees in connection therewith.

### 210-3	UTILITIES

Make all necessary arrangements with utility companies for the disconnecting of all services and the removal of and recovery by them of all meters, telephones and any other utility facilities or equipment owned by them.  Arrange for and actually effect the disconnecting and closing of water and sewer connections to buildings, including but not limited to any work that shall be done in addition to that normally done by the utility company, in conformity with all applicable codes and regulations of the local Boards of Health.  Pay for all costs incurred in connection with the above work.  All refunds or deposits that may become due as a result of the disconnection of service and the returning of equipment or facilities to any utility company become the property of the Department.

### 210-4	DISPOSAL

Unless otherwise indicated in the contract, all materials recovered during demolition become the property of the Contractor to remove from the project.  Disposal by burning is permitted, subject to all other applicable sections of these Standard Specifications and all State and local ordinances.

Dispose of materials and debris in accordance with Section 802.

### 210-5	MEASUREMENT AND PAYMENT

There will be no direct payment for demolishing the buildings and appurtenances listed in the contract.  Payment for this work will be included in the contract lump sum price for Clearing and Grubbing in accordance with Article 200-8.

Where underground storage tanks are indicated, there will be no direct payment for the closure or assessment, as payment at the contract lump sum price for Clearing and Grubbing will be full compensation for all costs of such closure or assessment.

As an exception to the above, when the description of the work covered by a particular building demolition item does not contain information concerning the presence of asbestos material or underground storage tanks and the asbestos material or underground storage tanks are discovered after the opening of bids for the project, the Engineer may have the work performed by others or the cost of removal and disposal of such asbestos material or underground storage tanks will be paid in accordance with Article 104-7.

## SECTION 215

REMOVAL OF EXISTING BUILDINGS

### 215-1	DESCRIPTION

Remove and dispose of all buildings, building components and appurtenances indicated in the contract.

### 215-2	CONSTRUCTION METHODS

Buildings may be removed intact, removed in sections or demolished.  Dispose of resulting material and debris.  All materials resulting from the removal of buildings, except such materials as may be the property of utility companies providing service to the building, become the property of the Contractor to dispose of or use or sell by him as his own property.

Provide all permits and dispose of all contaminated material encountered in connection with the work.  Before removal of any building, comply with the notification requirements of 40 CFR Part 61, Subpart M, that applies to asbestos.  Give notification to the North Carolina Department of Health and Human Services, Division of Public Health Epidemiology Branch and/or the appropriate county agency when the county performs enforcement of the Federal Regulation.  Submit a copy of the notification to the Engineer before the building removal.

Perform removal and disposal of asbestos in accordance with 40 CFR.  Comply with all Federal, State and local regulations when performing building removal; asbestos removal and disposal; and UST removal and contaminated material disposal.  Any fines resulting from violations of any regulation are the sole responsibility of the Contractor and the Contractor agrees to indemnify and hold harmless the Department against any assessment of such fines.

The Department will perform asbestos assessments and abatement for building items identified in the contract.  Copies of this report may be obtained through the 
Division Right-of-Way Agent.  When a building has had or will have asbestos removed and the Contractor elects to remove the building such that it becomes a public area, the Contractor is responsible for any additional costs incurred including final air monitoring.

Before removal of any UST, comply with the notification requirements of 40 CFR Part 280.71(a).  Give notification to the appropriate regional office of NCDENR, Division of Waste Management, UST Section.  Submit a copy of the notification to the Engineer before the removal of the UST.

Permanently close UST systems by removal and disposal in compliance with the regulations set forth in 40 CFR Part 280.71 and 15A NCAC 2N and any applicable local regulations.  Assess UST sites at closure for the presence of contamination as required in 15A NCAC 2N .0803 and as directed by the appropriate Regional Office of the Division of Waste Management.  Remove and dispose of UST systems and contents in a safe manner in conformance with American Petroleum Institute Bulletin 1604, Removal and Disposal of Used Underground Petroleum Storage Tanks, Chapters 3 through 6.  As an exception to these requirements, the filling of the tank with water as a means of expelling vapors from the tank as described in Section 4.2.6.1 of American Petroleum Institute Bulletin 1604, will not be allowed.  Disposition of any contaminated material associated with UST will be made in accordance with Article 107-26.

Completely clear from the right of way all buildings, including sheds, outbuildings or other obstructions as indicated in the contract.  Remove all shelters, porches, roofed areas and other appurtenances that are attached to the building.  Remove steps, chimneys, column footings, other footings, foundation slabs, basements or other foundation components shall be removed.

Do not disturb any fencing, outbuildings or other obstruction, that is entirely clear of the right of way unless otherwise indicated in the plans or in the contract.

Conform to all applicable safety codes pertaining to the work and secure all permits that may be required and pay all fees in connection therewith.

### 215-3	UTILITIES

Make all necessary arrangements with utility companies for the disconnecting of service and the removal of and recovery by them of all meters, telephones or any other utility facilities or equipment owned by them.  Arrange for and effect the disconnecting and closing of water and sewer connections to the buildings, including but not limited to any work that shall be done in addition to that normally done by the utility company, in conformity with all applicable codes and regulations of the local Boards of Health.  Pay for all costs incurred in connection with the above work.  All refunds or deposits that may become due as a result of the disconnection of service and the returning of equipment or facilities to any utility company becomes the property of the Department.

### 215-4	DISPOSAL

Unless otherwise indicated in the contract, all materials recovered during demolition become the property of the Contractor to remove from the project.  Disposal by burning is permitted, subject to applicable sections of the Standard Specifications, State and local ordinances.

Dispose of materials and debris in accordance with Section 802.

### 215-5	MEASUREMENT AND PAYMENT

There will be no direct payment for removing the buildings listed in the contract.  Payment for this work will be included in the contract lump sum price for Clearing and Grubbing.

Where underground storage tanks are indicated in the contract, there will be no direct payment for the assessment or closure.  Payment for this work will be included in the contract lump sum price for Clearing and Grubbing.

As an exception to the above, when the description of the work covered by a particular building removal item does not contain information concerning the presence of asbestos material or UST and the asbestos material or UST are discovered after the opening of bids, the Engineer may have the work performed by others or the cost of removal and disposal of such asbestos material or UST will be paid in accordance with Article 104-7.

## SECTION 220

BLASTING

### 220-1	DESCRIPTION

Use blasting as needed to excavate, break up or remove rock, construct stable rock cut slopes and for other approved reasons.  This section applies to all types of blasting including production, controlled, cushion, trim, trench and secondary blasting except blasting adjacent to highway structures.  See Article 410-9 for blasting adjacent to highway structures.  Provide blasting plans, blast monitoring and post-blast reports as necessary or required.  Perform blasting in accordance with the contract, accepted submittals and as directed.  Use a prequalified Blasting Contractor for blasting.

### 220-2	MATERIALS

Refer to Division 10.

| Item |  | Section |
| --- | --- | --- |
| Coarse Aggregate |  | 1005 |

Use coarse aggregate (standard size No. 67 or 78M) for stemming.

### 220-3	CONSTRUCTION METHODS

Notify the Engineer and all occupants and owners of residences, businesses and utilities near where blasting will occur of the intention to use explosives.  Inform the Engineer, occupants and owners of blasting at least 48 hours before each blast.  When blasting in the vicinity of an open travelway, provide traffic control in accordance with the contract and Section 1101.

Control blasting to avoid endangering lives or damaging property.  The Contractor is responsible for any injuries and damages due to blasting in accordance with Article 107-11 except for damage to wells and springs, unless the Contractor did not use reasonable care to prevent such damage.  Exercise the utmost care when blasting near sensitive environmental or populated areas, urban or sensitive communities or historical structures.  Comply with all the latest applicable Federal, State and local codes, laws and regulations, as well as professional society standards for the storage, transportation and use of explosives.  Keep a copy of all regulations on site and in case of conflict, the more stringent applies.

The Blaster-in-Charge has authority over the handling, use and security of explosives and is responsible for designing, planning, coordinating, supervising and monitoring blasting.  Assign a Blaster-in-Charge to the project that has at least 5 years of experience with blasting similar to that anticipated for the project.  Use a Blaster-in-Charge approved as a Blaster-in-Charge (key person) for the Blasting Contractor.  The Blaster-in-Charge or designated Assistant Blaster-in-Charge shall be on site during blasting.

When blasts will be within 1,000 ft of a utility, house, residence, building, business or any other structure, a blasting plan and blast monitoring that meet Subarticles 220-3(B) 
and 220-3(C) are required.  Otherwise, provide a blasting plan and monitor blasts as needed.

- Vibration and Air Overpressure Limits

Define “peak particle velocity” (PPV) as the maximum ground vibration velocity measured in any direction.  Design blasts so the PPV at any utility or structure does not exceed the “Alternative Blasting Level Criteria” from Appendix B of the U.S. Bureau of Mines Report of Investigations 8507.  Design blasts so the maximum air-overpressure at any structure does not exceed 133 dB (linear).

If the PPV or air overpressure limits are exceeded at any utility or structure in any direction from blasts, the Engineer may suspend blasting until the post-blast report is reviewed and a new or revised blasting plan is accepted.

- Blasting Plan

When required, submit the proposed blasting plan signed by the Blaster-in-Charge for all blasting for acceptance.  Acceptance of this plan does not relieve the Contractor of responsibility and liability for blasting in accordance with the contract.

Submit 2 copies and a PDF copy of the blasting plan at least 30 days before starting blasting.  Do not deliver explosives to the project site or begin blasting until a blasting plan is accepted.  Submit one copy to the Resident Engineer and the other copy and PDF copy to the appropriate Geotechnical Engineering Unit regional office.  Provide detailed project specific information in the blasting plan that includes the following:

  - Work procedures and safety precautions for storage, transportation, handling and detonation of explosives;

  - Explosive products and devices for dry and wet blast holes including explosives, primers and detonators with MSDS;

  - Drilling equipment including methods for maintaining blast hole alignment;

  - Typical plan, profile and sectional views for blasting showing blasting limits, blast hole diameters, depths, inclinations and spacing, burden, subdrill depths and minimum and maximum charge per delay;

  - Initiation and delay methods and delay times;

  - Equipment and procedures for blast monitoring with calibration certificates dated within one year of submittal date; and

  - Post-blast report format.

If alternate blasting procedures are proposed or necessary, a revised blasting plan submittal may be required.  If blasting deviates from the accepted submittal without prior approval, the Engineer may suspend blasting until a revised plan is accepted.

- Blast Monitoring

If necessary or required, monitor blasts using seismographs capable of measuring air overpressure and vibration in the vertical, longitudinal and transverse directions.  At a minimum, monitor vibration and air-overpressure at the closest utility or structure to each blast and the closest utility or structure in the direction of each blast in accordance with the accepted blasting plan.  Include the following in post-blast reports for each blast monitoring location:

  - Type, identification and specific location of seismograph,

  - Distance and direction from blast,

  - PPV in each direction and peak vector sum, and

  - Maximum air overpressure level.

- Blasting Requirements

Before beginning drilling, a pre-blast meeting may be required to discuss the blasting and if applicable, blast monitoring.  Schedule this meeting after any blast plans have been accepted.  The Resident or District Engineer, Roadway Construction Engineer, Geotechnical Operations Engineer, Contractor and Blaster-in-Charge will attend this pre-blast meeting.

Drill and blast in accordance with the contract and if applicable, the accepted blast plan.  Use explosives in accordance with all applicable government regulations, professional society standards and manufacturer guidelines and recommendations.  Do not allow ammonium nitrate fuel oil (ANFO) to leach into bodies of water.

Before blasting for excavations, remove all overburden material along top of excavations for at least 30 ft beyond blasting or rock limits, whichever is less.  Inspect any free faces to ensure adequate burden.  Drill blast holes within 3" of plan location and maintain hole alignment when drilling.

Cover blast holes after drilling to prevent unwanted backfill and identify and mark each blast hole with hole number and depth.  Blast holes shall be free of obstructions the entire depth.  Load blast holes without dislodging material or caving in hole walls.  Stem blast holes 5" or larger in diameter with No. 67 stone and blast holes smaller than 5" in diameter with No. 78M stone.  Do not stem blast holes with drill cuttings.

Contain flyrock within construction limits.  Use matting when blast monitoring or traffic control is required.  Soil cover may be used instead of matting, if approved.  If flyrock occurs outside the construction limits, the Engineer may suspend blasting until the post-blast report is reviewed and a new or revised blasting plan is accepted.  When traffic control is required for blasting, have equipment standing by to remove material that interferes with traffic flow.  Check for misfires immediately after each blast before signaling all clear.

Remove all loose, hanging and potentially dangerous material from rock cut slopes by scaling.  The Contractor is responsible for the stability of rock cuts.  If rock cuts are damaged during blasting, stabilize cuts to the satisfaction of the Engineer.  Resume drilling only after scaling is complete.  Adjust blast hole alignments to account for any drift occurring in preceding drilling or lifts.

Define “secondary blasting” as blasting to reduce the size of naturally occurring boulders or those resulting from initial blasting.  Use an approved method for secondary blasting consisting of small explosive charges in small diameter blast holes.  Define “mudcapping” as placing unconfined explosive charges in contact with rock without blast holes and covering charges with mud.  Do not use mudcapping for blasting.

- Post-Blast Report

Submit 2 copies and a PDF copy of a post-blast report within 3 days of each blast or before the next blast, whichever is sooner.  Provide post-blast reports signed by the Blaster-in-Charge that include the following:

  - Material data information about explosive products and devices including explosives, primers and detonators;

  - Scaled blast drawings with cross sections showing blasting limits, blast hole diameters, depths, inclinations and spacing, burden, subdrill depth, free face location and any joints, bedding planes, weathered zones, voids or other significant rock structure information;

  - Loading pattern diagram with location and amount of each type of explosive including primers and detonators;

  - Locations and depths of stemming, column heights and maximum charge per delay for each type of loading;

  - Delay and initiation diagram showing delay pattern, sequence and times;

  - Results and effectiveness of the blast and any proposed changes to subsequent blasting;

  - If applicable, blast monitoring results; and

  - Blast damage report when necessary.

- Blast Damage Report

If damage occurs from blasting, notify the Engineer immediately and submit a blast damage report with the post-blast report that includes the following:

  - Property owner’s and injured person’s, if any, names, addresses and telephone numbers;

  - Details and description of property damage and injury, if any, with photographs or video; and

  - Any associated tort claims, complaint letters and other applicable information.

### 220-4	MEASUREMENT AND PAYMENT

No direct payment will be made for blasting including blasting plans, blast monitoring, post-blast reports, scaling and stabilizing rock cuts.

No direct payment will be made for blasting for roadway excavation.  Blasting for roadway excavation will be incidental to the contract unit price for Unclassified Excavation in accordance with Article 225-7 or the lump sum price for Grading in accordance with Article 226-3.

No direct payment will be made for blasting for any pipe, utility or foundation excavation.  Blasting for these items will be incidental to the compensation for the excavation.  Where no direct payment is made for excavation, blasting will be incidental to the work and no separate payment for will be made for blasting.

## SECTION 225

ROADWAY EXCAVATION

### 225-1	DESCRIPTION

Excavate, place and compact or satisfactorily dispose of all materials encountered within the limits of the work necessary for the construction of the roadway that are not to be removed under another contract item.

Perform all excavation in conformity with the lines, grades and cross sections shown in the plans or established by the Engineer.

Use care not to cause instability or displacement of the underlying or adjacent materials during construction.  The Engineer reserves the right to effect the removal from the grading operation of any equipment that is causing instability or displacement of underlying or adjacent materials to the detriment of the section being constructed.

Construct false sumps in accordance with the details in the plans and at the locations shown in the plans or at other locations as directed.

Define “Unclassified Excavation” as all material excavated under this section, regardless of its nature or composition, except for undercut excavation and material directed to be removed beyond the limits of the original slope stakes.

Define “Undercut Excavation” as the excavation, placement and compaction and/or satisfactory disposal of materials removed from a location below the finished graded roadway cross section, except for the following:

- Rock in the bottom of roadway cuts that has been excavated one foot or less below the roadbed and ditches, or

- In cut areas, excavation removed below the outside slopes of roadway ditches.

### 225-2	EROSION CONTROL REQUIREMENTS

Install erosion control measures as required by the plans before any kind of land-disturbing activity.

Unless otherwise required by the plans, conduct operations so that final slopes are completely graded in a continuous operation and permanently seeded and mulched in accordance with Article 107-12.

Should the Contractor fail to comply with the requirements specified above within the time frames established by the Sedimentation and Pollution Control Act, the Contractor shall perform temporary seeding and mulching on any exposed areas at his own expense.

When the Contractor fails or neglects to coordinate grading with the permanent seeding and mulching operation, the Engineer may suspend the Contractor’s grading operation in accordance with Article 108-7 until the work is coordinated in a manner acceptable to the Engineer.  Failure to perform the directed work may result in the Engineer having the work performed in accordance with Article 105-16.

### 225-3	UNCLASSIFIED EXCAVATION

Use all suitable material removed from the excavation as far as practicable in the formation of embankments, subgrades, shoulders and places indicated in the plans or directed.

The wasting of suitable material removed as part of unclassified excavation before the completion of embankments is permitted where the Contractor executes a supplemental agreement documenting that he agrees to the following:

- Provide and incorporate into the project any material required to complete the project up to the volume wasted.  Bear all additional costs for providing and incorporating this material into the work, including engineering costs, and

- Provide suitable replacement material either wasted from the project or approved borrow material, at the Contractor's option, and

- Present no claim for any time arising from the wasting of excess unclassified excavation or for having to replace material wasted from the project that the Department may require to complete the work, and

- Waive rights to request additional compensation with regard to wasting unclassified excavation under the compensation requirements of Section 104 as a result of wasting suitable unclassified excavation and providing replacement material required to complete the work except when unclassified excavation is a major contract item, as defined in Section 101, and when unclassified excavation underruns by more than 25%.

Where the work required to complete the project is so phased by the plans to preclude using suitable unclassified excavation, the Contractor will be permitted to waste suitable unclassified excavation without having to execute the above required supplemental agreement.

Furnish disposal areas for the unsuitable material except where the Engineer permits or directs the use of such material in the widening or flattening of fill slopes.  The Engineer will designate materials that are unsuitable.

Where suitable materials containing excessive moisture are encountered above grade in cuts, construct above grade ditch drains before the excavation of the cut material when such measures are necessary to provide proper drainage.

Upon execution of a supplemental agreement containing conditions listed below, the Contractor may waste suitable unclassified excavation and replace it with approved borrow material.

- Replace with approved borrow material all suitable unclassified excavation that was wasted.

- Bear all additional costs associated with the wasting of the unsuitable unclassified excavation and the replacing of it with borrow material, including any additional engineering costs to the Department.

- The execution of a supplemental agreement allowing the Contractor to waste suitable unclassified excavation and replace it with approved borrow material bars the Contractor from any claim for any time extensions related to the wasting and replacement operation described in the agreement.

- The Contractor specifically waives his rights to request additional compensation with regard to wasting unclassified excavation under the compensation requirements of Section 104 as result of substituting suitable borrow material and wasting suitable unclassified excavation.

Where the contract includes earth shoulder construction, stockpile suitable surplus material for use in the shoulders.  To the extent possible, salvage topsoil from within the limits of the slope stake lines and store in stockpiles.  Before the topsoil is removed, clear the areas of all weeds, brush, stumps, stones and other debris.  Remove the topsoil from only such areas and to only such depths as required by the contract or as directed.  Exercise care to avoid mixing subsoil or other unsuitable material with the topsoil.  Stockpile an adequate quantity of material to construct the proposed shoulder before wasting any suitable surplus material.  Locate the stockpiles along the project at approved locations.  Neatly dress each stockpile, when completed.  Perform temporary or permanent seeding on the stockpiles where directed or when necessary to prevent erosion.  Remove and dispose of any surplus material remaining in the stockpile after the shoulders are completed as provided below for waste matter.

Dispose of waste material in accordance with Section 802.

Uniformly round the intersection of slopes with natural ground surfaces, including the beginning and ending of cut slopes, as shown in the plans.  Concurrent with the excavation of cuts, construct intercepting berm ditches or earth berms along and on top of the cut slopes at locations shown in the plans or as designated.  Finish all slopes to reasonably uniform surfaces acceptable for seeding and mulching operations.  Leave no rock or boulders in
place that protrude more than one foot within the typical section cut slope lines.  
Clean all rock cuts of loose and overhanging material.  Remove all protruding roots and other objectionable vegetation from the slopes.

Where a cut has been finished and the slopes dressed in accordance with the plans and slope stakes, the Contractor will not be required to flatten or widen the slopes of a completed cut unless otherwise directed before beginning the work.  When rock is unexpectedly encountered, transition any widening or flattening already begun to leave the cut with a pleasing appearance.

If required, investigate the top 12" of the subgrade in cut sections to determine the necessity for rock undercut.

Unless otherwise directed, excavate rock in the bottom of roadway cuts to a depth of one foot below the roadbed and ditches.  Lower ditches if necessary so that water will drain from the rock surface to the ditches.  Upon completion of the rock excavation below the level of the roadbed and ditches, backfill the areas where such rock has been removed with suitable material, compact, and shape to the required grade and cross section.

Before any work beginning on the structure, excavate all rock under and adjacent to structure sites as directed.

Bring all cuts to the grade and cross section shown in the plans before final inspection and acceptance.

Remove and dispose of slides and overbreaks that occur before final acceptance of the project.  Where slides and overbreaks occur due to negligence or carelessness on the part of the Contractor, the removal and disposal of said slides and overbreaks will be at no cost to the Department.

Shape old roadways to produce an acceptable appearance in accordance with Section 808.

Conduct earthwork operations in a manner that will not disturb staking, utility poles or guy wires required to remain in their original location.

Cut off and plug all private utility lines, remove existing shoulder drain and subdrain pipe and remove all underground tanks intercepted within the typical section or in conflict with construction.

Where it is necessary to remove existing sidewalks or driveways, furnish a neat edge along the pavement retained by sawing a neat line approximately 2" deep with a concrete saw before breaking the adjacent pavement away.

When excavation operations encounter graves, temporarily discontinue operations in the vicinity of the graves and do not resume until directed.

When excavation operations encounter contaminated soils, temporarily discontinue operations in the vicinity of the contamination and do not resume until directed.

When excavation operations encounter artifacts of historical or archeological significance, temporarily discontinue operations in the vicinity of the artifacts and do not resume until directed.  Disposition of the artifacts shall be in accordance with the requirements of the Division of Archives and History.

### 225-4	UNDERCUT EXCAVATION

When the Engineer determines that the natural soil materials in areas where fills are to be placed are undesirable in their location or condition, the Engineer may require the Contractor to remove the undesirable material and backfill with approved, properly compacted material.

When the Engineer determines that the finished graded roadway cross section contains materials that are undesirable in their location or condition, the Engineer may require the Contractor to remove the materials and backfill with approved, properly compacted material to the finished graded section.

Where undercutting is required adjacent to or beneath the location of the proposed drainage structure, perform undercut and backfill a sufficient distance adjacent to the installation to prevent future operations from disturbing the completed drainage structure.

Use equipment in undercutting and backfilling operations of such weight, size and capability to efficiently remove and replace the material within the limits established.  Use equipment of a size and weight that will not displace the underlying or adjacent material.

All material removed in the work of undercut excavation will be classified by the Engineer as either suitable for other use without excessive manipulation and used elsewhere in the work or unsuitable for further use and disposed of by the Contractor.

Conduct undercut operations so that the Engineer can take the necessary measurements before any backfill is placed.  Place backfill in undercut areas in a continuous operation concurrent with the undercutting operation.  Do not place backfill material in water unless otherwise permitted by the Engineer.

### 225-5	TOLERANCES

A tolerance of ± 0.10 ft from the established grade will be permitted in the roadbed after it has been graded to a uniform surface.

### 225-6	MAINTENANCE

Maintain all work covered by this section during construction until final acceptance.  Provide the drainage of surface runoff along and throughout the length of the cut, construct temporary ditches and use any other methods necessary to control excessive soil erosion during construction and until final acceptance of the project.

### 225-7	MEASUREMENT AND PAYMENT

Excavation will be measured and paid in cubic yards of materials, measured in their original position and computed by the average end area method, acceptably excavated in accordance with the contract.  The Engineer may elect to use Digital Terrain Modeling (DTM) for determining the earthwork quantities or other technology that has been proven accurate.  Original cross sections for the determination of excavation quantities will be taken before any grading begins.  Final cross sections will be taken after the excavation has been completed.  Final plan cross sections can be used for the final cross sections where, in the opinion of the Engineer, the work has been constructed in reasonably close conformity to the plan typical section.

Original and final cross sections will be taken by either ground or aerial survey methods, as determined by the Engineer.

All materials excavated from a location below the graded roadway cross section are classified as Undercut Excavation and will be measured separately except for the following:

- Rock in the bottom of roadway cuts excavated 1 ft or less below the roadbed and ditches;

- In cut areas, undercut excavation is limited to excavation removed below the roadbed sub-grade, removed below the inside slopes of roadway ditches and removed below the bottom of flat bottom roadway ditches; or

- Root mat other than grass, removed as a part of clearing and grubbing.

When the contract does not include Drainage Ditch Excavation, measurement will be made in accordance with Article 240-4 and payment for this class of excavation will be made at the contract unit price per cubic yard for Unclassified Excavation.

Measurement of materials excavated from overbreaks or slides will be made except where the overbreaks or slides were due to the negligence or carelessness of the Contractor.

No measurement will be made of any materials excavated outside of authorized excavation limits established by the Engineer or any materials excavated before slope stakes were set.

Article 104-5 will not apply for any underruns in the quantity of Unclassified Excavation resulting from the permitted use of such material as select granular material.

Berm Ditch Construction will be measured and paid in accordance with Article 240-4.

Materials excavated from stockpiles and used to construct earth shoulders will be paid as Shoulder Borrow in accordance with Article 560-4.  No payment will be made for the removal and disposal of any surplus material remaining in the stockpile after the shoulders have been completed.

Payment for material that the Engineer directs to be removed beyond the limits of the original slope stakes will be made in accordance with Article 104-3.

If needed, investigative work within the top 12" of the subgrade to determine the necessity for rock undercut will be paid in accordance with Article 104-7.

Payment includes, but is not limited to, excavation, blasting, hauling anywhere along the project both within and across balance points shown in the plans, removal of undesirable material, removal of sidewalk, driveways, curb and gutter, endwalls, traffic islands and drainage structures, disposal of materials, formation and compaction of embankments, subgrades and shoulders, the cutting off, plugging and removal of private utility lines and underground tanks, any backfilling required, removing any existing shoulder drain or subdrain pipe and maintaining the work.

Payment for false sumps will be classified as Unclassified Excavation, Borrow Excavation or included in Grading-Lump Sum.  Payment as Unclassified Excavation or Borrow Excavation will be at the contract unit price per cubic yard.

Excavation done in the shaping of old roadways in accordance with Section 808 is paid as Unclassified Excavation.

Where slides and overbreaks occur due to negligence or carelessness on the part of the Contractor, the removal and disposal of said slides and overbreaks will be incidental to the work of this section.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Unclassified Excavation | Cubic Yard |
| Undercut Excavation | Cubic Yard |

## SECTION 226

COMPREHENSIVE GRADING

### 226-1	DESCRIPTION

The work covered by this section consists of all elements of work covered by Sections 200, 225, 230, 235, 250, 500 and 560, except that the requirements of the above-referenced sections pertaining to measurement and payment will not apply unless specific reference is made to such.

### 226-2	CONSTRUCTION METHODS

Perform the work in accordance with Sections 200, 225, 230, 235, 250, 500 and 560.

### 226-3	MEASUREMENT AND PAYMENT

Seeding and mulching of all borrow sources will be measured and paid at the contract unit prices for such items established in the contract.

Payment for material that the Engineer directs the Contractor to obtain from borrow sources to backfill pipe culverts, box culverts, drainage structures or structure bents will be made in accordance with Article 104-7.

Payment for material that the Engineer directs to be removed beyond the limits of the original slope stakes will be made in accordance with Article 104-3.

Grading will be paid at the contract lump sum price.  Partial payments will be equal to the percentage of such item that is complete as estimated by the Engineer.  No separate payment will be made for clearing and grubbing, shoulder and fill slope material or draining borrow sources as such work will be incidental to the work covered by this section.

Clearing and grubbing work that is directed to be performed on areas outside the limits originally staked or beyond the limits of the right of way or easements shown on the original plans will be measured and paid at the contract unit price per acre for Supplementary Clearing and Grubbing.  All measurements will be made horizontally.  Where the contract does not include this item, a unit price per acre will be established by supplemental agreement.

Undercut Excavation will be measured and paid at the contract unit price per cubic yard.  No separate payment will be made for materials used in backfilling the undercut areas, shoulders and slope areas as payment at the contract unit price per cubic yard for Undercut Excavation will be full compensation for furnishing such material.  Where the contract does not include a pay item for Undercut Excavation, payment for such excavation will be made in accordance with Article 104-7.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Grading | Lump Sum |
| Supplementary Clearing and Grubbing | Acre |
| Undercut Excavation | Cubic Yard |

## SECTION 230

BORROW EXCAVATION

### 230-1	DESCRIPTION

Excavate approved material from borrow sources.  Haul and use such material as required in the plans or as directed.  Do not use borrow excavation until all available suitable unclassified excavation has been incorporated into the embankments, subgrades and shoulders except by execution of a supplemental agreement documenting the conditions prescribed below.

- All suitable unclassified excavation wasted as a result of the early use of borrow material will be deducted from the total volume of borrow excavation paid under the contract.

- Reimburse the Department for all additional costs, including additional engineering cost, associated with the wasting of suitable unclassified excavation.

- Any claim for contract time extensions related to the early use of borrow is waived should the Contractor use borrow material before all suitable unclassified excavation being incorporated into the project pursuant to a supplemental agreement.

- The Contractor specifically waives rights to request additional compensation with regard to the early use of borrow under the compensation requirements of Section 104 except when unclassified excavation is a major contract item, as defined in Section 101, and that unclassified excavation overruns by more than 25%.

Where the work required to complete the project is so phased by the plans to preclude using suitable unclassified excavation, the Contractor will be permitted to construct the required embankments, subgrades or shoulders so controlled by the phasing from approved borrow materials without having to execute the above required supplemental agreement.

### 230-2	COORDINATION WITH SEEDING OPERATIONS

Coordinate the work in this section with the construction of embankments in accordance with Article 225-2.

### 230-3	MATERIALS

Refer to Division 10.

| Item |  | Section |
| --- | --- | --- |
| Borrow Material |  | 1018 |
| Shoulder and Slope Material |  | 1019 |

### 230-4	CONSTRUCTION METHODS

- General

Thoroughly clear and grub and clean the surface of the borrow area of all unsuitable material before beginning the excavation and, where applicable, before cross sections are taken.  Dispose of material resulting from clearing and grubbing in accordance with Article 200-6.  Remove and dispose of overburden in accordance with Section 802.

Do not accumulate exposed, erodible slope area in each borrow operation in excess of 1 acre at any one time without beginning permanent seeding and mulching of the borrow source or installing other erosion control measures as may be approved.

Remove and stockpile topsoil at locations that will not interfere with the borrow operations and that meet the approval of the Engineer.  Install temporary erosion control measures as needed to prevent the erosion of the stockpile material.  Once all borrow has been removed from the source or portion thereof, uniformly spread the stockpiled topsoil over the area and permanently seed and mulch the area.

Where payment is made by cross section, notify the Engineer sufficiently before beginning excavation of the borrow material so that the area may be staked and cross sectioned.  Excavate the material to the lines and slopes as staked in an orderly manner to facilitate measurement at any time.

Where payment is to be made by truck measurement, furnish trucks with bodies suitable for accurate measurement.  Load trucks uniformly and to prevent spillage.

When necessary to haul borrow material over existing roads or streets, comply with Article 105-15.  Use all necessary precautions to prevent damage to the existing structures or pavement.  Conduct hauling operations so as to not interfere with the normal flow of traffic and keep the traffic lanes free from spillage at all times.

Furnish borrow sources except where otherwise indicated in the contract.

- Contractor Furnished Sources

Before the approval of any borrow sources developed for use on any project, obtain certification from the State Historic Preservation Officer of the State Department of Cultural Resources certifying that the removal of the borrow material from the borrow sources will have no effect on any known district, site building, structure or object, architectural and/or archaeological that is included or eligible for inclusion in the National Register of Historic Places.  Furnish a copy of this certification to the Engineer before performing any work on the proposed borrow source.

Borrow sources will not be allowed in any area under the Corps of Engineers regulatory jurisdiction until the Contractor has obtained a permit for such borrow sources from the Corps District Engineer having jurisdiction and has furnished a copy of this permit to the Engineer.  Requests for additional contract time, additional compensation or for work stoppage due to permit violations will not be considered.

The approval of borrow sources furnished by the Contractor is subject to the following conditions:

  - Proof of Rights

Provide written proof of the right to take the material and any rights of access that may be necessary, for locating and developing the source and any clearing and grubbing and drainage ditches necessary.  The proof shall include an agreement with the owner that the borrow source be dressed, shaped, seeded, mulched and drained as required by these Specifications after all borrow has been removed.

  - Sampling and Testing

Sampling and testing of contractor furnished borrow material will be in accordance with procedures set forth in the Borrow Pit Sampling Manual in effect on the date of advertisement for the project.  Copies of this document are available from the Materials and Tests Unit.  The criteria for acceptance of the proposed contractor furnished borrow material is shown in Section 1018.

  - Reclamation Plan

Except where borrow is to be obtained from a commercial source, jointly submit with the property owner a borrow source development, use and reclamation plan to the Engineer for his approval before engaging in any land disturbing activity on the proposed source other than material sampling that may be necessary.  The Department’s borrow and waste site reclamation procedures for contracted projects is available on the website and shall be used for all borrow and waste sites on this project.  Address the following in the plan:

    - Topography

Detail the existing topography and locations of the proposed access and egress haul roads.  Detail the proposed final topography of the waste or disposal area showing any proposed drainage systems.  Excavate the source according to the plan and dress and shape it in a continuous manner to contours that are comparable to and blend in with the adjacent topography.  Grade the source to drain such that no water will collect or stand.  Provide a functioning drainage system for the source.  If drainage is not practical and the source is to serve as a pond, the minimum depth shall be a least 4 ft as determined from the water table at the time the reclamation plan is executed.  The slope of the soil below the water shall be between 5:1 and 2:1.  The slope of the sides above the water line shall be 2:1 or flatter.

    - Erosion Control

Detail the temporary and permanent erosion control measures, along with design calculations, that are intended during use of the site and as part of the reclamation.  Unless considered impractical due to special circumstances, provide in the plan for the use of staged permanent seeding and mulching and appropriate fertilizer topdressing continually during site use and the immediate total reclamation of the site when the site is no longer needed.  Define the seed mixture proposed for establishing temporary and permanent vegetation.  Establish permanent stand of vegetation before acceptance of the project.

  - Buffer Zones

Allocate sufficient area between the nearest property line and the tie-in of the slope to natural ground to allow for the operation of excavation, hauling and seeding equipment and for the installation of any and all erosion control devices required.  Leave additional undisturbed area between the source and any water course or body to prevent siltation of the water course or body and the movement of the shore line either into the water course or body or into the waste areas.  Determine if the adjoining property owners or other government agencies require any additional buffer zones and comply with those requirements.  Suggested minimum distances are 10 ft from property lines and 50 ft from water bodies or water courses.  Where it is necessary to drain the borrow source, perform work in accordance with Section 240.

  - Evaluation for Potential Wetlands and Endangered Species

Hire an experienced environmental consultant from the approved list to perform an assessment of the borrow site for potential conflicts with wetlands, Areas of Environmental Concern designated by the Coastal Area Management Act and federally protected species.  This evaluation will not be required for permitted commercial sites.

Delineate the boundaries of any wetlands, jurisdictional surface waters and streams encountered.  Follow the standard practice for documenting the wetland delineation including completion of the Army Corps of Engineers’ Approved Jurisdictional Determination Form.  Document information including data regarding soil, vegetation and hydrology.  Maintain a minimum 25 ft buffer adjacent to all sides of the wetland boundary and a minimum 50 ft buffer adjacent to any stream.  Depict the limits of the delineated wetland and surrounding buffer on the Reclamation Plan.  Do not remove borrow material in any area under the Corps of Engineers’ or any other environmental agencies’ regulatory jurisdiction unless and until the Department permit has been modified to allow such disposal activity in the jurisdictional area.

Perform a site assessment for federally listed threatened or endangered species to include habitats that may support these species.  Provide a detailed technical report on the assessment findings.  If federally listed threatened or endangered species or habitat that may support such species exist on the proposed borrow site, notify the Engineer before continued pursuit of such site.

  - Approval

Obtain written approval from the Engineer before excavating any material within the proposed borrow source area.

Submit a revised or additional reclamation plan if the non-permitted waste or disposal area is expanded by more than one acre or is significantly changed from the previously approved submittal.

If the Contractor proposes a borrow source, the environmental assessment shall include wetland and stream delineation extending 400 ft beyond the proposed borrow source limits.

    - If wetlands or streams are present within 400 ft of the borrow source, submit a hydrologic analysis (Skaggs Method) or equivalent to determine if lateral effects will permanently impact or cause degradation to wetlands or streams.  Perform analysis with an environmental or hydraulics engineer with expertise in this discipline and include:

      - Hydric soil type,

      - Average profile depth to restrictive soil layer,

      - Effective hydraulic conductivity or permeability,

      - Average drainable porosity or available water capacity and

      - Required buffer width, including safety factor.

    - If wetlands or streams are present within 400 ft and the Contractor does not propose to excavate below the seasonal high water table or the water level in the adjacent stream, no documentation will be required.

    - If wetlands or streams are not present within 400 ft, no additional documentation will be required.

During Department review of the proposed borrow area, the hydrologic analysis will be submitted to the U.S. Army Corps of Engineers for evaluation.  Obtain copy of Skaggs Method for Determining Lateral Effects of a Borrow Pit on Adjacent Wetlands from the Department’s website.

- Maintenance

During construction and until final acceptance, use any methods approved by the Engineer that are necessary to maintain the work covered by this section so that the work will not contribute to excessive soil erosion.

### 230-5	MEASUREMENT AND PAYMENT

Borrow Excavation will be measured and paid in cubic yards.  Borrow excavation will be measured in place in its original position except that truck measurement will be made where called for in the contract.

If the quantity of borrow excavation used is excessive as evidenced by the presence of surplus suitable material from the roadway excavation, the measured quantity of borrow excavation will be reduced by the quantity of such surplus suitable material.

- In-Place Measurement

Borrow Excavation to be paid will be the actual number of cubic yards of approved material, measured in its original position by cross sectioning and computed by the average end area method, that has been excavated from the borrow source and incorporated into the completed and accepted work.  No measurement will be made of any overburden, unsuitable material removed from the source or any material excavated before cross sections are taken.

- Truck Measurement

Borrow Excavation to be paid will be the actual number of cubic yards of approved material, measured in trucks excavated from the borrow source and incorporated into the completed and accepted work.  Each truck will be measured and shall have a legible identification mark indicating its capacity.  Load each truck to at least its measured capacity at the time it arrives at the point of delivery.  The recorded capacity will be adjusted by making a 25% deduction to allow for shrinkage and the adjusted capacity will be the quantity to be paid.

Topsoil that is stockpiled and placed back on the source as part of the reclamation effort will be measured in the stockpile by cross sectioning and computed by the average end area method and paid per cubic yard for Borrow Excavation.  No in-place measurement will be made of the topsoil.

Seeding, mulching and establishment of temporary erosion control for all borrow sources will be paid at the contract unit prices for the items established in the contract as payment for Seeding And Mulching in Section 1660.

Payment includes, but is not limited to, furnishing the source of the borrow; providing and implementing a development, use and reclamation plan, evaluation of potential wetlands and endangered species, building, maintaining and obliterating haul roads, clearing and grubbing or draining the borrow source; removing, stockpiling and replacing topsoil, removing and disposing of overburden and other unsuitable material, excavation, hauling, formation of roadway embankments, subgrades and shoulders, restoration of the source and haul roads to an acceptable condition, obtaining permits and certifications and maintaining the work.

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Borrow Excavation |  | Cubic Yard |

## SECTION 235

EMBANKMENTS

### 235-1	DESCRIPTION

Place suitable material excavated under Sections 225, 226, 230 and 240 in embankments, backfills and earth berms, to conform with the lines, grades and typical cross sections shown in the plans.  Fill and compact holes, pits and other depressions when unsuitable material has been removed.  Work includes preparation, formation, compaction and maintenance of the embankment area as well as the formation of benches in the existing ground with rises less than 60".

### 235-2	MATERIALS

Refer to Division 10.

Use soil consisting of loose, friable, sandy material free of subsoil admixtures, refuse, stumps, rocks, roots, root mats or other unsatisfactory material.  Do not use material that meets AASHTO M 145 for soil classification A-2-5 and A-5 with a PI of less than 8 within 12" of the subgrade.

Wet, dry or frozen material may be suitable when dried, wetted or thawed, respectively.  Aerate and dry material containing moisture content in excess of what is required to achieve embankment stability and specified density.  Waste suitable material only with written authorization.

235-3	CONSTRUCTION METHODS

Coordinate work with excavation operations in accordance with Articles 107-12 and 225-2.

- Preparation for Embankment

Finish clearing and grubbing within an area before starting embankment in accordance with Section 200.  Remove and waste organic or other unsuitable material unless otherwise directed.

Plow mowed sod and leave in place where the height of embankment to be constructed is greater than 6 ft measured under the roadbed.  Plow or scarify and break up cleavage planes of all underlying road surfaces.  Remove or break up existing pavement in accordance with Section 250.

Bench existing slopes steeper than 4:1 measured at right angles to the roadway.  Provide rises of at least 12" and no more than 60" as embankment is brought up in layers.  Provide sufficient width for the operation of placing and compaction equipment.  Begin bench cut at the intersection of the original ground and the vertical side of the previous cut.  Construct benches greater than 60" in height only when shown in the plans.  Such benches will be paid in accordance with the contract.

- Embankment Formation

Uniformly spread material in successive, approximately horizontal layers of not more than 10" depth, loose measurement, for the full width of the cross section.  Compact each layer in accordance with Subarticle 235-3(C).

Shape embankment surface to properly drain at all times.

Route construction equipment uniformly over the full width of the embankment and prevent deep rutting.

May construct the first layer of embankments across saturated or unstable material, that does not support the weight of hauling equipment, by successively dumping a uniformly distributed layer of a thickness not greater than necessary to support hauling equipment while placing subsequent layers.

When placing material in swamp or in water, keep unsuitable surge material in a fluid state or remove to prevent trapping in or under embankment.

When shown in the plans or allowed by the contract, form a satisfactory base by end or side dumping in valleys, ravines and at the foot of slopes on side hills.

Where embankments are being constructed principally of rock or broken pavement, place in uniform layers with a maximum depth of 36".  Place rock or broken pavement so larger pieces are evenly distributed and are no larger than 36" in any dimension.  Fill all voids.  Place rock or broken pavement lifts at least 2 ft below finished subgrade or finished grade whichever is lower.

Do not place rock or broken pavement greater than 2" in diameter within 12" of the subgrade or finished grade whichever is lower.  Do not place rock or broken pavement in areas where foundations are to be placed.

Place select material where indicated in the contract.  Construct the top 6" of shoulder and fill slopes with material that meets Article 1019-2.  Construct stabilized embankment when required by the contract.

Install pipe culverts as specified in Section 300.  Construct subsurface drains adjacent to structures as required by Article 414-8 for box culverts, except for that portion of the drain located below the elevation of the original ground.  Do not disturb existing utilities within the project construction limits until released by the Engineer.

Do not place rock or broken pavement in embankment areas where piles or drilled shaft foundations are to be constructed or where underground utilities exist.  This requirement shall include, but not be limited to, piles and foundations for structures, metal signal poles, overhead sign structures and high mount lighting.

- Embankment Compaction

Compact each layer for its full width to a density equal to at least 95% of that obtained by compacting a sample of the material in accordance AASHTO T 99 as modified by the Department.  Copies of these modified procedures are available upon request from the Department’s Materials and Tests Unit.

Uniformly bond all layers to preceding layers.  Compact all surfaces on embankment slopes, principally constructed of soil, that are flatter than 1.5:1 using tracked equipment or other approved methods.

Increase or decrease moisture content of the material before compacting to produce the maximum density that will provide a stable grade.  Exempt portions of rock embankments, that cannot be tested by approved methods, from density requirements.

- Maintenance

Maintain all embankments made under the contract until final acceptance.  Construct and maintain adequate drainage of surface runoff to prevent soil erosion.  Replace damaged or displaced embankment.

Bring all embankments to the grade and cross section shown in the plans before final inspection and acceptance.

### 235-4	TOLERANCES

Finish subgrade surface within ± 0.10 ft from the established grade after it has been graded to a uniform surface.

### 235-5	MEASUREMENT AND PAYMENT

Payment will not be made for embankment construction.  Payment at the contract unit prices for the various items covered by Sections 225, 226, 230 and 240 will be full compensation for all work covered by this section.

Repairs to embankments caused by Contractor carelessness or negligence will be incidental to the work of Sections 225, 226, 230 and 240.  Repairs to embankments as a result of natural causes will be at the contract unit price for the excavated material required to make the necessary repairs.

## SECTION 240

DITCH EXCAVATION

### 240-1	DESCRIPTION

Excavate and satisfactorily dispose of all materials excavated in the construction of ditches except silt ditches.

- Drainage Ditches

Define “drainage ditches” as inlet and outlet ditches for pipe culverts and structures, changes in channels of streams, ditches draining borrow and material sources and parallel or lateral ditches when such ditches are separated from the roadway slope by an area of natural ground or berm.

Unless otherwise classified in the plans, parallel or lateral ditches constructed as an integral part of the graded roadbed, having a continuous slope from the outer limit of the shoulder to the bottom of the ditch, will be considered to be within the roadway grading limits and will be part of the work covered by Section 225.

- Berm Ditches

Define “berm ditches” as ditches constructed by either excavation or the construction of earth berms along the top of cut slopes.  The location of berm ditches will be as shown in the plans or as directed.

### 240-2	GENERAL

Excavate to the lines, grades, typical sections and details shown in the plans or established.  Coordinate all work covered by this section with the grading, construction of drainage structures, excavation of borrow and material sources and other work along the project and maintain in a satisfactory condition so that adequate drainage is provided at all times.  Maintain the ditches until the final acceptance of the project.  Trim flush with the sides of the ditch any roots that protrude into the ditch.  Complete inlet and outlet ditches for pipelines before the pipe is installed unless otherwise permitted.

### 240-3	DISPOSAL OF MATERIALS

Use all excavated materials in the construction of roadway embankments except where otherwise directed.  Deposit materials that are excess to the needs of the project alongside the ditch and spread to form a low, flat, inconspicuous spoil bank of sufficient regular contour to permit seeding and mowing, provided no drainage into the ditch is blocked.

### 240-4	MEASUREMENT AND PAYMENT

Drainage Ditch Excavation will be measured and paid in cubic yards, measured in the original position by the average end area method of all materials excavated within the limits established by the plans or directed.  Work includes, but is not limited to, excavation, shaping of the ditches, disposal of all materials, construction of earth berms and the maintenance of the work in an acceptable condition until final acceptance.

No measurement and payment will be made where excavation has been performed beyond the above limits; made solely for the convenience of the Contractor; for temporary drainage of the project; or for any excavation to provide drainage of borrow or material sources furnished by the Contractor.

Where the contract does not include a pay item for Drainage Ditch Excavation, all work of drainage ditch excavation will be treated as Unclassified Excavation and will be paid in accordance with Section 225.

Berm Ditch Construction will be measured and paid in linear feet, measured along the flow line of the ditch within the pay limits shown in the plans, completed and accepted.  Work includes, but is not limited to, excavation, shaping of the ditches, disposal of all materials, construction of earth berms and the maintenance of the work in an acceptable condition until final acceptance.

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Drainage Ditch Excavation |  | Cubic Yard |
| Berm Ditch Construction |  | Linear Foot |

## SECTION 250

REMOVAL OF EXISTING PAVEMENT

### 250-1	DESCRIPTION

Break up, remove and satisfactorily dispose of the Portland cement concrete or asphalt components of an existing roadway pavement structure, including paved shoulders, within the limits shown in the plans or as directed.  This work includes the removal of any temporary roadway pavement structure placed during construction to serve as a detour.

### 250-2	PAVEMENT REMOVAL AND DISPOSAL

Break up and remove the pavement for its entire depth.  Where concrete or asphalt pavement is to be removed, provide a neat edge along the pavement being retained by sawing the pavement approximately 2" deep before breaking the adjacent pavement away.  Properly dispose of all materials resulting from the pavement removal as provided herein.

When existing pavement is located where embankment is to be constructed and the depth of the embankment is greater than 1 ft exclusive of base and pavement, do not remove existing pavement, but break up the existing pavement into pieces with the longest dimension no larger than 3 ft.  Fill all voids.  All voids must be filled when building an embankment out of rock or broken pavement.

Use all materials in the construction of embankments, unless otherwise directed.  Stockpile materials that the Department desires to use, as indicated in the plans at approved locations.

Where the Contractor requests permission to use salvageable material in other parts of the work and such material has been intended for use in the construction of embankments, the Engineer may permit such use provided the Contractor furnishes at no cost to the Department an adequate quantity of material for embankment construction to replace the material used in all other parts of the work.

Dispose of all materials that cannot be used in the work in accordance with Section 802.

### 250-3	MEASUREMENT AND PAYMENT

Removal of Existing Asphalt Pavement will be measured and paid in square yards of existing asphalt pavement actually removed and disposed of properly.  Removal of existing asphalt pavement will be measured by actual surface measurement of the asphalt pavement before its removal.

Removal of Existing Concrete Pavement will be measured and paid in square yards of existing concrete pavement actually removed and disposed of properly.  Removal of existing concrete pavement will be measured by actual surface measurement of the concrete pavement before its removal.

Breaking of Existing Concrete Pavement will be measured and paid in square yards of existing concrete pavement actually broken up and left in place.  The quantity will be determined by actual surface measurement of the pavement before breaking it up.

Breaking of Existing Asphalt Pavement will be measured and paid in square yards of existing asphalt pavement actually broken up and left in place.  The quantity will be determined by actual surface measurement of the pavement before breaking it up.

Where the pavement removed or broken up is a combination of layers of both asphalt and concrete pavement, payment will be made at the contract unit price per square yard for Removal of Existing Concrete Pavement or Breaking of Existing Concrete Pavement.

Where the pavement removed is a combination of layers of both asphalt and concrete pavement and an item is not established for concrete pavement removal, the cost of removing the combination of layers of asphalt and concrete will be made in accordance with Article 104-7.

Payment includes, but is not limited to, breaking up, removing and disposing of existing concrete or asphalt pavement, including paved shoulders and removing any temporary roadway pavement structure placed during construction to serve as a detour.

This work does not include pavement removal for pipe installation; removing and disposing of sidewalks, driveways, curb and gutter; traffic islands and parking areas; or any other incidental paved structures that are not part of a roadway pavement structure.

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Removal of Existing Asphalt Pavement |  | Square Yard |
| Removal of Existing Concrete Pavement |  | Square Yard |
| Breaking of Existing Concrete Pavement |  | Square Yard |
| Breaking of Existing Asphalt Pavement |  | Square Yard |

## SECTION 260

PROOF ROLLING

### 260-1	DESCRIPTION

Furnish and operate at the direction of the Engineer, heavy pneumatic tired compaction equipment for compacting the roadbed and testing the roadbed for stability and uniformity of compaction.

### 260-2	EQUIPMENT

Provide equipment with the following features:

- Four rubber tired wheels mounted on a rigid steel frame,

- Wheels evenly spaced in one line across the width of the roller and arranged so that all wheels will carry approximately equal loads when operated over an uneven surface,

- Maximum center to center spacing between adjacent wheels is 32",

- Load capacity from 48 to 50 tons unless otherwise permitted in writing,

- Cover or construct the loaded roller to not trap water that will add weight to the ballast,

- Other equipment of equal or better effectiveness may be substituted with written permission, and

- Tire pressures shall be between 68 and 72 psi unless otherwise permitted in writing.  Inflate tires with air only; use no liquid.

Provide ballasts consisting of bulk sand, bulk stone, bags of sand, stone or other materials of known unit weight such that the total weight of the ballast used can be readily determined at all times.  Provide a sufficient amount of ballast to load the equipment to a maximum gross weight of 50 tons.

Use rubber tired or other types of tractive equipment for operation of this equipment on the roadbed.  The entire assembly including motivating equipment shall be capable of executing a 180° turn on a 27 ft wide area.

### 260-3	CONSTRUCTION METHODS

After the roadbed has been completed within 0.5 ft of final grade, compact and test the roadbed with one coverage, unless otherwise directed, with a heavy pneumatic tired roller in accordance with Article 260-2.  Coverage is considered that stage in the rolling procedure when the entire width of the area being proof rolled has been in contact with the pneumatic tires of the roller.  Operate the roller systematically so the number of coverages over all areas to be proof rolled can be readily determined and recorded.

Operate the equipment at a speed between 225 ft/min and 300 ft/min.  Perform proof rolling only in the presence of the Engineer.  Proof roll areas again following the completion of the necessary corrections.

Protect all structural facilities on the project, such as, but not limited to, bridges, box culverts, pipe culverts and utilities, from damage by the proof rolling equipment.  Protection may include unloading and reloading of the roller, detouring, protective earth pads or other suitable measure to avoid damage.

### 260-4	MEASUREMENT AND PAYMENT

Proof Rolling will be measured and paid as the actual number of hours, measured to the nearest 0.1 hour, during which the heavy pneumatic tired roller has been engaged in proof rolling in the presence of the Engineer, exclusive of hours of proof rolling performed following corrective action made necessary by the negligence of the Contractor or by weather.

Corrective work necessary, as determined by proof rolling, and not due to negligence of the Contractor or to weather, will be paid at the applicable contract unit prices or as extra work, whichever may apply.

Proof rolling after corrective work will be at no cost to the Department if the corrections are necessary due to the negligence of the Contractor or weather.

Payment includes furnishing all labor, equipment, fuel and ballast for loading, loading and unloading ballast as directed and increasing and decreasing tire pressure as directed.

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Proof Rolling |  | Hour |

## SECTION 265

SELECT GRANULAR MATERIAL

### 265-1	DESCRIPTION

Furnish and place select granular material in accordance with the contract and as directed.

### 265-2	MATERIALS

Refer to Division 10.

| Item |  | Section |
| --- | --- | --- |
| Select Material, Class II |  | 1016 |
| Select Material, Class III |  | 1016 |

### 265-3	CONSTRUCTION METHODS

Use only Class III select material for embankments in water.

Place select granular material up to 3 ft above geotextile for soil stabilization and the water level.

### 265-4	MEASUREMENT AND PAYMENT

Select granular material will be paid as Select Granular Material unless the material is obtained from the same source as the borrow material and the contract includes a pay item for Borrow Excavation.  When this occurs, Select Granular Material will be paid at the lower bid price per cubic yard for either Borrow Excavation or Select Granular Material.

Select Granular Material will be measured and paid in cubic yards.  When undercut excavation is in accordance with Section 226 and the Engineer requires undercut to be backfilled with select granular material, the second sentence of the sixth paragraph of Article 226-3 will not apply, as payment for the backfill will be made as described in this article.

Select Granular Material will be measured by in place measurement in accordance with Article 230-5 or by weighing material in trucks in accordance with Article 106-7 as determined by the Engineer.  When select granular material is weighed in trucks, a unit weight of 135 lb/cf will be used to convert the weight of select granular material to cubic yards.  At the Engineer’s discretion, truck measurement in accordance with Article 230-5 may be used instead of weighing material in trucks.

The contract unit prices for Select Granular Material and Borrow Excavation as described above will be full compensation for providing, transporting, handling, placing, compacting and maintaining select granular material.

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Select Granular Material |  | Cubic Yard |

## SECTION 270

GEOTEXTILE FOR SOIL STABILIZATION

### 270-1	DESCRIPTION

Furnish and place geotextile for soil stabilization in accordance with the contract and as directed.

### 270-2	MATERIALS

Refer to Division 10.

| Item |  | Section |
| --- | --- | --- |
| Geotextile for Soil Stabilization, Type 4 |  | 1056 |

### 270-3	CONSTRUCTION METHODS

Grubbing may not be required in areas where geotextile for soil stabilization will be used.  Minimize the use of heavy equipment in these areas to limit rutting.  Cut trees flush with the ground surface and place geotextiles on relatively undisturbed ground as directed.

Do not leave geotextiles exposed for more than 7 days before covering geotextiles with backfill material except geotextiles for erosion control devices.  Place geotextiles on surfaces free of obstructions, debris and soft pockets.  Install geotextiles with the long dimension parallel to the roadway centerline.  Overlap adjacent geotextiles at least 18" unless otherwise directed to sew seams together.  Overlap geotextiles in the direction that material will be placed to prevent lifting the edge of the top geotextile.

Place geotextiles in slight tension free of kinks, folds, wrinkles or creases.  Use wire staples or anchor pins, as needed, to hold geotextiles in place until covered.  Provide backfill material in accordance with the contract.  Do not operate equipment on geotextiles until covered with material as directed.  Do not use vibratory compaction equipment on initial lifts of backfill.

### 270-4	MEASUREMENT AND PAYMENT

Geotextile for Soil Stabilization will be measured and paid in square yards.  Geotextiles will be measured along the ground surface as the square yards of exposed geotextiles before placing backfill material.  No measurement will be made for overlapping geotextiles or sewing seams.  The contract unit price for Geotextile for Soil Stabilization will be full compensation for providing, transporting and placing geotextiles, wire staples and anchor pins and sewing geotextiles.

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Geotextile for Soil Stabilization |  | Square Yard |

## SECTION 275

ROCK PLATING

### 275-1	DESCRIPTION

Construct rock plating in accordance with the contract.  Rock plating is required to stabilize slopes at locations shown in the plans and as directed.

### 275-2	MATERIALS

Refer to Division 10.

| Item |  | Section |
| --- | --- | --- |
| Geotextile for Rock Plating, Type 2 |  | 1056 |
| Plain Rip Rap |  | 1042 |
| Select Material, Class IV |  | 1016 |
| Subsurface Drainage Materials |  | 1044 |

Use Class IV select material (standard size No. ABC) over rip rap and Class 1, 2 or B rip rap unless required otherwise in the plans.  Provide Type 2 geotextiles for filtration geotextiles.  Provide subdrain coarse aggregate (standard size No. 78M) and PVC subdrain pipes, fittings and outlet pipes for subsurface drainage materials.

### 275-3	CONSTRUCTION METHODS

Construct embankments in accordance with the contract.  Compact fill slopes to the satisfaction of the Engineer with tracked equipment or other approved methods.  Undercut as necessary to install rock plating on cut slope faces or embed rock plating below the ground line.

Do not leave filtration geotextiles exposed for more than 7 days before covering with rip rap or ABC.  Unroll geotextiles down slopes, i.e., perpendicular to the roadway centerline.  Bury filtration geotextiles at top of slopes and embed geotextiles at toe of slopes as shown in the plans.  Filtration geotextiles should be continuous down slopes.  If geotextile roll length is too short, overlap ends of geotextile rolls at least 5 ft with the upper geotextile over the lower as shown in the plans.  Filtration geotextiles may be discontinuous down slopes in the direction perpendicular to the roadway centerline only once per roll width.

Overlap adjacent filtration geotextiles along slopes at least 18" as shown in the plans.  Place geotextiles in slight tension free of kinks, folds, wrinkles or creases.  Use wire staples or anchor pins as needed to hold filtration geotextiles in place until covered.  Do not displace or damage filtration geotextiles while placing rip rap.  When shown in the plans, install 6" diameter perforated subdrain pipes and No. 78M stone at toe of slopes in accordance with 
Article 815-3.

Place rip rap such that the smaller stones are uniformly distributed throughout rip rap.  Install rip rap with mechanical methods and if necessary, by hand to form a well graded, dense, neat layer of rip rap.

When shown in the plans, place filtration geotextiles and 18" of ABC over rip rap at top of slopes.  Compact ABC to 92% of AASHTO T 180 as modified by the Department or to the highest density that can be reasonably obtained.

### 275-4	MEASUREMENT AND PAYMENT

Rock Plating will be measured and paid in square yards.  Rock plating will be measured along the slope faces of rock plated slopes as the square yards of exposed rip rap and if applicable, ABC.  No measurement will be made for portions of rock plating embedded below the ground line.  The contract unit price for Rock Plating will be full compensation for providing, transporting and placing filtration geotextiles, wire staples, anchor pins, rip rap and ABC.  The contract unit price for Rock Plating will be full compensation for undercut excavation to install rock plating on cut slope faces and embed rock plating below the ground line.

Subsurface Drainage will be measured and paid in accordance with Section 815.

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Rock Plating |  | Square Yard |