# DIVISION 7
CONCRETE PAVEMENTS AND SHOULDERS

## SECTION 700

GENERAL REQUIREMENTS FOR 
PORTLAND CEMENT CONCRETE PAVEMENT

### 700-1	DESCRIPTION

Perform the work covered by this section, which includes, but is not limited to, the construction of a single course non-reinforced Portland cement concrete pavement on a prepared base, in accordance with these Standard Specifications and with the lines, grades, thicknesses and typical sections shown on the plans or as directed.

The Department accepts concrete pavement with respect to strength, thickness and ride quality on a lot by lot basis subject to adjusted unit prices as provided in Sections 710 and 720.

Use any combination of equipment that shall effectively perform the necessary construction operations.  Ensure the equipment is at the job site sufficiently ahead of the start of construction operations for the Engineer to examine thoroughly and approve.

Maintain all equipment in a satisfactory operating condition while in use on the work.

Before placing concrete pavement, submit for approval a Process Control Plan addressing all operations necessary in the production and placement of concrete pavement.

### 700-2	CONCRETE PRODUCTION EQUIPMENT

Use batch plants, central mix plants and truck mixers that meet Section 1000.

### 700-3	CONCRETE HAULING EQUIPMENT

Transport concrete to the point of placement either in a truck agitator, a truck mixer operating at agitating speed or in non-agitating equipment meeting the provisions below.  Bottom or belly dump equipment is prohibited.  Provide and secure material covers on the equipment bodies for protection against detrimental environmental conditions.

Prevent the accumulation of hardened concrete in the delivery vehicles.  Discharge all flushing water before charging with the next concrete load.

When using non-agitating hauling equipment, provide bodies which are smooth, watertight, metal containers with rounded internal corners equipped with vibrators and gates to discharge the concrete without segregation or damage.

For concrete hauled in a transit mix (ready mix) truck, use Table 1000-2 to determine the maximum elapsed time.  For concrete hauled in other equipment, the elapsed time shall be 60 minutes or less, unless otherwise approved.  Define the “elapsed time” as the period from first contact between mixing water and cement until the competion of the entire operation including placing, finishing, micro-surfacing and any necessary corrective work.

Deliver the concrete to the work site in a thoroughly mixed and uniform mass.

If at discharge, the concrete is not thoroughly mixed and homogeneous, the hauling distance, charging sequence, size of load, mixing time or any combination thereof shall be altered to meet these requirements; otherwise, use other equipment capable of delivering a thoroughly mixed and uniform concrete mass.

### 700-4	PREPARATION OF SUBGRADE AND BASE

Prepare the subgrade and base beneath Portland cement concrete pavement in accordance with the applicable sections of these Specifications and with a grading tolerance of ± 1/4" from the established grade on mainline lanes and a grading tolerance of ± 1/2" in all other areas.  Use approved automatically controlled grading and paving equipment to produce final subgrade and base surfaces meeting the lines, grades and cross sections required by the plans or as directed.  When in the judgment of the Engineer the use of such equipment is impractical, this requirement will be waived.

Dampen the surface of the base at the time the concrete is placed.  Sprinkle the base when necessary to provide a damp surface.  Ensure that no free water or ponding is present at the time of concrete placement.  Correct all damaged areas in the subgrade or base before placing concrete.

Do not allow traffic on the underlying asphalt courses other than necessary local traffic and essential construction equipment as authorized by the Engineer.

Unless otherwise approved, use and maintain a braided metal cable stringline reference to control the profile and alignment of the concrete pavement.  Monitor the stringline for accuracy and tautness.  Set pins at a distance no farther than 50 ft apart.  When located on a vertical curve, set pins no farther than 25 ft apart.

### 700-5	PLACING CONCRETE

- General

Use a slip form paver to place concrete except where impractical due to irregular areas or areas of existing pavement adjacent to the proposed pavement.

Place concrete only in the presence of the Engineer or his authorized representative.

Handle concrete so as to prevent segregation and keep free from mud, soil or any other foreign matter.

Where finishing operations must be completed after dark, provide acceptable artificial light in accordance with Section 1413.

Do not pave when any of the following conditions exist:

  - A descending air temperature in the shade and away from artificial heat reaches 35°F.  Do not resume paving until an ascending air temperature in the shade and away from artificial heat reaches 35°F.

  - The subgrade or base course is frozen.

  - Aggregates to be used in the mix contain frozen particles.

  - Air temperature in the shade is 90°F and rising or the concrete temperature is greater than 95°F.

Where additional pavement, aggregate or soil must be placed adjacent to new pavement by machine methods, do not place it until the concrete has attained a compressive strength of at least 3,500 psi.

Construction equipment or hauling equipment will not be allowed over the pavement until the concrete has attained a compressive strength of 3,500 psi.

Spread the concrete uniformly over the entire area without segregation.  Perform the spreading with a mechanical spreader independent of the paver except where hand methods are necessary due to pavement design, equipment breakdown or other emergencies.

- Slip Form Paver Method

Use a slip form paver that is an approved self-propelled machine(s) designed to spread, consolidate, screed and float finish the concrete in one complete pass of the machine to provide a smooth, dense and homogeneous pavement with minimal hand finishing.  Use a slip form paver equipped with forms of sufficient length and rigidity to support the edges of the slab to minimize hand finishing.  Use slip form pavers equipped with both horizontal and vertical automatic controls.  Operate the paver with continuous forward movement and coordinate all operations of mixing, delivering and spreading the concrete to provide uniform progress and minimize stopping and starting of the paver.

Provide concrete that has sufficient cohesion to prevent appreciable slumping at the edges of each slab.  Longitudinal straight edge tolerance of 1/4" in 10 ft shall apply to the area within 6" of the edge.  Edge slump shall be limited to no more than 1/4".

- Fixed Form Method

Apply this section to all paving operations where a slip form paver is not being used.

Use forms made of metal and of such section and design that they will adequately support the concrete and the construction equipment.

Use forms that have a depth not less than the edge thickness of the pavement to be constructed and not more than 1" greater than the edge thickness of the pavement to be constructed.  Use a form which has the base width at least equal to the height of the form.

Use a form in which the top face does not vary from a true plane more than 1/8" in 10 ft and the upstanding leg does not vary more than 1/4".

Use straight forms that have at least 3 pin pockets per 10 ft in length and at least 2 pin pockets per 5 ft in length.

Use form pins that are metal and capable of holding the forms rigidly in place during construction operations.  The Engineer may require pinholes in the base to be sealed before placing subsequent pavement.

Connect the form sections by a locking joint that will keep the forms free from vertical and horizontal movement.

Use straight forms 10 ft in length on tangents and on curves having a radius of 200 ft or more.  For curves having a radius of between 50 ft and 200 ft use either straight forms 5 ft in length or flexible forms.  Use flexible forms for curves having a radius of less than 50 ft.

Clean all forms before they are set.  Oil all forms before placing concrete.  Check the bearing of the forms and correct all areas of inadequate bearing.

Remove all rejected forms immediately from the project.

Set forms a sufficient distance in advance of the point where the concrete is being placed to provide for a continuous operation in placing the concrete and for proper inspection of line and grade.

All forms used for construction joints shall meet this section except provisions shall be made for inserting dowel bars where required.

### 700-6	VIBRATING CONCRETE

Uniformly vibrate the concrete after it has been spread.  Consolidate the full width and depth of the Portland cement concrete in a single pass.

Vibrators for full width vibration of concrete may be either the surface pan type or the internal type with either immersed tube or multiple spuds.  Attach the vibrators to the spreader or the finishing machine, or mount the vibrators on a separate carriage.

Furnish an electronic vibrator monitoring device, displaying the operating frequency of each individual vibrator on the paving equipment.  Operate the electronic vibrator monitoring device in areas where the mainline, ramp or loop pavement exceeds 600 ft in length.  Record the time, station location, paver track speed and operating frequency of each individual vibrator after every 25 ft of paving or after each 5 minute time interval has elapsed.  Provide a report of the vibrator data to the Engineer daily for the first 3 days of paving and weekly thereafter.  The Engineer may determine that more frequent submissions are necessary, particularly if equipment is malfunctioning.

Set the internal vibrators to approximately mid slab depth and provide a locking device to avoid contact with any joint, load transfer device, tie bar, subgrade or side form.  Provide an operating position locking device so that no part of the vibrating unit can be lowered to the extent that it will come in contact with dowel bars, dowel bar assemblies or tie bars while paving.

Set the horizontal spacing of vibrators to the manufacturer's recommendations, but in no case exceed 16" from center to center.

Operate internal and spud vibrators within a frequency range of 3,500 to 8,000 vpm and surface vibrators within a frequency range of 3,500 to 6,500 vpm.  Operate vibrators to avoid separation of the mix ingredients.  A reduction in vibrator frequency may be required when the forward motion of the paver is reduced to avoid separation of the mix.  Either discontinue the use or remove from contact with the concrete, the machine mounted vibrators, whenever the forward motion of the machinery is stopped.

Should the electronic monitoring device fail to operate properly, immediately check the vibrators manually in the presence of the Engineer or his representative.  If the vibrators are functioning properly, paving may continue.  Repair the monitoring device within 3 production days or suspend paving.

### 700-7	FINISHING

Finish concrete pavement or concrete shoulders in accordance with Article 710-6 or 720-7, respectively.  Do not use excessive water for finishing.

### 700-8	PROTECTION OF PORTLAND CEMENT CONCRETE PAVEMENT

- General

Protect the Portland cement concrete pavement from environmental conditions.  Remove and replace concrete pavement damaged as a result of environmental conditions.

Use protective covering that will protect the surface of the freshly placed pavement from rain or cold weather readily available each day at the location of each proposed day's operation before beginning work.  Store an adequate quantity of these materials at the paving train.

- Cold Weather

When the temperature is anticipated to drop below 35°F within any 24 consecutive hours of the curing period, defined in Subarticle 700-9(A), insulate the Portland cement concrete pavement to prohibit the concrete from cooling at a rate greater than 5°F per hour and prevent the surface temperature from dropping below 35°F during the curing period.

- Hot Weather

When the anticipated daily high temperature is above 90°F, place the concrete at the coolest temperature practical.  Control concrete temperatures to assure proper placing, consolidation, finishing, curing and to prevent plastic shrinkage cracking.

- Rain

When rain appears imminent, stop all paving operations, and ensure all available personnel protect the surface of the unhardened concrete.  Failure to properly protect the concrete pavement may constitute cause for removal and replacement of the damaged pavement.

### 700-9	CURING

- General

Immediately after finishing operations have been completed and surface water has disappeared, cover all exposed surfaces of the pavement by one of the methods herein.

Apply the selected curing method to the edges of the pavement immediately after the forms are removed.

Use a curing period of 3 curing days for straight cement mix designs and 7 curing days for pozzolan mix designs.  Define a “curing day” as any consecutive 24 hour period, beginning when the manipulation of each separate mass has been completed, during which the air temperature adjacent to the mass does not fall below 40°F.

- Membrane Curing Compound

After final finish and immediately after the free surface moisture has disappeared, use a minimum application rate of 0.0067 gal/sf when the application equipment is mechanically operated.  Provide an inline flow-metering device to ensure the proper application rate is provided.  Apply the curing compound such that puddling or ponding does not occur on the fresh concrete surface.

Use mechanically operated application equipment designed to apply a uniformly agitated continuous flow of the curing compound at the prescribed rate to all concrete surfaces.

Hand spraying shall only be permitted for irregular widths or shapes and surfaces exposed by removal of forms.  The rate of application for these areas shall be 0.01 gal/sf.

Do not expose newly placed concrete for more than 30 minutes before being covered with curing compound.  Failure to cover the surfaces of the concrete shall be cause for immediate suspension of the paving operation.

Protect the membrane curing compound film at all times during the curing period and repair any damage immediately.  Ensure a sufficient amount of polyethylene film, burlap or other approved material is available to provide for protection of the concrete during rain or when the application equipment fails to apply the curing compound uniformly to all surfaces.

Reapply curing compound to any concrete surfaces that received heavy rainfall within 3 hours after initial application.

- Polyethylene Film

Spread the sections of the film in a manner that will not damage the finished pavement surface. Securely tape or provide lap joints for the sections that are at least 12" wide, and take suitable precautions to prevent the circulation of air beneath the film.  Cover all exposed surfaces and beyond the edge of the pavement surface.

Use black or dark plastic sheets when the daily high ambient temperature is between 40°F and 60°F.  Use white opaque reflective plastic sheet when the daily ambient temperature is above 60°F.  Plastic sheets will meet ASTM C171.

Check the film for damage when it is spread and during the curing period.  Repair or replace any damaged sections immediately.

- Burlap

Spread the sections of burlap in a manner that will not damage the finished pavement surface.  Provide lap joints that are at least 6" wide.

Use an amount of burlap that is not less than 12 oz. per running yard based on a 40" width.  Use either one layer of Class 4 burlap or 2 layers of Class 1, 2 or 3 burlap.

Saturate the burlap thoroughly before placing on the concrete and keep thoroughly wet throughout the curing period.

### 700-10	REMOVING FORMS

Do not remove forms from freshly placed concrete for at least 12 hours after placement and until the concrete has hardened sufficiently to resist spalling, cracking or any other damage.  Repair any honeycombed areas along the sides or edges of the slab by filling with mortar immediately after the forms have been removed.  Use mortar consisting of one part cement to 2 parts fine aggregate.

### 700-11	JOINT CONSTRUCTION

- General

Construct all joints in accordance with these Standard Specifications and the details shown on the plans.  Saw all transverse joints and seal them with joint sealer in accordance with the dimensions and details shown in the contract.  Seal joints in accordance with Article 700-12.

Use an early entry dry-cutting sawing system.  Ensure an adequate amount of sawing equipment is available to match the production and concrete paving operations.  At least one standby sawing unit is recommended.  Construct the joint groove using a 1/8" saw blade to a minimum depth of 4" or the design thickness divided by 3 whichever is less.  Perform sawing as soon as the concrete has hardened sufficiently without undercutting, spalling and raveling to control random cracking.  Complete all saw cutting before 7 hours has elapsed from the time of concrete placement.

Saw the concrete pavement as soon as it can support the weight of the equipment and operator without disturbing the final finish.  Saw joints in a neat, vertical straight line without chipping, spalling, tearing or disturbing the final finish.

Immediately after sawing the joint to the dimensions shown on the plans, completely remove the resulting slurry from the joint without damaging the adjacent concrete.  Immediately reapply curing membrane to areas damaged by the sawing operation.

Deviations from the method of joint construction specified in the contract requires prior approval in writing.  Such approval is conditional and is subject to obtaining satisfactory results.

The Engineer may order any concrete pavement or shoulder where uncontrolled cracking has occurred before final acceptance to be removed and replaced at no cost to the Department.  Where permitted, the Contractor may be allowed to repair the cracking in a manner acceptable to the Engineer.

Before placing either concrete pavement or concrete shoulders adjacent to a previously placed pavement, cover the transverse joint opening on the edge of the existing slab to prevent intrusion of grout into the opening.

- Transverse Contraction Joints

Construct transverse contraction joints in accordance with the details, dimensions and intervals as shown on the plans.

- Longitudinal Contraction Joints

Construct longitudinal contraction joints in all pavements wider than 16 ft in accordance with the details and dimensions shown on the plans.

- Transverse Construction Joints

  - General

Construct transverse construction joints by use of an approved form at the end of each day's operations (planned joint) or whenever the placing of concrete is suspended for more than 30 minutes (emergency joint).

  - Planned Transverse Construction Joints

Locate this type of joint at the same spacing required for contraction joints.  Use dowel bars of the size and spacing shown on the plans.

  - Emergency Transverse Construction Joints

Use this type of joint when the placing of concrete is suspended for more than 30 minutes.  Use tie bars of the size and spacing shown on the plans.

Do not change the spacing of contraction joints due to emergency construction joints.  Locate the emergency construction joints at least 6 ft from any contraction joint or planned construction joint.

- Longitudinal Construction Joints

Construct longitudinal construction joints using tie bars in accordance with the details shown on the plans.

- Transverse Expansion Joints

Construct transverse expansion joints in accordance with the details shown on the plans utilizing an approved joint assembly.

- Verification of Dowel Bar Alignment

Use either properly secured dowel baskets or a dowel bar inserter, provided the ability to correctly locate and align the dowels at the joints is demonstrated as described below.

Provide a calibrated magnetic imaging device that will document dowel bar location and alignment.  Calibrate the magnetic imaging device to the type and size dowel bar used in the work.  Use this device as a process control and make necessary adjustment to ensure the dowels are placed in the correct location.

Scan at least 25% of the joints in the initial placement or 1.0 mile of pavement, whichever is greater, at random intervals, as selected by the Engineer, throughout the pavement each time the paving train is mobilized.  Mark scanned joints on the pavement.

Scan all joints in this initial placement if the dowel bars exhibit longitudinal translation (side shift), horizontal translation, vertical translation (depth), horizontal skew or vertical tilt, above the allowable tolerances defined below.  In addition, continue scanning no less than 25% of the joints until it is established that the dowel bar inserter or secured dowel basket assemblies are consistently placing the dowel bars at the correct location and meeting the tolerances defined in Table 700-1.  Once the engineer determines that consistency is established, the contractor may reduce the percentage of scanned joints to no less than 10%.  Any time inconsistency in the placement of the dowel bars becomes evident, additional scanning may be required up to 100% of the joints.  Materials and Tests Unit will provide Quality Assurance and random verification scans during the initial concrete placement to verify the Contractor’s scan results.  The QA frequency will be at least 10% of the Contractor’s scan.

If consistency of the proper dowel bar alignment cannot be established within a reasonable time frame, the Engineer will have the option of suspending the paving operation.

Provide a report of the scanned joints within 48 hours of completing the day’s production.  The report should include the station and lane of the joint scanned, as well as the horizontal location, depth, longitudinal translation (side shift), horizontal skew and vertical tilt, of each dowel bar in the joint.  If a dowel bar inserter is used, the joint score described below should also be provided in the report.

Longitudinal translation (side shift) is defined as the position of the center of the dowel bar in relation to the sawed joint.  The maximum allowable longitudinal translation (side shift) is 2".

Horizontal translation is defined as difference in the actual dowel bar location from its theoretical position as detailed in the standard details.  The maximum allowable horizontal translation is 2".

Vertical translation (depth) is the difference in the actual dowel bar location from the theoretical midpoint of the slab.  The maximum allowable vertical translation is 1/2" higher than the theoretical midpoint and 1" lower than the theoretical midpoint.

Dowel bar misalignment, either vertical tilt or horizontal skew is defined as the difference in position of the dowel bar ends with respect to each other.  Vertical tilt is measured in the vertical axis whereas horizontal skew is measured in the horizontal axis.

If a dowel bar inserter is used, determine a joint score for each joint scanned.  The joint score is a measure of the combined effects from the dowel’s horizontal skew or vertical tilt.  The joint score is determined by summing the product of the weight shown in the Table 700-1 and the number of bars in each misalignment category and adding one.  The vertical tilt and horizontal skew should be evaluated and the greater misalignment shall be used in determining the joint score.  If 2 lanes are poured simultaneously, the joint score is calculated for the 24-ft section.

| TABLE 700-1 TOLERANCE FOR DOWEL BAR ALIGNMENTA |
| --- |
| Misalignment Category, mm | Weight |
| 0 ≤ d ≤ 15 | 0 |
| 15< d ≤ 20 | 2 |
| 20< d ≤ 25 | 4 |
| 25 < d ≤ 38 | 5 |
| 38 ≤ d | 10 |

- Where d is the individual dowel bar misalignment.

A joint that has a joint score of 10 or greater will be considered locked.

When a locked joint as defined above is discovered, scan the 2 joints immediately adjacent to the locked joint.  If either of the adjacent joints are deemed to be locked, provide a written proposal to address the dowel misalignment for each locked joint.  No corrective action should be performed without written approval.

### 700-12	SEALING JOINTS

- General

Seal all joints with an approved low modulus silicone sealant in the presence of the Engineer.

Install backer rod and sealant in accordance with the details shown in the plans and the manufacturer’s recommendations.

Any failure of the joint material will be cause for rejection.  Repair the failed joint material as approved by the Engineer.

When requested, have a representative of the silicone sealant manufacturer present on the project during the sealing operation.

- Age of Pavement

Do not seal the joints until the concrete is at least 14 calendar days old.

Do not perform final sawing and sealing of concrete pavement joints until after surface testing, correction of surface deficiencies and all adjacent earth and paved shoulder construction has been completed.

- Temperature

Do not place joint sealant when the air temperature near the joint is less than 45°F or is 45°F and falling.

- Sealing the Joint

Immediately after sawing the joint to the dimensions as shown on the plans, completely remove the resulting slurry from the joint by flushing with a jet of water under pressure.  Use sand blasting to clean joint faces before applying sealant.  Make as many passes with a sand blaster as are necessary to provide a clean joint wall.

Blow all joints clear of deleterious materials with air using a nozzle pressure of at least 90 psi before installing the backer rod.  Use rotary screw compressors for this purpose that are equipped with traps capable of removing water and oil from the air.  Maintain the traps in accordance with manufacturer's instructions.

Apply sealer only on thoroughly clean and dry joints.  Place the sealer to closely conform to dimensions shown on the plans.  Any unreasonable deviation will be cause for rejection.

- Cleaning Pavement

After a joint has been sealed, remove surplus joint sealer on the pavement as soon as possible.

### 700-13	USE OF NEW PAVEMENT OR SHOULDER

Traffic or other heavy equipment will not be allowed on the concrete pavement or shoulder until the estimated compressive strength of the concrete using the maturity method has exceeded 3,500 psi, unless otherwise permitted.  Estimate the compressive strength of concrete pavement in accordance with ASTM C1074 unless otherwise specified.

Furnish thermocouples or thermistors and digital data logging maturity meters that automatically compute and display the maturity index in terms of a temperature-time factor (TTF).  The maturity meters must be capable of storing at least 28 days worth of data and exporting data into an Excel® spreadsheet.  Submit the proposed equipment to the Engineer for approval.

When establishing a strength-maturity relationship, perform compressive tests at ages 1, 3, 7, 14 and 28 days in accordance with AASHTO T 22.

Use the TTF maturity function to compute the maturity index from the measured temperature history of the concrete.  Set the datum temperature at - 10(C to calculate the TTF in Equation 1 of ASTM C1074.

Establish and submit a strength-maturity relationship in conjunction with each concrete pavement mix design.  Determine the TTF corresponding to the strength-maturity relationship at 3,500 psi, TTF.  Any changes to plant operations, material sources or mix proportions will affect the strength-maturity relationship.  If any changes occur during production, develop a new strength-maturity relationship unless otherwise directed.

Verify the strength-maturity relationship during the first day’s production.  Use the TTF developed at mix design TTF to verify the production strength-maturity relationship.  Verify the strength-maturity relationship at least every 10 calendar days or when production is suspended for more than 10 days.  If the verification sample’s compressive strength when tested at TTF is less than 3,500 psi, immediately suspend early opening of traffic on pavement that has not obtained TTF until a new strength-maturity relationship is developed.

No permanent traffic will be allowed on the pavement until construction of the joints, including all sawing, sealing and curing that is required, has been completed.

Take particular care to protect the exposed pavement edges and ends.

### 700-14	CONTRACTOR'S RESPONSIBILITY FOR PROCESS CONTROL

Perform process control sampling and testing of concrete materials and operations in accordance with Article 1000-3.  The Contractor's roadway foreman and all personnel involved in the batching, sampling, testing and acceptance of Portland cement concrete pavement shall be Department certified Portland cement concrete pavement technicians.

### 700-15	ACCEPTANCE TESTS FOR CONCRETE

- Responsibility

The Engineer will conduct acceptance sampling and testing of concrete.  Provide access to all materials to be sampled and tested.  The following tests will be performed on both concrete pavement and concrete shoulders to determine acceptance.

- Lot Definition

A lot for acceptance purposes is defined and described in Article 710-4.

- Air Content

The air content of the concrete will be determined on the roadway at a frequency established by the Engineer and in accordance with Subarticle 1000-3(B).  The sample taken for determination of air content will be obtained immediately after the concrete has been discharged on the road.

Concrete failing to meet specification requirements for air content will be subject to rejection.

- Slump

The slump of the concrete will be determined in accordance with AASHTO T 119 at a frequency established by the Engineer.  The sample taken for determination of slump will be obtained immediately after the concrete has been discharged on the road.

When the slump of the concrete is questionable by visual observation, do not place the concrete on the road until tested for slump by the Engineer.

Concrete failing to meet specification requirements for slump will be subject to rejection.

- Compressive Strength

Determine the compressive strength of concrete using one set of two 6" x 12" cylinders at 28 calendar days.  Test samples will be made by the Engineer from the concrete as it comes from the mixer.  The samples will be made and cured in accordance with AASHTO T 23.  Test specimens will be tested by the Engineer in accordance with AASHTO T 22.  Furnish curing facilities for the test samples in accordance with Section 725.

- Thickness

The thickness of the pavement will be determined by measurement of cores in accordance with AASHTO T 148.

Take 4" diameter cores in the presence of the Engineer.  The Engineer will take immediate possession of the cores.  Take the cores when the concrete has attained a compressive strength of at least 3,500 psi and at least 72 hours have elapsed since placement of the pavement.  If the concrete has not attained a compressive strength of at least 3,500 psi, the gross vehicle weight rating of vehicles supporting the coring operation may not exceed 7,000 lb.  Take cores no later than 30 days after the pavement has been placed.  The core locations for each lot will be selected at random by the Engineer.

Patch all core holes within 72 hours of taking the core, using an approved nonshrink grout compatible with the pavement or shoulder concrete.

- Surface Smoothness

Perform acceptance testing for surface smoothness on concrete pavements in accordance with Article 710-7.  The Engineer will have a representative present during all testing and will take possession of the results at the completion of each day’s testing.

### 700-16	MEASUREMENT AND PAYMENT

Remove and repair defects and damage to underlying asphalt course, Portland cement concrete and joints at no cost to the Department.

## SECTION 710

CONCRETE PAVEMENT

### 710-1	DESCRIPTION

Perform the work covered by this section, including, but not limited to, designing the concrete mix; furnishing and placing concrete; furnishing of all admixtures and additives; constructing all joints and furnishing joint materials; marking the pavement; curing the pavement and furnishing all curing materials; furnishing concrete necessary for making test beams and cylinders; performing maturity testing; coring and patching the pavement; calibrating and checking the operation of batching equipment; taking actions necessary to prevent or to repair cracking; sawing and sealing joints; verifying dowel bar alignment; removing and replacing of defective pavement; and constructing Portland cement concrete pavement in accordance with these Standard Specifications and with the lines, grades and dimensions shown on the plans.

### 710-2	MATERIALS

Refer to Division 10.

| Item |  | Section |
| --- | --- | --- |
| Curing Agents | 1026 |
| Dowels and Tie Bars | 1070-6 |
| Joint Filler | 1028-1 |
| Low Modulus Silicone Sealant | 1028-3 |
| Portland Cement Concrete | 1000 |
| Water | 1024-4 |

### 710-3	COMPOSITION OF CONCRETE

Design the concrete mix in accordance with Section 1000.

Before placement, produce a trial batch through the plant.  The Engineer will make compressive and flexural samples from the trial batch for testing at 1, 3, 7, 14 and 28 days of age.  Until the trial batch meets 650 psi flexural strength and 4,500 psi compressive strength, the Engineer will make acceptance samples for flexural and compressive tests for mix placed.  If the trial batch test results meet strength requirements, flexural samples representing placed concrete will be discarded, and compressive samples will be used for acceptance.  If the trial batch does not meet strength requirements, flexural samples will be used for acceptance until plant produced mix meets strength requirements.

If any major change as defined in Section 1000-3 is made to the mix design, this process shall be initiated again.

### 710-4	ACCEPTANCE OF CONCRETE

The Department will test the concrete pavement for acceptance with respect to compressive strength and thickness on a lot by lot basis in accordance with Article 700-15 and the requirements herein.

For all concrete pavement, including mainline, shoulders, ramps, tapers, intersections, entrances, crossovers and irregular areas not otherwise defined, produce a lot consisting of 1,333.3 sy or fraction thereof placed within 28 calendar days.  From each lot, the Engineer will make at least one set of two 6" x 12" cylinders from a randomly selected batch of concrete.  The average compression strength of the 2 cylinders is considered one test.  If Department personnel make and test additional sets of cylinders for a lot, all sets will be averaged with the original set to determine the strength.  In the case of low strength, the Engineer will perform an investigation.

### 710-5	CONSTRUCTION METHODS

Construct concrete pavement in accordance with Section 700.

Place concrete in 2 lane minimum widths in a single operation except as follows:

- Where the total number of lanes is an odd number, in which case one of the lanes may be placed in a separate operation.

- Areas such as ramps or auxiliary lanes where the total width is less than 2 lanes.

### 710-6	FINISHING

Screed and float finish the concrete to the required cross section that minimizes or eliminates hand finishing.  Additional water for finishing will not be allowed.  Hand finishing will not be permitted except under the following conditions:

- Narrow widths or irregular areas, where operation of mechanical equipment is impractical.

- If a breakdown of mechanical equipment occurs, hand methods may be used to finish only that concrete deposited on the base before the breakdown.

- Abnormal circumstances of short duration subject to approval.

Produce a final finish on the pavement surface true to grade and uniform in appearance and free of irregular, rough or porous areas.

Following the finishing of the pavement by screeding, floating and checking with straightedges, further finish the surface of the pavement by burlap dragging or other acceptable method to produce a uniform surface texture.  Pull the burlap drag in a longitudinal direction.

Produce the final surface finish on all mainline pavement, auxiliary lanes and ramps by mechanical equipment for grooving plastic concrete which uses spring steel tines.  Hand finishing may be permitted when the use of mechanical equipment is impractical.  Use mechanical equipment that produces transverse grooves that are spaced at random intervals of 1/2", 5/8" or 3/4" center to center.  Do not overlap adjacent grooving.  Produce grooves in the hardened surface, which are 0.08" to 0.12" wide and 0.15" to 0.25" deep.

After final finishing, hand finishing may be required on the edges of pavement and joints whenever irregularities in surface texture or alignment occur.  Care should be taken in hand finishing pavement edges to avoid ridges or high places that will prevent water from draining out of the transverse grooves.

The use of excessive water during the finishing operations will not be permitted.

Provide a textured surface with an average texture depth of 0.8 mm as tested in accordance with ASTM E965 with no single test having a texture depth of 0.5 mm or less.  The Engineer will perform 4 randomly located tests in accordance with ASTM E965 within the initial pavement lot of each mobilization.  A “lot” is defined in Article 710-4.  If the average of the 4 tests does not meet the above criteria, make appropriate changes to the surface texture operations and test the next lot as detailed above.  Once the surface texture process is established to meet minimum texture requirements, maintain consistency within the operation to provide the above minimum texture depth.  Perform additional sand patch tests in accordance with ASTM E965 when directed.

If the surface texture becomes damaged or reduced by rain or any other action, reestablish or restore surface texture by an approved method.

### 710-7	FINAL SURFACE TESTING

Use an Inertial Profiler to measure the longitudinal pavement profile for construction quality control and smoothness acceptance.  Use a profiler with line laser technology as single-point laser technology will not be allowed.  Produce International Roughness Index (IRI) and Mean Roughness Index (MRI) values for measuring smoothness.

Use testing and recording software to produce electronic inertial road profiles in a format compatible with the latest version of FHWA’s ProVAL (Profile Viewing and Analysis) software.

The Inertial Profiler shall be calibrated and verified in accordance with the most current version of AASHTO M 328.  Provide certification documentation that the profiler meets AASHTO M 328 to the Engineer before the first day the Inertial Profiler is used on the project.

Configure the profiler to record the actual elevation of the pavement surface.  Do not use the profiler’s internal IRI calculation mode.  The profile data shall be filtered with a cutoff wavelength of 300 ft.  The interval at which relative profile elevations are reported shall be 1".

Provide IRI data in accordance with most current version of ASTM E1926.  Use personnel trained to record and evaluate IRI data.

Provide a competent operator, trained in the operation of the Inertial Profiler.  Operation of the Inertial Profiling system shall conform to AASHTO R 57.

Provide the user selected Inertial Profiler settings to the Engineer for the project records.  Certification of the Inertial Profiling system shall conform to AASHTO R 56.

Remove all objects and foreign material on the pavement surface prior to longitudinal pavement profile testing.

Operate the profiler at any speed as per the manufacturer’s recommendations, however, the speed must be constant to within ± 3 mph of the intended speed and any required acceleration should be as gradual as possible.  For example, if the intended speed were 30 mph, the acceptable range of speed for testing would be 27 to 33 mph.

Operate the Inertial Profiler in the direction of the final traffic pattern.  Collect IRI data from both wheel paths during the same run.  It is permissible to collect data one wheel path at a time if each wheel path is tested and evaluated separately.  Define a “wheel path” as the 3 ft from the edge of the travel lane.  MRI values are the average of the IRI values from both wheel paths.  When using an inertial profiler that collects a single trace per pass, take care to ensure that the measurements from each trace in a travel lane start and stop at the same longitudinal locations.  Unless otherwise specified, multiple runs are not necessary for data collection.

Operate the automatic triggering method at all times unless impractical.  A tape stripe or traffic cone wrapped with reflective material may be used to alert the profiler’s automatic triggering sensor to begin data collection.  The profiler shall reach the intended operating speed before entering the test section.  The runup and runout distances should be sufficient to obtain the intended operating speed and to slow down after testing is completed.

Divide the pavement surface for the project into sections which represent a continuous placement (i.e. the start of the project to bridge, intersection to intersection).  Terminate a section 50 ft before a bridge approach, railroad track, or similar interruption.  (Separate into 0.10-mile sections).

The evaluation of the profiles will be performed on a section basis.  A section is 0.10 mile of a single pavement lane.  For any section, which is less than 0.10 mile in length, the applicable pay adjustment incentive will be prorated on the basis of the actual length.

Mark the limits of structures and other special areas to be excluded from testing using the profiler’s event identifier such that the exact locations can be extracted from the profile data file during processing.

Unless otherwise authorized by the Engineer, perform all smoothness testing in the presence of the Engineer.  Perform smoothness tests on the finished surface of the completed project or at the completion of a major stage of construction as approved by the Engineer. Coordinate with and receive authorization from the Engineer before starting smoothness testing.  Perform smoothness tests within 7 days after receiving authorization.  Any testing performed without the Engineer’s presence, unless otherwise authorized, may be ordered retested at the Contractor’s expense.

After testing, transfer the profile data from the profiler portable computer’s hard drive to a write once storage media (DVD-R or CD-R) or electronic media approved by the Engineer.  Label the disk or electronic media with the Project number, Route, file number, date, and termini of the profile data.  Submit the electronic data on the approved media to the Engineer immediately after testing and this media will not be returned to the Contractor.

Submit documentation and electronic data of the evaluation for each section to the Engineer within 10 days after completion of the smoothness testing.  Submit the electronic files compatible with ProVAL and the evaluation in tabular form with each 0.10-mile segment occupying a row.  Include each row with the beginning and ending station for the section, the length of the section, the original IRI values from each wheel path, and the MRI value for the section.  Each continuous run for a section will occupy a separate table and each table will have a header that includes the following: the project contract number, county, the roadway number or designation, a lane designation, the dates of the smoothness runs, and the  beginning and ending station of the continuous run.  Summarize each table at the bottom.

Traffic control and all associated activities included in the pavement smoothness testing of the  pavement surface will be the responsibility of the Contractor.

- Acceptance for New Construction

IRI and MRI numbers recorded in inches per mile will be established for each 
0.10-mile section for each travel lane of the finished pavement surface designated by the Contract.

Areas excluded from testing by the profiler will be tested by the Contractor and the Engineer using a 10-ft stationary straightedge furnished by the Contractor.  Any location on the pavement selected by the Department shall be tested as well as all transverse joints.  Apply the straightedge parallel to the centerline of the surface.  Do not exceed 1/8" variation of the surface being tested from the edge of the straightedge between any 2 contact points.  Correct areas found to exceed this tolerance by removal of the defective work and replacement with new material, unless other corrective measures are permitted.  Provide the work and materials required in the correction of defective work.

Table 710-1 provides the acceptance quality rating scale of pavement based on the final rideability determination.

| TABLE 710-1 MRI PRICE ADJUSTMENT PER 0.10-MILE SECTION |
| --- |
| MRI after Completion (Inches Per Mile) | Price Adjustment Per Lane (0.10-Mile Section) |
| 45.0 and Under | $200.00 |
| 45.1-55.0 | PA = 600 – (10 * MRI) |
| 55.1-70.0 | Acceptable (No Pay Adjustment) |
| 70.1-90.0 | PA = 650 – (10 * MRI) |
| Over 90.1 | Corrective Action Required |

This price adjustment will apply to each 0.10-mile section based on the Mean Roughness Index (MRI), the average IRI values from both wheel paths.

When corrections to the pavement surface are required, the Engineer shall approve the Contractor’s method of correction.  Methods of correction shall be diamond grinding, remove and replace, or other methods approved by the Engineer.  To produce a uniform cross section, the Engineer may require correction to the adjoining traffic lanes or shoulders.  Corrections to the pavement surface, the adjoining traffic lanes and shoulders will be at no cost to the Department.

Where corrections are made after the initial smoothness testing, the pavement will be retested by the Contractor to verify that corrections have produced the acceptable ride surface.  No incentives will be provided for sections on which corrective actions have been required.  The Contractor will have one opportunity to perform corrective action(s).

- Localized Roughness

Areas of localized roughness shall be identified through the “Smoothness Assurance Module” provided in the ProVAL software.  Use the “Smoothness Assurance Module” to optimize repair strategies by analyzing the measurements from profiles collected using inertial profilers.  The ride quality threshold for localized roughness shall be 125 in/mile at the continuous short interval of 25 ft.  Submit a continuous roughness report to identify sections outside the threshold and identify all localized roughness, with the signature of the Operator included with the submitted IRI trace and electronic files.

The Department will require that corrective action be taken regardless of final IRI.  
Re-profile the corrected area to ensure that the corrective action was successful.  If the corrective action is not successful, the Department will assess a penalty or require additional corrective action.

Corrective work for localized roughness shall be approved by the Engineer before performing the work and shall consist of either diamond grinding or other methods approved by the Engineer.  Any corrective action performed shall not reduce the integrity or durability of the pavement that is to remain in place.  Notify the Engineer 5 days prior to commencement of the corrective action.

Localized roughness correction work shall be for the entire traffic lane width.  Pavement cross slope shall be maintained through corrective areas.

### 710-8	PAVEMENT MARKING

Mark the pavement at locations as shown on the plans with station numbers.  Mark the pavement by pressing beveled-face metal dies between 4" and 6" high into the plastic concrete.

At locations where shoulder drain outlets are placed, mark the edge of pavement nearest the outlet with the letters “OL”.  Use the same marking procedure as for station numbers.

### 710-9	THICKNESS TOLERANCES

A lot for thickness acceptance testing is defined in Article 710-4.

To establish an adjusted unit price, if appropriate, for mainline pavement, take one 4" diameter core from each lot at a random location as directed.  Other areas such as intersections, entrances, crossovers and ramps will each be considered as one lot and the thickness of each of these lots will be determined separately.  Small irregular areas may be included as part of another lot.  Take one core for each 1,333.3 sy of pavement or fraction thereof in the lot.

When the measurement of any core, original core or additional cores taken to calculate the average, is less than the plan thickness by more than 1.0", the extent of the removal area due to thickness deficiency will be determined by taking additional exploratory cores at approximately 10 ft intervals parallel to the center line in each direction from the deficient core until an exploratory core is found in each direction which is within 1.0" of the plan thickness.  The pavement between these exploratory cores will be removed full lane width wide and replaced with concrete of the thickness shown on the plans.  Exploratory cores for deficient thickness will not be used in averages for adjusted unit price.

When the measurement of the core from a lot is deficient by 0.2" or less from the plan thickness, no pay reduction will be made for thickness.  When such measurement is deficient by more than 0.2" from the plan thickness, take 2 additional cores at random locations within the lot and calculate the average thickness of the lot from the 3 cores.

In determining the average thickness of the pavement lot, the Engineer will use all 3 core measurements.  Individual core measurements which are greater than the plan thickness + 0.2" will be considered as the plan thickness + 0.2".  Individual cores which are less than the plan thickness - 1.0" will be considered as the plan thickness - 1.0".  If the average measurement of the 3 cores is within 0.2" from the plan thickness, full payment will be made.  If the average measurement of the 3 cores is deficient by more than 0.2" from the plan thickness, an adjusted unit price in accordance with Subarticle 710-10(B) will be paid for the lot represented.

Areas found deficient in thickness by more than 1.0" shall be removed and replaced with concrete of the thickness shown on the plans.  Any full lane or full shoulder width repairs to the concrete pavement shall be performed in accordance with the North Carolina Department of Transportation Partial and Full Depth Repair Manual and not be less than 1/2 of the slab length.

Patch all core holes within 72 hours of taking the core, using a Department approved nonshrink grout compatible with the pavement concrete.

### 710-10	MEASUREMENT AND PAYMENT

- General

The quantity of Portland cement concrete pavement to be paid will be the actual number of square yards of concrete pavement completed and accepted.  In measuring this quantity, the width of the pavement will be as called for on the plans or as directed.  The length will be the actual length constructed, measured along the centerline of the pavement.

Separate measurement will be made of pavement that is deficient in thickness by more than 0.2" and of pavement that is deficient in compressive strength.

The quantities of Portland cement concrete pavement will be paid at the contract unit price per square yard for __" Portland Cement Concrete Pavement, Through Lanes, (with dowels), __" Portland Cement Concrete Pavement, Ramps, (with dowels) or __" Portland Cement Concrete Pavement, Miscellaneous, (without dowels), or if applicable, at such contract unit prices adjusted in accordance with the requirements shown below.  No unit price adjustments on lots will be made until a final determination of the lot strength and depth is made.  Pavement will be classified as through lane, ramp or miscellaneous pavement in accordance with the classification shown on the plans.

Payment for all work of surface testing will be made at the contract lump sum price for Surface Testing Concrete Pavement.  Partial payments for surface testing will be proportional to the percentage of pavement surface tested at the time the partial estimate is prepared.

- Pavement Deficient In Thickness

The quantities of Portland cement concrete pavement which are deficient in thickness by more than 0.2" but not deficient by more than 1.0", measured as provided in 
Article 710-10, will be paid at an adjusted contract unit price per square yard for __" Portland Cement Concrete Pavement, Through Lanes, (with dowels), __" Portland Cement Concrete Pavement, Ramps, (with dowels) or __" Portland Cement Concrete Pavement, Miscellaneous, (without dowels) completed in place and accepted.

The adjusted contract unit price is determined by the following formula, except no pay over 100% will be allowed:

Pay Factor (%) =

Exploratory cores for deficient thickness will not be used in averages for adjusted unit price.  Where pavement deficient by more than 1.0" is removed and replaced, the replacement pavement will be paid at the contract unit price per square yard for __" Portland Cement Concrete Pavement, Through Lanes, (with dowels), __" Portland Cement Concrete Pavement, Ramps, (with dowels) or __" Portland Cement Concrete Pavement, Miscellaneous, (without dowels) which price and payment will be full compensation for all work of placement, removal, restoration of subgrade and base and replacement.

- Concrete Pavement Varying In Strength

One of the following formulas will be used to calculate the concrete pavement pay factor.

  - Compressive Strength

The pay factor for pavement achieving a compressive strength in 28 days of 4,500 psi or greater is 100%.  The pay factor for pavement achieving a compressive strength in 28 days between 3,500 psi and 4,500 psi is determined by the following formula:

Pay Factor (%) = 
(pay factor rounded to nearest 0.1%)

  - Flexural Strength

The pay factor for pavement achieving a flexural strength in 28 days of 650 psi or greater is 100%.  The pay factor for pavement achieving a flexural strength in 28 days between 600 psi and 650 psi is determined by the following formula:

Pay Factor (%) = 
(pay factor rounded to nearest 0.1%)

The quantities of Portland cement concrete pavement that meet these criteria, will be paid at an adjusted unit price per square yard for __" Portland Cement Concrete Pavement, Through Lanes, (with dowels), __" Portland Cement Concrete Pavement, Ramps, (with dowels) or __" Portland Cement Concrete Pavement, Miscellaneous, (without dowels) completed in place and accepted.  The adjusted contract unit price will be determined by multiplying the contract unit price by the pay factor level determined for the average strength of concrete in each lot and will be applicable to the total square yards of concrete in each lot.

Any pavement that fails to attain 3,500 psi in compression is subject to removal.  If allowed to remain in place, the pavement will be accepted at a reduced unit price based on a pay factor level of 50% as provided in Article 105-3.

Where pavement deficient in strength is removed and replaced, the replacement pavement, if acceptable, will be paid at the contract unit price for __" Portland Cement Concrete Pavement, Through Lanes, (with dowels), __" Portland Cement Concrete Pavement, Ramps, (with dowels) or __" Portland Cement Concrete Pavement, Miscellaneous, (without dowels) which price and payment will be full compensation for all work including placement, removal, restoration of subgrade and base and replacement.

- Multiple Adjustments in Price

Pavement found deficient in both thickness and strength will be evaluated by the Engineer to determine if it may be permitted to remain in place.  Pavement permitted to remain in place will be paid at a reduced price determined by successively multiplying the contract price by the appropriate factor indicated for each deficiency.

- Compensation

Payment at the contract unit prices for __" Portland Cement Concrete Pavement, Through Lanes, (with dowels) and __" Portland Cement Concrete Pavement Ramps, (with dowels) and __" Portland Cement Concrete Pavement, Miscellaneous, (without dowels) will be full compensation for all work covered by this section.

Payment at the contract lump sum price for Surface Testing Concrete Pavement will be full compensation for all work of surface testing including, but not limited to, furnishing, maintaining and operating the profilograph and towing equipment; for furnishing graph paper and any other materials and supplies for performing the surface testing; and for repairing membrane curing compound damaged during surface testing.

- Pay Items

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| __" Portland Cement Concrete Pavement, Through Lanes (with dowels) | Square Yard |
| __" Portland Cement Concrete Pavement, Ramps (with dowels) | Square Yard |
| __" Portland Cement Concrete Pavement, Miscellaneous (without dowels) | Square Yard |
| Surface Testing Concrete Pavement | Lump Sum |

## SECTION 720

CONCRETE SHOULDERS

### 720-1	DESCRIPTION

Perform the work covered by this section including, but not limited to, the construction of Portland cement concrete shoulders in accordance with this section and with the lines, grades and dimensions shown on the plans; designing the mix; furnishing and placing the concrete shoulders; furnishing maturity testing equipment; furnishing all admixtures and additives; constructing joints; furnishing joint materials; curing the shoulder and furnishing curing materials; coring and patching core holes; taking actions to prevent or repair cracking; and removing and replacing unsatisfactory shoulder.

### 720-2	MATERIALS

Refer to Division 10.

| Item |  | Section |
| --- | --- | --- |
| Curing Agents | 1026 |
| Dowels and Tie Bars | 1070-6 |
| Joint Filler | 1028-1 |
| Low Modulus Silicone Sealant | 1028-3 |
| Portland Cement Concrete | 1000 |
| Water | 1024-4 |

### 720-3	COMPOSITION OF CONCRETE

Design the concrete mix in accordance with Section 1000.

### 720-4	ACCEPTANCE OF CONCRETE

The Engineer will test concrete shoulders for acceptance with respect to compressive strength and thickness on a lot by lot basis.  A “lot” is defined in Article 710-4.

### 720-5	EQUIPMENT

Use equipment in the production and placement of the concrete shoulders in accordance with Section 700 and Section 1000.

### 720-6	CONSTRUCTION METHODS

Place the concrete shoulders only in the presence of an authorized representative of the Engineer.  Construct concrete shoulders in accordance with Section 700.

Place the full width of the shoulder in a single operation.

### 720-7	FINISHING

Finish the shoulder surface with approved equipment.  Hand finishing will be permitted when the use of mechanical finishing equipment is impractical.

Perform the final finishing of the shoulder surface by burlap dragging, brooming or other acceptable methods that will produce a similar surface texture acceptable to the Engineer.

### 720-8	JOINTS

Construct and seal all joints in accordance with Articles 700-11 and 700-12 except as provided in this article.  Saw all joints in the concrete shoulder and seal with joint sealer as shown in the plans.

Dowels will not be required at the transverse joints in the concrete shoulder.  Use tie bars between the concrete pavement and the concrete shoulder.

Match the transverse joints in the concrete shoulder with the transverse joints in the adjacent concrete pavement.

### 720-9	THICKNESS TOLERANCES

The Engineer will determine the thickness of the shoulder by measurement of cores in accordance with AASHTO T 148.  A lot for thickness acceptance testing is defined in Article 710-4.

Take one 4" core from each lot at a random location as directed.  Core each location in the presence of the Engineer.  The Engineer will take immediate possession of the cores.  Take cores with a diameter of 4" and deliver them to the Engineer for measurement.  When the required thickness for the shoulder varies, each core will be measured and compared to the required thickness for the shoulder at the location of the core.  The deviation of the measured core thickness from the required thickness will be recorded as a plus or minus value for each core.  Thickness tolerances in Article 710-9 apply for concrete shoulders.

### 720-10	MEASUREMENT AND PAYMENT

- General

Concrete Shoulders Adjacent to __" Pavement will be measured and paid as the actual number of square yards of shoulders completed and accepted.  In measuring this quantity, the width of the shoulders will be as called for on the plans or as directed by the Engineer.  The length will be the actual length constructed, measured along the surface of the shoulders at the centerline of each shoulder.

- Shoulder Deficient in Thickness

Pay factors are determined in accordance with Subarticle 710-10(B).  When the shoulder is deficient in thickness by more than 1", the Engineer will determine if the shoulder can be left in place or be removed and replaced.  Where the Engineer determines the shoulder can be left in place, the shoulder will be accepted at a reduced unit price not to exceed 50% as provided in Article 105-3.

- Concrete Shoulder Varying In Strength

Concrete shoulders shall meet the strength requirements of Subarticle 710-10(C).

The quantities of concrete shoulder that fail to meet 4,500 psi, measured as provided in Article 710-10, will be paid for at an adjusted unit price per square yard completed in place and accepted.  The adjusted contract unit price will be determined by multiplying the contract unit price by the pay factor level in Subarticle 710-10(C).

Where concrete shoulder deficient in strength is removed and replaced, the replacement pavement, if acceptable, will be paid at the contract unit price for Concrete Shoulders Adjacent to __" Pavement, which price and payment will be full compensation for all work of placement, removal and replacement.

- Multiple Adjustments in Price

Concrete shoulder found deficient in both thickness and strength will be evaluated by the Engineer to determine if it may be permitted to remain in place.  Concrete shoulder permitted to remain in place will be paid at a reduced price determined by successively multiplying the contract price by the appropriate factor indicated for each deficiency.

- Pay Items

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Concrete Shoulders Adjacent to __" Pavement | Square Yard |

## SECTION 725

FIELD LABORATORY FOR 
PORTLAND CEMENT CONCRETE PAVEMENT

### 725-1	DESCRIPTION

Perform the work covered by this section including, but not limited to, providing and maintaining the building or trailer and the curing shelter for the exclusive use of the Engineer at concrete plants producing Portland cement concrete for use in pavement to be constructed on the project; furnishing water, heat, electricity and other utility services; and any other equipment that may be necessary.

### 725-2	GENERAL REQUIREMENTS

Furnish and maintain for the exclusive use of the Engineer a field office and laboratory in which to house and use all testing equipment needed.  Only Department representatives will have unattended access to these facilities.

Provide a field office that is dust and water tight, floored, and has an adequate foundation so as to prevent excessive floor movement.  Provide a field office that contains 6 or more 110 V electrical double outlets properly grounded and spaced; a telephone; at least 2 windows, satisfactory locks on all doors and windows; adequate lighting, heating and air conditioning; sink; running water to sink; and satisfactory exhaust fan.  Provide a field office that meets the following approximate minimum requirements: 200 sf of floor space; 9 ft interior width; 6.5 ft interior height; 20 sf of counter space, 2.5 ft to 3 ft high and 2 ft deep with cabinets or drawers below the counter top; and 6 sf of desk space not enclosed with cabinets.  Locate the office in a position that will permit full view of the plant from the interior of the office.  At or near the office, furnish toilet facilities, with waste disposal, available for use of the Department personnel.  Maintain these toilets in a neat and clean condition.

Provide a laboratory trailer adjacent to the field office that is at least 400 sf in area, approximately 20 ft wide, 20 ft long and 7 ft in height.  Provide a laboratory trailer that contains 6 or more 110 V electrical double outlets properly grounded and spaced; satisfactory locks on all doors and windows; adequate lighting, heating and air conditioning; sink; running water to sink; and satisfactory exhaust fans.  Provide two workbenches that are approximately 10 ft long, 2 ft wide and 2.5 ft high.  One workbench shall be installed inside the trailer and the other across the end of the trailer.  Provide a shelter or roof over the outside workbench to provide protection from weather.  Provide, in the laboratory, an adequate number of water storage tanks to hold all acceptance beams and cylinders and any additional beams and cylinders made for the purpose of determining early strengths.

Construct the water storage tanks of non-corroding materials and have requirements for automatic control of the water temperature.  Maintain the water in the tank at a temperature of 73°F ± 3°F.  Equip each tank with a recording thermometer with its bulb located in the water.  Provide sufficient tank volume to maintain all beams and cylinders, stored with the long axis vertical, in a fully submerged condition for the duration of the required curing period.  Furnish a wooden mixing board at least 3/4" thick and approximately 4 ft wide and 4 ft long that is covered on one side with sheet metal of at least 22 gauge, at the shelter.  Provide facilities to maintain the test beams and cylinders at temperature between 60°F and 80°F during initial curing.

### 725-3	MEASUREMENT AND PAYMENT

Field Laboratory Rental, Portland Cement Concrete Pavement will be paid at the contract lump sum price which will be made for furnishing and maintaining all field laboratories available for use by the Engineer at any concrete plant producing Portland cement concrete for use in pavement to be constructed on the project.  Partial payments for field laboratory rental will be made with the first and last partial pay estimates which include concrete pavement or concrete shoulders.  Payments will be made at the rate of 50% of the lump sum price for Field Laboratory Rental, Portland Cement Concrete Pavement on each of these partial pay estimates.

Payment will be made under:

| Pay Item |  | Pay Unit |
| --- | --- | --- |
| Field Laboratory Rental, Portland Cement Concrete Pavement | Lump Sum |