ADJUSTMENT OF TRAFFIC SIGNAL JUNCTION BOX:

| (2-28-12)(Rev. 1-16-24) |  | SPD 8-700 |
| --- | --- | --- |

Description

Raise existing junction boxes encountered within the limits of the project to match the adjacent finished grade.

Materials

Refer to Division 10 of the Standard Specifications.

| Item | Section |
| --- | --- |
| Curing Agent | 1026 |  |
| Joint Filler | 1028-1 |  |
| Joint Sealer | 1028 |  |
| Portland Cement Concrete, Class B | 1000 |  |

Construction Methods

Construction shall be in accordance with Section 858 of the Standard Specifications.

Measurement and Payment

Adjustment of Traffic Signal Junction Box will be measured and paid for as the actual number of junction boxes satisfactorily adjusted.  Such payment will be full compensation for all work covered by this provision including, but not limited to all materials, labor and equipment.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Adjustment of Traffic Signal Junction Box | Each |