WATTLE (Each):

| (1-17-14)(Rev. 1-16-24) | 1630, 1631 | SPD 16-200 |
| --- | --- | --- |

Description

Wattles are tubular products consisting of excelsior fibers encased in synthetic netting.  Wattles are used on slopes or channels to intercept runoff and act as a velocity break.  Wattles are to be placed at locations shown on the plans or as directed.  Installation shall follow the detail provided in the plans and as directed.  Work includes installation of wattles, matting installation and removing wattles.

Construction Methods

Wattles shall be secured to the soil by wire staples approximately every one linear foot and at the end of each section of wattle.  A minimum of 4 stakes shall be installed on the downstream side of the wattle with a maximum spacing of 2 linear feet along the wattle, and according to the detail.  Install a minimum of 2 stakes on the upstream side of the wattle according to the detail provided in the plans.  Stakes shall be driven into the ground a minimum of 10 inches with no more than 2 inches projecting from the top of the wattle.  Drive stakes at an angle according to the detail provided in the plans.

Only install wattle(s) to a height in ditch so flow will not wash around wattle and scour ditch slopes and according to the detail provided in the plans and as directed.  Overlap adjoining sections of wattles a minimum of 6 inches.

Installation of matting shall be in accordance with the detail provided in the plans, and in accordance with Article 1631-3 of the Standard Specifications, or in accordance with specifications provided elsewhere in this contract.  The Department will provide and apply any necessary Polyacrylamide (PAM) to the wattles.

The Contractor shall maintain the wattles until the project is accepted or until the wattles are removed, and shall remove and dispose of silt accumulations at the wattles when so directed in accordance with the requirements of Section 1630 of the Standard Specifications.

Measurement and Payment

Wattle will be measured and paid as the actual number of wattles installed and accepted.  Such price and payment will be full compensation for all work covered by this section, including, but not limit to labor, equipment and incidentals necessary to install the Wattle.

Matting For Erosion Control will be measured and paid in accordance with Article 1631-4 of the Standard Specifications, or in accordance with specifications provided elsewhere in this contract.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Wattle | Each |