## FIELD OFFICE (Month):

| (6-1-07)(Rev. 2-15-22) | SPI 8-02 |
| --- | --- |

Description

This work consists of furnishing, erecting, equipping, maintaining, and removing a field office for the exclusive use of Department Engineers and Inspectors at a location on the project approved by the Engineer.  Provide a field office that complies with the current ADA Design and Accessibility Standards, the National Electric Code, local, state, and federal regulations, and the following requirements.

Procedures

The field office and equipment will remain the property of the Contractor upon completion of the contract.  The field office shall be separated from buildings and trailers used by the Contractor and be erected and functional as an initial operation.  Failure to have the field office functional when work first begins on the project and maintained, as determined by the Engineer, throughout the life of the project will result in withholding payment of the Contractor's monthly progress estimate.  Maintain the field office in an operational state throughout the duration of the project.  Remove the field office when directed by the Engineer.

Provide a field office that is weatherproof, tightly floored and roofed, constructed with an air space above the ceiling for ventilation, supported above the ground, has a width of at least 10 feet, and the floor-to-ceiling height that is at least 7 feet 6 inches.  Provide inside walls and a ceiling that are constructed of plywood, fiber board, gypsum board, or other suitable materials.  Have the exterior walls, ceiling, and floor insulated.

Provide a field office with a minimum floor space of 1000 square feet and that is equipped with the following:

Item

Telephone service.

Internet Connection Service with modem for Wi-Fi with 2 Data ports in all rooms (with exception of kitchenette and bathrooms).

| Number | Item |
| --- | --- |
| 1 | Double-pedestal desk (approximately 60 by 34 inches, at least 2,000 square inches). |
| 1 | Plan and drafting table (approximately 30 by 96 inches) with adjustable stool. |
| 1 | Computer table at least 48 by 30 by 29 inches. |
| 1 | Plan rack for 24 by 36 inch drawings with 6 plan clamps. |
| 2 | 4-drawer fire protection file, 15 inch drawer width, minimum UL rating of Class 350. |
| 6 | Adjustable five-leg base rolling office chairs. |
| 1 | Wastebasket per room. |
| 1 | Telephone. |
| 1 | Print/Copy/Scan/Fax machine (11 inch x 17 inch copies). |

Windows and Doors

Provide a field office with at least three windows with blinds, each having an area of at least 540 square inches, capable of being opened and secured from the inside and having at least two exterior passage doors.  Provide doors at least 30 inches in width and 78 inches in height.  Provide screens for windows and doors.  Equip exterior passage doors with locks and furnish at least two keys to the Engineer.  Provide accessibility in compliance with the current ADA Design and Accessibility Standards, and the State Building Code and maintain them free from obstructions.

Steps

Provide accessibility in compliance with the current ADA Design and Accessibility Standards, and the State Building Code and maintain them free from obstructions.

Storage Facility for Nuclear Gauge

Provide an outside storage facility for the Department's nuclear gauge.  Provide a facility that has at least 64 square feet of floor space, is weatherproof, tightly floored and roofed, and has a tamper resistant key operated lock.  The storage facility shall not be located within 10 feet of any other structure including the field office.  Furnish at least two keys to the Engineer.

Lighting, Heating, and Air Conditioning

The field office shall have satisfactory lighting, electrical outlets, heating equipment, an exhaust fan, and an air conditioner connected to an operational power source.  Provide at least one lighting fixture in each room and at least one fluorescent light fixture over the plan and drafting table.  Furnish electrical current and fuel for heating equipment.

Fire Extinguishers

Furnish and maintain one fire extinguisher for each exterior passage door.  Fire extinguishers may be chemical or dry powder.  UL Classification 10-B:C (minimum), suitable for Type A:B:C: fires.  Provide, mount, and maintain fire extinguishers in accordance with OSHA Safety and Health Standards.

Toilets

Provide a toilet conforming to the requirements of the state and local boards of health or other bodies or courts having jurisdiction in the area.  When separate facilities for men and women are not available, place a sign with the words "Rest Room" (with letters at least 1 inch in height) over the doorway, and provide an adequate positive locking system on the inside of the doorway.  Maintain responsibility for the water and sewer connections or the installation and connection of a water well and septic tank and drain field.  These facilities shall conform to all local and state permits.

Utilities

Except for telephone service, make necessary utility and internet connections, maintain utilities and internet, pay internet and utility service fees and bills, and handle the final disconnection of internet and utilities.  Furnish a telephone in each field office and permit the work necessary to install it.

Storage Facility for Test Equipment

Provide a storage facility, separate from the office for storage of test equipment, other than the nuclear gauge.  Provide a facility that has at least 64 square feet of floor space, is weatherproof, tightly floored and roofed, and has a tamper resistant key operated lock.  Furnish at least two keys to the Engineer.

Miscellaneous Items

The field office shall also include the following:

1.	A certification that the office is free of asbestos and other hazardous materials.

2.	A broom, dustpan, mop and bucket, and general cleaning supplies.

3.	Provide and maintain an all-weather parking area for six vehicles, including graveled access to the paved surface.

Measurement and Payment

Measurement for use of the Field Office will be based on the time it is used, expressed in calendar months.  The unit bid price shall include furnishing, erecting, equipping, maintaining, and removing the field office.  Payment will not be made for any month during which the office is furnished for less than 15 calendar days or for any time in excess of the time limit established in the Contract as extended in accordance with the requirements of Section 108-10 of the Standard Specifications.

Installation and service fees for the telephone will be paid for by the Department.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Field Office | Month |