FIELD OFFICE (Month):
	(6-1-07)(Rev. 2-15-22)
	SPI 8-02



Description

The Department owns an abandoned dwelling located at Parcel 23 (92+25 -L- Left).

This work consists of remodeling, furnishing, erecting, equipping, maintaining, and demolishing the dwelling to be used as a field office for the exclusive use of Department Engineers and Inspectors.  Remodel the abandoned dwelling to comply with the current ADA Design and Accessibility Standards, the National Electric Code, local, state, and federal regulations, and the following requirements.

Procedures

[bookmark: _Hlk83209112][bookmark: _Hlk86139710][bookmark: _Hlk86305442][bookmark: _Hlk89079550]The equipment will remain the property of the Contractor upon completion of the contract.  Failure to have the field office functional within 60 calendar days after the Date of Availability and maintained, as determined by the Engineer, throughout the life of the project will result in withholding payment of the Contractor's monthly progress estimate.  Maintain the field office in an operational state throughout the duration of the project.  Demolish the field office in accordance with Section 210 of the Standard Specifications when directed by the Engineer.  

Equip the field office with the following:

	Item

	Telephone service.

	Internet Connection Service with modem for Wi-Fi with 2 Data ports in all rooms (with exception of kitchenette and bathrooms).



	Number
	Item

	1
	Double-pedestal desk (approximately 60 by 34 inches, at least 2,000 square inches).

	1
	Plan and drafting table (approximately 30 by 96 inches) with adjustable stool.

	1
	Computer table at least 48 by 30 by 29 inches.

	1
	Plan rack for 24 by 36 inch drawings with 6 plan clamps.

	2
	4-drawer fire protection file, 15 inch drawer width, minimum UL rating of Class 350.

	6
	Adjustable five-leg base rolling office chairs.

	1
	Wastebasket per room.

	1
	Telephone.

	1
	Print/Copy/Scan/Fax machine (11 inch x 17 inch copies).



Windows and Doors

[bookmark: _Hlk86049252][bookmark: _Hlk86047265]Repair existing windows and doors so that they function, and exterior doors are able to be secured with locks furnished by the Contractor.  Windows must be secured from the inside.  Repair or provide screens for windows and doors.  Furnish at least two keys to the Engineer.  Provide accessibility in compliance with the current ADA Design and Accessibility Standards, and the State Building Code and maintain them free from obstructions.

Steps

Provide accessibility in compliance with the current ADA Design and Accessibility Standards, and the State Building Code and maintain them free from obstructions.

Storage Facility for Nuclear Gauge

[bookmark: _Hlk86049607][bookmark: _Hlk86049597][bookmark: _Hlk86049619]Provide an outside storage facility for the Department's nuclear gauge.  Provide a facility that has at least 64 square feet of floor space, is weatherproof, tightly floored and roofed, and has a tamper resistant key operated lock.  The storage facility shall not be located within 10 feet of any other structure including the field office.  Furnish at least two keys to the Engineer.  

Lighting, Heating, and Air Conditioning

[bookmark: _Hlk86213895][bookmark: _Hlk86060876][bookmark: _Hlk86047320]The field office shall have satisfactory lighting, electrical outlets, heating equipment, an exhaust fan, and an air conditioner connected to an operational power source.  Provide at least one lighting fixture in each room and at least one fluorescent light fixture over the plan and drafting table.  Furnish electrical current and fuel for heating equipment.

Fire Extinguishers

[bookmark: _Hlk86047358]Furnish and maintain one fire extinguisher for each exterior passage door.  Fire extinguisher may be chemical or dry powder.  UL Classification 10-B:C (minimum), suitable for Type A:B:C: fires.  Provide, mount, and maintain fire extinguishers in accordance with OSHA Safety and Health Standards.

Toilets

Provide a toilet conforming to the requirements of the state and local boards of health or other bodies or courts having jurisdiction in the area.  When separate facilities for men and women are not available, place a sign with the words "Rest Room" (with letters at least 1 inch in height) over the doorway, and provide an adequate positive locking system on the inside of the doorway.  Maintain responsibility for the water and sewer connections or the installation and connection of a water well and septic tank and drain field.  These facilities shall conform to all local and state permits.

Utilities

Except for telephone service, make necessary utility and internet connections, maintain utilities and internet connections, pay internet and utility service fees and bills, and handle final disconnection of internet and utilities.  Furnish a telephone in each field office and permit the work necessary to install it.

Storage Facility for Test Equipment

Provide a storage facility, separate from the office for storage of test equipment, other than the nuclear gauge.  Provide a facility that has at least 64 square feet of floor space, is weatherproof, tightly floored and roofed, and has a tamper resistant key operated lock.  Furnish at least two keys to the Engineer.  

Miscellaneous Items

The field office shall also include the following:

1.	A broom, dustpan, mop and bucket, and general cleaning supplies.
2.	Provide and maintain an all-weather parking area for six vehicles, including graveled access to the paved surface.

Measurement and Payment

[bookmark: _Hlk86313107]Measurement for use of the Field Office will be based on the time it is used, expressed in calendar months.  The unit bid price shall include remodeling, furnishing, erecting, equipping, maintaining, and demolishing the field office.  Payment will not be made for any month during which the office is furnished for less than 15 calendar days or for any time in excess of the time limit established in the Contract as extended in accordance with the requirements of Section 108-10 of the Standard Specifications.

Installation and service fees for the telephone will be paid for by the Department.

Payment will be made under:

	Pay Item
	Pay Unit

	Field Office
	Month




