DRAINAGE STRUCTURE CLEAN OUT:
	(4-12-07)
	SPI 8-08



The Contractor shall clean out existing drainage structures of silt accumulations and debris as directed by the Engineer.

The quantity of clean out drainage structures to be paid for will be the actual number of drainage structures cleaned out and accepted by the Engineer.

The quantity for the clean out of the drainage structures, measured as provided above, shall be full compensation for all work including, but not limited to, furnishing all labor, equipment, disposal of any debris, and any incidentals necessary to complete the work.

Payment will be made under:

	Pay Item
	Pay Unit

	Drainage Structure Clean Out
	Each



