## REMOVE AND REPLACE __'- __" CONCRETE CURB & GUTTER:

| (6-27-07)(Rev. 11-19-24) | 846 | SPI 8-54 |
| --- | --- | --- |

Description

Remove existing concrete curb & gutter and replace with ___'-___" concrete curb & gutter in accordance with Section 846 of the Standard Specifications, the plans, this special provision and as directed by the Engineer.

Construction Methods

All work for this item shall be in accordance with Section 846 of the Standard Specifications with the following exception:

Disposal of existing ___'-___" concrete curb & gutter in accordance with federal, state and local regulations will be incidental to the work.

Measurement and Payment

Remove and Replace ___'-___" Concrete Curb & Gutter will be measured and paid for in units of linear feet for the actual number of liner feet that have been completed and accepted.  Such price and payment includes, but is not limited to, providing all materials, removal and disposal of existing curb & gutter, excavating and backfilling, forming, placing all concrete, finishing, constructing and sealing joints, and all incidentals necessary to complete the work.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Remove and Replace ___'-___" Concrete Curb & Gutter | Linear Foot |