## REMOVE AND REPLACE ___" CONCRETE SIDEWALK:

| (11-19-24) | 848 | SPI 8-56 |
| --- | --- | --- |

Description

Remove and replace existing ___" concrete sidewalk in accordance with Section 848 of the Standard Specifications, the plans, this special provision and as directed by the Engineer.

Construction Methods

All work for this item shall be in accordance with Section 848 of the Standard Specifications with the following exception:

Disposal of existing ___" concrete sidewalk in accordance with federal, state and local regulations will be incidental the work.

Measurement and Payment

Remove and Replace ___" Concrete Sidewalk will be measured and paid for in units of square yards.  Such price and payment will be full compensation for removal and disposal of existing sidewalk, excavating, backfilling, forming, placing all concrete, finishing, constructing and sealing joints, and all incidentals necessary to complete the work.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Remove and Replace ___" Concrete Sidewalk | Square Yard |