## REMOVE AND REPLACE CONCRETE TRANSITIONAL SECTION:

| (9-16-25) | 852 | SPI 8-71 |
| --- | --- | --- |

Description

Remove, dispose and replace concrete transitional sections for catch basins and/or drop inlets at existing concrete islands or grass medians in accordance with Section 852 of the Standard Specifications, the Roadway Standard Drawings No. 852.04, 852.05, 852.06, and 852.07, at locations indicated in the plans or as directed by the Engineer.

Materials

Use concrete transitional section materials meeting the requirements of Article 852-2 of the Standard Specifications.

Construction Methods

Remove and replace damaged concrete transitional sections for drop inlets and/or catch basins at locations indicated in the plans or as directed by the Engineer.  Dispose of materials and debris in accordance with Section 802 of the Standard Specifications.  Construct concrete transitional sections in accordance with Article 852-3 of the Standard Specifications and Roadway Standard Drawings.

Seed and mulch in accordance with Section 1660 of the Standard Specifications and seed mix special provision found elsewhere in the contract.

Measurement and Payment

Remove and Replace Concrete Transitional Section for Catch Basin will be measured and paid in units of each.  Work shall include, but is not limited to, remove and replace concrete transitional section, seeding and mulching and any incidentals necessary to complete the work.

Remove and Replace Concrete Transitional Section for Drop Inlet will be measured and paid in units of each.  Work shall include, but is not limited to, remove and replace concrete transitional section, seeding and mulching and any incidentals necessary to complete the work.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Remove and Replace Concrete Transitional Section for Catch Basin | Each |
| Remove and Replace Concrete Transitional Section for Drop Inlet | Each |