CABLE FENCE WITH POSTS:
	(5-18-04)
	SPI 8-75


 
Description

Construct a cable fence in accordance with the plans and as directed by the Engineer.  

Materials

Materials shall meet the requirements of Section 866 of the Standard Specifications.  

Measurement and Payment

The quantity of Cable Fence with Posts to be paid for will be the actual number of linear feet (linear meters) of fence that has been satisfactorily installed and accepted.  Measurement will be made as provided in Section 886 of the Standard Specifications.  

The quantity of Cable Fence with Posts, measured as provided above, will be paid for at the contract unit price per linear foot of Cable Fence with Posts.  Such price and payment will be full compensation for all materials, labor, equipment, tools, and incidentals necessary to satisfactorily complete the work.  

No direct payment will be made for the posts to construct the fence as they will be considered incidental to the work being paid for as Cable Fence with Posts.  

Payment will be made under:  

	Pay Item
	Pay Unit

	Cable Fence with Posts
	Linear Foot



