RETAINING WALL:

| (2-3-14) | 452 | SPD 4-300 |
| --- | --- | --- |

Perform independent soil analysis.  Design a wall suitable for the natural constraints of the project.  The finished wall dimensions are approximately 11 feet high by 90 feet long.  The wall special provisions included elsewhere in the contract shall be used with the appropriate type of wall designed by the Contractor and included with any special provisions provided by the Contractor for the specific type of wall designed.

Measurement and Payment

Design Retaining Wall will be paid at the contract lump sum price.  Payment will be full compensation for, but not limited to, filed investigations, survey, design, soil investigation, meeting, submittals, and necessary revisions.  The cost for the soil analysis and report is incidental to the design of the wall.

Construct Retaining Wall will be measured and paid as the actual number of square feet of wall constructed and accepted by the Department.  Payment will be full compensation for labor, material and equipment necessary to construct the wall.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Design Retaining Wall | Lump Sum |
| Construct Retaining Wall | Square Foot |