ULTRA-THIN HOT MIX ASPHALT PATCHING:

| (2-20-14)(Rev. 7-18-23) | 661 | SPD 6-860 |
| --- | --- | --- |

Description

The Contractor's attention is directed to the fact that there are areas of existing ultra-thin hot mix asphalt pavement on this project that will require repair.  Patch the areas shown on the plans and as directed by the Engineer. The areas to be patched will be delineated by the Engineer prior to the Contractor making repairs.

Materials

Patching consists of Ultra-Thin Hot Mix Asphalt in accordance with Section 661 of the Standard Specifications.

Construction Methods

Remove existing ultra-thin hot mix asphalt pavement at locations directed by the Engineer in accordance with Section 607 of the Standard Specifications.

Place Ultra-Thin Hot Mix Asphalt in accordance with Section 661 of the Standard Specifications.

The Contractor shall schedule operations so that all lanes of traffic restored the same weekend of the pavement removal.

Measurement and Payment

Ultra-Thin HMA Patching will be measured and paid as the actual number of square yards of ultra-thin hot mix asphalt patching in place that has been used to make completed and accepted repairs.  The above price and payment will be full compensation for all work covered by this provision, including but not limited to removal and disposal of existing ultra-thin pavement,  furnishing and applying ultra-thin hot mix asphalt, and furnishing and applying asphalt binder.

Any provisions included in the contract that provide for adjustments in compensation due to variations in the price of asphalt binder will not be applicable to payment for the work covered by this provision.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Ultra-Thin HMA Patching | Square Yard |