## INCIDENTAL CONCRETE:

| (3-7-08) | DDC_825 |
| --- | --- |

Revise the Standard Specifications as follows:

825-11 Measurement and Payment

Replace with the following:

Incidental Concrete will be measured and paid for in square yards, measured along the surface of the completed and accepted work. Such price includes, but is not limited to excavating and backfilling, sawing the existing adjacent concrete, removing and disposing existing concrete, furnishing and placing concrete, and constructing and sealing joints.

Pay Item						Pay Unit

Incidental Concrete					Square Yard