MODIFY DRAINAGE STRUCTURE:

| (2-28-12) | 840 | SPD 08-450 |
| --- | --- | --- |

Description

Modify existing drainage structure as detailed on the plans or directed by the Engineer.

Materials

Refer to Division 10 of the 2018 Standard Specifications.

Construction Methods

Construction shall be in accordance with Section 840 of the 2018 Standard Specifications.

Measurement and Payment

Modify Drainage Structure will be measured and paid as the actual number of drainage structures modified and accepted.  Such price and payment will be full compensation for, but not limited to, all materials, labor and equipment necessary to modify the drainage structure.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Modify Drainage Structure | Each |