CONCRETE RAMPS:

| (2-20-14) |  | SPD 08-500 |
| --- | --- | --- |

Construct Portland cement concrete ramps at the locations shown in the plans in accordance with the details and as directed by the Engineer.

Materials

Refer to Division 10 of the 2018 Standard Specifications.

| Item | Section |
| --- | --- |
| Curing Agents | 1026 |  |
| Joint Fillers | 1028-1 |  |
| Joint Sealers | 1028-2, 1028-3 |  |
| Portland Cement Concrete, Class B | 1000 |  |

Measurement and Payment

Concrete Ramps will be measured and paid as the actual cubic yards of concrete required to satisfactorily install each structure.  Such price and payment shall be full compensation for forming, pouring, finishing and all incidentals necessary to satisfactorily install the concrete ramps.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Concrete Ramps | Cubic Yard |