TEMPORARY SILT FENCE:

| (10-7-08) | 1605 | SPD 16-050 |
| --- | --- | --- |

Revise the 2018 Standard Specifications as follows:

Page 16-1, Article 1605-1 Description, first paragraph with the following:

Construct, maintain and remove temporary silt fence in locations shown on the plans or in locations that require surface drainage to be filtered.

Page 16-1, Article 1605-2 Materials, replace the entire section with the following:

All material necessary for silt fence installation will be provided by the Department.

Page 16-2, Article 1605-5 Measurement and Payment, replace the first paragraph with the following:

Temporary Silt Fence will be measured and paid as a lump sum quantity for the linear feet accepted in place.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| Temporary Silt Fence | Lump Sum |